{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Extraction article+n°catalogue","Formalisme ADR"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Extraction article+n°catalogue","index":0,"n_rows":19,"n_cols":18,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Type de matériel","Code GMO²","Typologie","Demande \nd'Edition","Désignation","Catalogue","Plage","Ancien SI","Type de contrôle","Moyen de contrôle","Rex ","Matériels test","Remarques","Contraintes ","PERIODICITE"]
["OUTILLAGE","SPAFFCTRVIDE","AFFICHEUR",1,"AFFICHEUR POUR CONTROLE VIDE","MEDI61-000002",null,"MESAFFPREP-1","Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité","1A",null,null,1]
["OUTILLAGE","SPAFFFOR100KN","AFFICHEUR",null,"AFFICHEUR FORCE 100KN","MEDI61-000002","100KN",null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","SPAFFFOR400DN","AFFICHEUR",null,"AFFICHEUR FORCE/COUPLE 400 DAN/M","MEDI61-000002","400DaN/M",null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","SPAFFFOR80DN","AFFICHEUR",1,"AFFICHEUR FORCE / COUPLE 80 DAN/M","MEDI61-000002","80DaN/M",null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","SPAFFFORPETRO","AFFICHEUR",null,"AFFICHEUR FORCE ET DPLCMT PETROMETALIC","MEDI61-000002",null,null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","SPAFFPRE1000B","AFFICHEUR",null,"AFFICHEUR PRESSION 1000 BARS","MEDI61-000002","1000B",null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","SPAFFPRE20BAR","AFFICHEUR",null,"AFFICHEUR DE PRESSION DIGITAL 20 BAR","MEDI61-000002","20B",null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","SPAFFPRE250B","AFFICHEUR",null,"AFFICHEUR DIGITAL DE PRESSION 250 BAR","MEDI61-000002","250B",null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","SPETACAP12MM","AFFICHEUR",null,"CAPTEUR ELECTRONIQUE 12MM AVEC AFFICHEUR","MEDI61-000002","12MM",null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","SPETACAP25MM","AFFICHEUR",null,"CAPTEUR ELECTRONIQUE 25MM AVEC AFFICHEUR","MEDI61-000002","25MM",null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","SPRCPAFFARDA","AFFICHEUR",null,"AFFICHEUR ARDATEM POUR PONT POLAIRE","MEDI61-000002",null,null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","SPRCPPESAFFN1","AFFICHEUR",null,"AFFICHEUR DEPORTE HR-2000","MEDI61-000002",null,null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","SPAFFNUM1CC","AFFICHEUR NUMERIQUE",null,"AFFICHEUR NUMERIQUE","MEDI61-000003",null,null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","SPETAAFF5000C","AFFICHEUR NUMERIQUE",null,"AFFICHEUR NUMERIQUE","MEDI61-000003",null,null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","MTMEM1012,5","ALESOMETRE",null,"ALESOMETRE VERNIER DIAMETRE 10-12.5MM","MEDI61-000004","10-12,5MM",null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","MTMEM10125","ALESOMETRE",null,"ALESOMETRE VERNIER 100-125MM","MEDI61-000004","100-125MM",null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","MTMEM10-12T","ALESOMETRE",null,"ALESOMETRE VERNIER 10-12MM","MEDI61-000004","10-12MM",null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]
["OUTILLAGE","MTMEM12150","ALESOMETRE",null,"ALESOMETRE VERNIER 125-150MM","MEDI61-000004","125-150MM",null,"Etalonnage","Etalon","Voir fiche de vie","Voir fiche de vie","RAS","Laboratoire accrédité"]

{"sheet":"Formalisme ADR","index":1,"n_rows":44,"n_cols":5,"rows_kept":44,"cut":false,"hidden":false,"merged":[[33,0,34,6],[38,4,38,6],[40,5,40,6],[41,5,41,6],[40,1,40,2],[41,1,41,2],[38,0,38,2],[43,4,46,4],[43,0,46,0],[43,1,46,2],[43,5,46,6],[16,0,16,2],[16,3,16,6],[18,0,18,2],[20,0,20,2],[28,0,28,2],[18,3,18,6],[24,3,24,6],[26,3,26,6],[28,3,28,6],[31,0,31,6],[20,3,20,6],[22,3,22,6],[13,0,13,1],[10,2,10,6],[11,2,11,6],[13,2,13,6],[26,0,26,2],[22,0,22,2],[24,0,24,2],[1,2,2,5],[4,0,4,6],[5,0,5,6],[6,0,6,6],[12,0,12,1],[12,2,12,6],[8,0,8,6],[10,0,10,1],[11,0,11,1]]}
[]
[null,null,"ADR MATERIEL"]
[]
[]
["TYPE DE MATERIEL"]
[]
["Extraction article+n°catalogue'!A2"]
[]
["MATERIEL"]
[]
["CODE GMO²",null,"Extraction article+n°catalogue'!B2"]
["TYPOLOGIE",null,"Extraction article+n°catalogue'!C2"]
["DESIGNATION",null,"Extraction article+n°catalogue'!D2"]
["PLAGE",null,"Extraction article+n°catalogue'!F2"]
[]
[]
["CRITERES D'APPROBATIONS",null,null,"ELEMENTS JUSTIFIANTS L'APPROBATION"]
[]
["Type de contrôle",null,null,"Extraction article+n°catalogue'!G2"]
[]
["Moyen(s) de contrôle",null,null,"Extraction article+n°catalogue'!H2"]
[]
["REX des contrôles précédents",null,null,"Extraction article+n°catalogue'!I2"]
[]
["Matériel(s) Etalons utilisés",null,null,"Extraction article+n°catalogue'!J2"]
[]
["Remarques",null,null,"Extraction article+n°catalogue'!K2"]
[]
["Contraintes imposées",null,null,"Extraction article+n°catalogue'!L2"]
[]
[]
["PERIODICITE "]
[]
["Extraction article+n°catalogue'!M2"]
[]
[]
[]
[]
[]
[]
["Nom",null,null,null,"Nom"]
["Fonction",null,null,null,"Fonction"]
[]
["Signature",null,null,null,"Signature"]