{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Inventaire","Sites"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Inventaire","index":0,"n_rows":27,"n_cols":8,"rows_kept":27,"cut":false,"hidden":false,"merged":[[21,1,21,2],[14,7,14,8],[1,0,2,0],[1,1,1,3],[0,0,0,3],[10,6,10,8],[12,7,12,9]]}
["INVENTAIRE DES PIÉZOMÈTRES À CORDES VIBRANTES"]
["LONGUEUR","QUANTITÉ"]
[null,"EN STOCK","UTILISÉS","RESTANTE"]
["5m",8,1,{"$f":"B4-C4","v":7}]
["10m",4,null,{"$f":"B5-C5","v":4}]
["15m",1,null,1]
["20m",null,null,0]
["25m",null,null,0]
["30m",null,null,0]
["40m",null,null,0]
["50m",null,null,0,null,null,"LÉGENDE"]
[]
["LOGGER",null,null,{"$f":"B13-C13","v":0},null,null,null,"Attention Inventaire bas"]
[]
["Mise à la terre (3')",null,null,{"$f":"B15-C15","v":0},null,null,null,"À commander"]
[]
["Poteau (6')",null,null,{"$f":"B17-C17","v":0}]
[]
[null,null,null,{"$f":"B19-C19","v":0}]
[]
["Mise à jours le :",{"$f":"TODAY()","v":"2015-09-29"}]
["Modifié par :","Gilbert Grondin"]
[]
[]
[]
[]
["Note: Prévoir 2 à 3 semaines de livraison pour les nouvelles commandes."]

{"sheet":"Sites","index":1,"n_rows":11,"n_cols":8,"rows_kept":11,"cut":false,"hidden":false,"merged":[[0,0,0,5]]}
["SITE AVEC INSTALLATION DE PIÉZOMÈTRES À CORDES VIBRANTES"]
[]
["NUMÉRO","LOCALISATION","DATE D'INSTALLATION","NOMBRE","DERNIÈRE VISITE","No LOGGER","INTERVALLE DE LECTURE (sec)","REMARQUES"]
["Z60003","St-Vallier","2014-06-19",null,null,"LC0619135114","43200 (2/J)","Site test (Geokon & Roctest)"]
["FSZ21090","Quyon","2014-11-04",3,null,"LC1209141925","43200 (2/J)"]
["Z21089","Quyon","2014-11-05",3,null,"LC1209083803","43200 (2/J)"]
["Z21064","Luksville","2014-11-06",3,null,"LC1208152616","43200 (2/J)"]
["Z21088","Luksville","2014-11-07",3,null,"LC0319091643","43200 (2/J)"]
["FSZ70001","Casselman (Ontario)","2015-03-19",4,null,"LC0319124155","43200 (2/J)"]
["FZ70021","Lemieux (Ontario)","2015-03-19",4,null,"LC0319141908","43200 (2/J)"]
["Z32223","St-Hugues","2015-07-31",2,null,1505801,"43201 (2/J)"]