{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Feuil1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Feuil1","index":0,"n_rows":30,"n_cols":20,"rows_kept":30,"cut":false,"hidden":false,"merged":[[11,2,11,4],[12,7,12,10],[0,2,0,4],[1,5,1,8],[2,7,7,7],[2,8,8,8],[3,6,6,6],[32,7,32,10],[3,16,4,16],[4,5,5,5],[5,16,6,16],[22,7,22,10]]}
[null,null,"cas1"]
[null,"L(m)","Chw","D(mm)","R(m)","Re(m)",null,null,null,"Qe(l/s)","Q (l/s)","Hf",null,null,null,null,null,1.8520000000000001]
[1,1000,100,300,{"$f":"(10.667*B3)/(POWER(C3,$R$2)*POWER(D3/1000,$R$3))","v":742.99289942768235},null,null,{"$f":"(1/((1/G4)^(1/$R$2)+(1/E3)^(1/$R$2)+(1/E8)^(1/$R$2)))^$R$2","v":47.231022652214996},{"$f":"H3+E9","v":596.17665254558449},{"$f":"R9","v":0.6},{"$f":"(H3/E3)^(1/$R$2)*(J3)","v":0.13550458687063338},{"$f":"E3*(K3)^$R$2","v":18.338485439499841},null,null,null,null,null,4.8710000000000004]
[2,200,100,350,{"$f":"(10.667*B4)/(POWER(C4,$R$2)*POWER(D4/1000,$R$3))","v":70.132100538965901},null,{"$f":"F5+E4+E7","v":267.54547592806608},null,null,{"$f":"R9","v":0.6},{"$f":"(H3/G4)^(1/$R$2)*(J4)","v":0.23521869867313844},{"$f":"E4*(K4)^$R$2","v":4.8070949438186643},null,null,null,null,null,"valeur",1.5]
[3,300,100,350,105.19815080844884,{"$f":"(1/((1/E5)^(1/$R$2)+(1/E6)^(1/$R$2)))^$R$2","v":48.814795503563701},null,null,null,{"$f":"K4","v":0.23521869867313844},{"$f":"(F5/E5)^(1/$R$2)*(J5)","v":0.15538878328509484},3.3459336715338481,null,null,null,null,null,"nombre",2,0]
[4,200,100,250,361.16570829345085,null,null,null,null,{"$f":"K4","v":0.23521869867313844},{"$f":"(F5/E6)^(1/$R$2)*J5","v":7.9829915388043723E-2},3.3459336715338499,null,null,null,null,null,"valeur",10]
[5,200,100,300,148.59857988553648,null,null,null,null,{"$f":"K4","v":0.23521869867313844},{"$f":"K4","v":0.23521869867313844},10.185456824147321,null,null,null,null,null,"nombre",1]
[6,800,100,350,280.5284021558636,null,null,null,null,{"$f":"R9","v":0.6},{"$f":"(H3/E8)^(1/$R$2)*(J8)","v":0.22927671445622808},18.338485439499845]
[7,3000,100,400,548.94562989336953,null,null,null,null,{"$f":"R9","v":0.6},{"$f":"R9","v":0.6},213.14023867328899,null,null,null,null,null,0.6]
[]
[]
[null,null,"cas2"]
[null,"a","b","c","d","e","f","g",null,null,null,"h","i","j","Delta "]
[1,1000,{"$f":"0.007746483*$S$5*$S$4*(M14)^(37/250)*E14^(463/250)*(F14/1000)^(871/1000)","v":30.642742464460369},{"$f":"$B14+C14","v":1030.6427424644603},100,300,{"$f":"(10.667*B14)/(POWER(E14,$R$2)*POWER(F14/1000,$R$3))","v":742.99289942768235},null,null,{"$f":"(1/((1/I15)^(1/$R$2)+(1/G14)^(1/$R$2)+(1/G19)^(1/$R$2)))^$R$2","v":47.231022652214996},{"$f":"J14+G20","v":596.17665254558449},{"$f":"$R$9","v":0.6},{"$f":"(J14/G14)^(1/$R$2)*(L14)","v":0.13550458687063338},{"$f":"G14*(M14)^$R$2","v":18.338485439499841}]
[2,200,{"$f":"0.007746483*$S$5*$T$4*(M15)^(37/250)*E15^(463/250)*(F15/1000)^(871/1000)","v":0},{"$f":"$B15+C15","v":200},100,350,70.132100538965901,null,{"$f":"H16+G15+G18","v":267.54547592806608},null,null,{"$f":"$R$9","v":0.6},{"$f":"(J14/I15)^(1/$R$2)*(L15)","v":0.23521869867313844},4.8070949438186643]
[3,300,{"$f":"0.007746483*$S$5*$S$4*(M16)^(37/250)*E16^(463/250)*(F16/1000)^(871/1000)","v":35.763433262770647},335.76343326277066,100,350,105.19815080844884,{"$f":"(1/((1/G16)^(1/$R$2)+(1/G17)^(1/$R$2)))^$R$2","v":48.814795503563701},null,null,null,{"$f":"M15","v":0.23521869867313844},{"$f":"(H16/G16)^(1/$R$2)*(L16)","v":0.15538878328509484},3.3459336715338481]
[4,200,{"$f":"0.007746483*$S$5*$T$4*(M17)^(37/250)*E17^(463/250)*(F17/1000)^(871/1000)","v":0},200,100,250,361.16570829345085,null,null,null,null,{"$f":"M15","v":0.23521869867313844},{"$f":"(H16/G17)^(1/$R$2)*L16","v":7.9829915388043723E-2},3.3459336715338499]
[5,200,{"$f":"0.007746483*$S$7*$S$6*(M18)^(37/250)*E18^(463/250)*(F18/1000)^(871/1000)","v":110.82940910092198},310.82940910092196,100,300,148.59857988553648,null,null,null,null,{"$f":"M15","v":0.23521869867313844},{"$f":"M15","v":0.23521869867313844},10.185456824147321]
[6,800,{"$f":"0.007746483*$S$5*$S$4*(M19)^(37/250)*E19^(463/250)*(F19/1000)^(871/1000)","v":37.882825720663277},837.88282572066328,100,350,280.5284021558636,null,null,null,null,{"$f":"$R$9","v":0.6},{"$f":"(J14/G19)^(1/$R$2)*(L19)","v":0.22927671445622808},18.338485439499845]
[7,3000,{"$f":"0.007746483*$T$5*$T$5*(M20)^(37/250)*E20^(463/250)*(F20/1000)^(871/1000)","v":0},3000,100,400,548.94562989336953,null,null,null,null,{"$f":"$R$9","v":0.6},{"$f":"$R$9","v":0.6},213.14023867328899]
[]
[]
[null,"a","b","c","d","e","f","g",null,null,null,"h","i","j","Delta "]
[1,1030.6427424644603,{"$f":"0.007746483*$S$5*$S$4*(M24)^(37/250)*E24^(463/250)*(F24/1000)^(871/1000)","v":30.888664949681427},{"$f":"$B24+C24","v":1061.5314074141418},100,300,{"$f":"(10.667*B24)/(POWER(E24,$R$2)*POWER(F24/1000,$R$3))","v":765.76023949776754},null,null,{"$f":"(1/((1/I25)^(1/$R$2)+(1/G24)^(1/$R$2)+(1/G29)^(1/$R$2)))^$R$2","v":53.799252891054373},{"$f":"J24+G30","v":602.74488278442391},{"$f":"$R$9","v":0.6},{"$f":"(J24/G24)^(1/$R$2)*(L24)","v":0.14302439616885507},{"$f":"G24*(M24)^$R$2","v":20.888745582820903},7.5198092982216858E-3]
[2,200,{"$f":"0.007746483*$S$5*$T$4*(M25)^(37/250)*E25^(463/250)*(F25/1000)^(871/1000)","v":0},{"$f":"$B25+C25","v":200},100,350,70.132100538965901,null,{"$f":"H26+G25+G28","v":353.62072713912619},null,null,{"$f":"$R$9","v":0.6},{"$f":"(J24/I25)^(1/$R$2)*(L25)","v":0.21706778869306662},4.1427764067995572,1.8150909980071822E-2]
[3,335.76343326277066,{"$f":"0.007746483*$S$5*$S$4*(M26)^(37/250)*E26^(463/250)*(F26/1000)^(871/1000)","v":35.230929182732275},370.99436244550293,100,350,117.73897429446498,{"$f":"(1/((1/G26)^(1/$R$2)+(1/G27)^(1/$R$2)))^$R$2","v":52.544582704873022},null,null,null,{"$f":"M25","v":0.21706778869306662},{"$f":"(H26/G26)^(1/$R$2)*(L26)","v":0.14041020563656084},3.1038633644507945,1.4978577648533997E-2]
[4,200,{"$f":"0.007746483*$S$5*$T$4*(M27)^(37/250)*E27^(463/250)*(F27/1000)^(871/1000)","v":0},200,100,250,361.16570829345085,null,null,null,null,{"$f":"M25","v":0.21706778869306662},{"$f":"(H26/G27)^(1/$R$2)*L26","v":7.6657583056505843E-2},3.1038633644507936,3.1723323315378804E-3]
[5,310.82940910092196,{"$f":"0.007746483*$S$7*$S$6*(M28)^(37/250)*E28^(463/250)*(F28/1000)^(871/1000)","v":109.51996631206524},420.34937541298723,100,300,230.94404389528725,null,null,null,null,{"$f":"M25","v":0.21706778869306662},{"$f":"M25","v":0.21706778869306662},13.642105811570556,1.8150909980071822E-2]
[6,837.88282572066328,{"$f":"0.007746483*$S$5*$S$4*(M29)^(37/250)*E29^(463/250)*(F29/1000)^(871/1000)","v":38.137802381248498},876.02062810191183,100,350,293.812412866572,null,null,null,null,{"$f":"$R$9","v":0.6},{"$f":"(J24/G29)^(1/$R$2)*(L29)","v":0.23990781513807843},20.888745582820903,1.0631100681850358E-2]
[7,3000,{"$f":"0.007746483*$T$5*$T$5*(M30)^(37/250)*E30^(463/250)*(F30/1000)^(871/1000)","v":0},3000,100,400,548.94562989336953,null,null,null,null,{"$f":"$R$9","v":0.6},{"$f":"$R$9","v":0.6},213.14023867328899,0]