{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Releves annee en cours","Releves totalises"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Releves annee en cours","index":0,"n_rows":189,"n_cols":10,"rows_kept":189,"cut":false,"hidden":false,"merged":[[0,0,0,6],[1,2,1,3],[1,4,1,6],[1,0,2,0],[1,1,2,1]]}
[2017]
["Date","Heure","EDF",null,"Onduleur"]
[null,null,"Production  Kwh","Remarques","Production                jour                                       wh","Production                                   tolale                           Kwh","Temps fonctionnement total                                     hh:mm:ss"]
["2017-01-01","10 h 34",3109,null,621,22445.927,"30465:59:07",22445.927,{"$f":"F4-C4","v":19336.927},0.41451388888888901]
["2017-01-02","10 h 02",3112,null,56,22449.409,"30474:20:55",{"$f":"F5-F4","v":3.4820000000000002},19337.409,{"$f":"CDIFFTMPS(G5,G4)","v":0.34847222222222202}]
["2017-01-03","10 h 00",3113,null,48,22450.596000000001,"30482:57:59",1.1870000000000001,19337.596000000001,0.35907407407407399]
["2017-01-04","11 h 52",3115,null,602,22452.49,"30493:44:51",1.8939999999999999,19337.490000000002,0.44921296296296298]
["2017-01-05","12 h 00",3119,null,398,22455.99,"30503:12:42",3.5,19336.990000000002,0.39434027777777803]
["2017-01-06","17 h 13",3129,null,7545,22466.293000000001,"30517:39:44",10.303000000000001,19337.293000000001,0.60210648148148105]
["2017-01-07","09 h 49",3129,"Non Consommation  000007 Kwh",57,22466.356,"30519:34:55",6.3E-2,19337.356,7.9988425925925893E-2]
["2017-01-08","09 h 29",3137,null,17,22473.805,"30528:25:44",7.4489999999999998,19336.805,0.36862268518518498]
["2017-01-09","09 h 11",3138,null,12,22475.085999999999,"30537:17:55",1.2809999999999999,19337.085999999999,0.369571759259259]
["2017-01-10","10 h 15",3140,null,24,22477.161,"30546:59:27",2.0750000000000002,19337.161,0.40384259259259297]
["2017-01-11","10 h 19",3141,null,120,22478.418000000001,"30556:05:13",1.2569999999999999,19337.418000000001,0.37900462962963]
["2017-01-12","10 h 50",3142,null,166,22479.710999999999,"30565:51:24",1.2929999999999999,19337.710999999999,0.40707175925925898]
["2017-01-13","15 h 34",3149,null,4289,22486.208999999999,"30579:36:59",6.4980000000000002,19337.208999999999,0.57332175925925899]
["2017-01-14","14 h 48",3154,null,4405,22491.007000000001,"30588:11:48",4.798,19337.007000000001,0.35751157407407402]
["2017-01-15","09 h 50",3155,null,96,22491.668000000001,"30592:20:30",0.66100000000000003,19336.668000000001,0.17270833333333299]
["2017-01-16","09 h 46",3156,null,17,22492.695,"30600:34:58",1.0269999999999999,19336.695,0.34337962962962998]
["2017-01-17","09 h 58",3157,"Non Consommation  000007 Kwh",186,22494.030999999999,"30610:04:14",1.3360000000000001,19337.030999999999,0.39532407407407399]
["2017-01-18","09 h 46",3162,null,133,22498.838,"30619:28:12",4.8070000000000004,19336.838,0.39164351851851897]
["2017-01-19","09 h 53",3167,null,162,22503.863000000001,"30629:09:41",5.0250000000000004,19336.863000000001,0.40380787037037003]
["2017-01-20","09 h 18",3172,null,44,22509.162,"30638:09:22",5.2990000000000004,19337.162,0.37478009259259298]
["2017-01-21","09 h  00",3176,null,4,22513.513999999999,"30647:28:08",4.3520000000000003,19337.513999999999,0.38803240740740702]
["2017-01-22","09 h 49",3184,null,122,22520.667000000001,"30657:45:28",7.1529999999999996,19336.667000000001,0.42870370370370398]
["2017-01-23","09 h 17",3186,null,2,22522.686000000002,"30666:39:39",2.0190000000000001,19336.686000000002,0.370960648148148]
["2017-01-24","09 h 34",3189,null,83,22525.075000000001,"30676:48:57",2.3889999999999998,19336.075000000001,0.42312499999999997]
["2017-01-25","09 h 26",3197,null,66,22533.701000000001,"30686:37:16",8.6259999999999994,19336.701000000001,0.40855324074074101]
["2017-01-26","09 h 18",3203,null,35,22538.691999999999,"30696:10:17",4.9909999999999997,19335.691999999999,0.39792824074074101]
["2017-01-27","16 h 16",3214,"Non Consommation  000007 Kwh",2869,22549.902999999998,"30712:35:02",11.211,19335.902999999998,0.68385416666666698]
["2017-01-28","15 h 29",3217,null,2380,22552.457999999999,"30721:27:36",2.5550000000000002,19335.457999999999,0.36983796296296301]
["2017-01-29","10 h 05",3218,null,559,22553.736000000001,"30726:04:47",1.278,19335.736000000001,0.19248842592592599]
["2017-01-30","09 h 27",3226,null,33,22561.101999999999,"30735:28:32",7.3659999999999997,19335.101999999999,0.39149305555555602]
["2017-01-31","09 h 30",3229,null,85,22564.766,"30745:24:09",3.6640000000000001,19335.766,0.41362268518518502]
["2017-02-01","09 h 50",3238,null,199,22577.475999999999,"30755:43:27",12.71,19339.475999999999,0.430069444444444]
["2017-02-02","08 h 51",3246,null,0,22580.95,"30765:00:50",3.4740000000000002,19334.95,0.38707175925925902]
["2017-02-03","13 h 24",3251,"Non Consommation  000008 Kwh",2241,22585.784,"30778:32:47",4.8339999999999996,19334.784,0.56385416666666699]
["2017-02-04","09 h 00",3253,null,18,22587.814999999999,"30784:06:09",2.0310000000000001,19334.814999999999,0.23150462962963]
["2017-02-05","08 h 38",3256,null,2772,22590.567999999999,"30793:20:14",2.7530000000000001,19334.567999999999,0.38478009259259299]
["2017-02-06","08 h 36",3258,null,3,22593.237000000001,"30803:35:36",2.669,19335.237000000001,0.427337962962963]
["2017-02-07","09 h 20",3261,null,26,22596.117999999999,"30813:38:10",2.8809999999999998,19335.117999999999,0.418449074074074]
["2017-02-08","19 h 27",3267,null,3588,22602.116999999998,"30832:29:11",5.9989999999999997,19335.116999999998,0.78542824074074102]
["2017-02-09","09 h 28",3267,null,137,22602.116999999998,"30832:29:11",0,19335.116999999998,0]
["2017-02-10","15 h 25",3283,null,5625,22617.241000000002,"30850:15:40",15.124000000000001,19334.241000000002,0.74061342592592605]
["2017-02-11","15 h 26",3289,null,4639,22622.853999999999,"30860:42:58",5.6130000000000004,19333.853999999999,0.43562499999999998]
["2017-02-12","18 h 18",3291,null,2042,22625.294000000002,"30873:40:36",2.44,19334.294000000002,0.540023148148148]
["2017-02-13","09 h 05",3291,null,37,22625.331999999999,"30875:02:19",3.7999999999999999E-2,19334.331999999999,5.67476851851852E-2]
["2017-02-14","09 h 26",3292,null,143,22626.687000000002,"30885:38:17",1.355,19334.687000000002,0.44164351851851902]
["2017-02-15","16 h 21",3311,null,10143,22644.431,"30903:12:57",17.744,19333.431,0.73240740740740695]
["2017-02-16","09 h 19",3311,null,122,22644.938999999998,"30906:52:57",0.50800000000000001,19333.938999999998,0.15277777777777801]
["2017-02-17","12 h 50",3325,null,5542,22658.289000000001,"30921:14:55",13.35,19333.289000000001,0.59858796296296302]
["2017-02-18","08 h 46",3330,null,28,22663.412,"30928:02:35",5.1230000000000002,19333.412,0.28310185185185199]
["2017-02-19","10 h 34",3342,null,487,22674.202000000001,"30940:41:54",10.79,19332.202000000001,0.52730324074074097]
["2017-02-20","09 h 28",3349,null,104,22681.674999999999,"30950:23:50",7.4729999999999999,19332.674999999999,0.40412037037037002]
["2017-02-21","09 h 00",3353,null,79,22685.595000000001,"30960:56:15",3.92,19332.595000000001,0.43917824074074102]
["2017-02-22","08 h 30",3364,null,34,22695.675999999999,"30971:30:04",10.081,19331.675999999999,0.44015046296296301]
["2017-02-23","08 h 58",3375,null,164,22706.81,"30983:04:28",11.134,19331.810000000001,0.482222222222222]
["2017-02-24","08 h 18",3383,null,7174,22713.817999999999,"30992:59:59",7.008,19330.817999999999,0.41355324074074101]
["2017-02-25","non",3402,"non enregistre","non",22713.817999999999,"30992:59:59",0,19311.817999999999,0]
["2017-02-26","16 h 41",3407,null,5155,22737.304,"31023:36:40",{"$f":"F60-F58","v":23.486000000000001},{"$f":"F60-C60","v":19330.304},1.2754745370370399]
["2017-02-27","16 h 07",3418,null,10397,22748.018,"31034:22:14",{"$f":"F61-F60","v":10.714},19330.018,0.44831018518518501]
["2017-02-28","07 h 53",3419,"Non Consommation  000008 Kwh",2,22748.685000000001,"31037:20:35",0.66700000000000004,19329.685000000001,0.123854166666667]
["2017-03-01","09 h 40",3424,null,612,22753.917000000001,"31050:21:45",5.2320000000000002,19329.917000000001,0.54247685185185202]
["2017-03-02","08 h 29",3431,null,14,22760.825000000001,"31060:22:35",6.9080000000000004,19329.825000000001,0.41724537037037002]
["2017-03-03","10 h 07",3441,null,8,22770.575000000001,"31073:19:00",9.75,19329.575000000001,0.53917824074074105]
["2017-03-04","19 h 54",3446,null,5048,22775.218000000001,"31082:07:27",4.6429999999999998,19329.218000000001,0.36697916666666702]
["2017-03-05",null,3460]
["2017-03-06",null,3466]
["2017-03-07",null,3468]
["2017-03-08",null,3473]
["2017-03-09","18 h 25",3483]
["2017-03-10",null,3497]
["2017-03-11","18 h 35",3508]
["2017-03-12","10 h 30",3508,"Non Consommation  000008 Kwh",251,22835.98,"31176:53:00",{"$f":"F74-F66","v":60.762},{"$f":"F74-C74","v":19327.98},{"$f":"CDIFFTMPS(G74,G66)","v":3.94829861111111}]
["2017-03-13","10 h 00",3512,null,110,22839.704000000002,"31187:55:51",{"$f":"F75-F74","v":3.7240000000000002},19327.704000000002,{"$f":"CDIFFTMPS(G75,G74)","v":0.46031250000000001}]
["2017-03-14","08 h 28",3514,null,154,22841.251,"31198:05:56",1.5469999999999999,19327.251,0.42366898148148102]
["2017-03-15","09 h 55",3528,null,1704,22855.387999999999,"31211:35:57",14.137,19327.387999999999,0.56251157407407404]
["2017-03-16","09 h  16",3541,null,916,22867.581999999999,"31223:06:12",12.194000000000001,19326.581999999999,0.47934027777777799]
["2017-03-17","09 h 25",3555,null,1371,22881.115000000002,"31235:32:02",13.532999999999999,19326.115000000002,0.51793981481481499]
["2017-03-18","08 h 43",3568,null,47,22893.275000000001,"31246:27:00",12.16,19325.275000000001,0.45483796296296303]
["2017-03-19","08 h 50",3574,null,623,22898.909,"31258:47:36",5.6340000000000003,19324.909,0.51430555555555502]
["2017-03-20","08 h 13",3587,null,10,22911.535,"31269:59:39",12.625999999999999,19324.535,0.46670138888888901]
["2017-03-21","09 h 21",3590,null,354,22914.643,"31282:58:47",3.1080000000000001,19324.643,0.54106481481481505]
["2017-03-22","09 h 17",3594,null,549,22919.012999999999,"31295:16:43",4.37,19325.012999999999,0.51245370370370402]
["2017-03-23","09 h 00",3603,null,83,22927.436000000002,"31307:11:41",8.423,19324.436000000002,0.49650462962962999]
["2017-03-24","09 h 01",3615,null,754,22938.977999999999,"31319:30:44",11.542,19323.977999999999,0.51322916666666696]
["2017-03-25","09 h 20",3621,null,166,22944.672999999999,"31331:39:09",5.6950000000000003,19323.672999999999,0.50584490740740695]
["2017-03-26","09  h 23",3627,null,231,22951.041000000001,"31343:18:25",6.3680000000000003,19324.041000000001,0.48560185185185201]
["2017-03-27","08 h 57",3641,null,110,22964.778999999999,"31355:39:00",13.738,19323.778999999999,0.51429398148148198]
["2017-03-28","10 h 56",3649,"Non Consommation  000008 Kwh",815,22972.061000000002,"31369:18:02",7.282,19323.061000000002,0.56877314814814794]
["2017-03-29","09 h 16",3662,null,233,22984.607,"31381:30:47",12.545999999999999,19322.607,0.50885416666666705]
["2017-03-30","08 h 36",3677,null,61,22998.797999999999,"31393:49:23",14.191000000000001,19321.797999999999,0.51291666666666702]
["2017-03-31","08 h 37",3691,null,32,23012.762999999999,"31406:29:00",13.965,19321.762999999999,0.52751157407407401]
["2017-04-01","08 h 51",3700,null,9,23021.18,"31418:41:33",8.4169999999999998,19321.18,0.50871527777777803]
["2017-04-02","09 h 27",3710,null,98,23031.258000000002,"31432:11:24",10.077999999999999,19321.258000000002,0.56239583333333298]
["2017-04-03","08 h 42",3718,null,82,23038.871999999999,"31444:20:04",7.6139999999999999,19320.871999999999,0.50601851851851898]
["2017-04-04","08 h 22",3733,null,39,23053.476999999999,"31457:06:59",14.605,19320.476999999999,0.53258101851851802]
["2017-04-05","09 h 16",3746,null,275,23065.376,"31471:10:56",11.898999999999999,19319.376,0.58607638888888902]
["2017-04-06","08 h 28",3757,"Non Consommation  000008 Kwh",69,23076,"31483:28:45",10.624000000000001,19319,0.51237268518518497]
["2017-04-07","08 h 14",3772,null,29,23091.29,"31496:28:16",15.29,19319.29,0.54133101851851895]
["2017-04-08","08 h 12",3788,null,22,23106.135999999999,"31509:43:15",14.846,19318.135999999999,0.552071759259259]
["2017-04-09","08 h 44",3803,null,80,23120.688999999998,"31523:35:29",14.553000000000001,19317.688999999998,0.57793981481481504]
["2017-04-10","08 h 19",3818,null,39,23135.034,"31536:33:49",14.345000000000001,19317.034,0.54050925925925897]
["2017-04-11","08 h 25",3833,null,9,23149.483,"31549:44:06",14.449,19316.483,0.54880787037037004]
["2017-04-12","11 h 00",3847,null,3006,23162.77,"31565:46:07",13.287000000000001,19315.77,0.66806712962963]
["2017-04-13","08 h 24",3859,null,52,23174.477999999999,"31576:41:20",11.708,19315.477999999999,0.455011574074074]
["2017-04-14","08 h 03",3874,null,52,23189.262999999999,"31589:56:58",14.785,19315.262999999999,0.55252314814814796]
["2017-04-15","08 h 37",3889,null,18,23203.79,"31603:42:02",14.526999999999999,19314.79,0.57296296296296301]
["2017-04-16","10 h 40",3895,null,2167,23209.463,"31618:59:16",5.673,19314.463,0.63696759259259295]
["2017-04-17","08 h 19",3903,null,65,23217.906999999999,"31630:13:44",8.4440000000000008,19314.906999999999,0.46837962962962998]
["2017-04-18","08 h 55",3919,null,332,23233.254000000001,"31644:35:30",15.347,19314.254000000001,0.59844907407407399]
["2017-04-19","08 h 40",3935,null,129,23248.691999999999,"31658:07:59",15.438000000000001,19313.691999999999,0.56422453703703701]
["2017-04-20","08 h 30",3951,null,54,23264.694,"31671:50:02",16.001999999999999,19313.694,0.57086805555555598]
["2017-04-21","09 h 07",3969,null,616,23281.148000000001,"31686:21:47",16.454000000000001,19312.148000000001,0.60538194444444404]
["2017-04-22","09 h 03",3985,"Non Consommation  000008 Kwh",564,23296.667000000001,"31700:15:07",15.519,19311.667000000001,0.57870370370370405]
["2017-04-23","11 h 23",4005,null,4223,23315.805,"31716:31:42",19.138000000000002,19310.805,0.67818287037036995]
["2017-04-24","08 h 32",4017,null,187,23327.319,"31727:39:36",11.513999999999999,19310.319,0.46381944444444401]
["2017-04-25","09 h 23",4033,null,501,23342.974999999999,"31742:24:13",15.656000000000001,19309.974999999999,0.61431712962963003]
["2017-04-26","09 h 15",4039,null,13,23349.012999999999,"31755:10:40",6.0380000000000003,19310.012999999999,0.53225694444444405]
["2017-04-27","08 h 50",4044,null,209,23353.691999999999,"31768:08:56",4.6790000000000003,19309.691999999999,0.54046296296296303]
["2017-04-28","08 h 55",4057,null,712,23365.616000000002,"31782:24:06",11.923999999999999,19308.616000000002,0.59386574074074105]
["2017-04-29","09 h 39",4073,null,1792,23381.035,"31797:23:50",15.419,19308.035,0.62481481481481504]
["2017-04-30","09 h 24",4089,"Non Consommation  000008 Kwh",1063,23396.633000000002,"31811:34:34",15.598000000000001,19307.633000000002,0.59078703703703705]
["2017-05-01","08 h 43",4100,null,279,23407.227999999999,"31824:44:25",10.595000000000001,19307.227999999999,0.54850694444444403]
["2017-05-02","09 h 07",4114,null,226,23420.92,"31838:54:01",13.692,19306.919999999998,0.59]
["2017-05-03","09 h 38",4120,null,391,23427.324000000001,"31853:35:40",6.4039999999999999,19307.324000000001,0.61225694444444401]
["2017-05-04","07 h 55",4129,null,92,23435.621999999999,"31866:20:30",8.298,19306.621999999999,0.53113425925925895]
["2017-05-05","08 h 46",4142,null,334,23449.078000000001,"31881:30:14",13.456,19307.078000000001,0.63175925925925902]
["2017-05-06","09 h 04",4153,null,248,23459.347000000002,"31895:23:45",10.269,19306.347000000002,0.57883101851851804]
["2017-05-07","09 h 26",4167,null,1657,23472.923999999999,"31910:21:40",13.577,19305.923999999999,0.62355324074074103]
["2017-05-08","08 h 08",4184,null,243,23489.120999999999,"31923:41:45",16.196999999999999,19305.120999999999,0.555613425925926]
["2017-05-09","08 h 34",4202,null,659,23506.920999999998,"31938:43:54",17.8,19304.920999999998,0.62649305555555601]
["2017-05-10","08 h 43",4220,null,360,23523.932000000001,"31953:19:54",17.010999999999999,19303.932000000001,0.60833333333333295]
["2017-05-11","08 h 07",4232,"Non Consommation  000008 Kwh",83,23535.184000000001,"31967:14:12",11.252000000000001,19303.184000000001,0.57937499999999997]
["2017-05-12","08 h 19",4242,null,216,23545.511999999999,"31981:30:30",10.327999999999999,19303.511999999999,0.59465277777777803]
["2017-05-13","08 h 54",4259,null,666,23561.137999999999,"31996:37:12",15.625999999999999,19302.137999999999,0.62965277777777795]
["2017-05-14","10 h 12",4272,null,680,23574.417000000001,"32012:17:12",13.279,19302.417000000001,0.65277777777777801]
["2017-05-15","08 h 24",4286,null,558,23587.705999999998,"32025:25:50",13.289,19301.705999999998,0.54766203703703698]
["2017-05-16","12 h 19",4310,null,6776,23610.55,"32044:01:59",22.844000000000001,19300.55,0.77510416666666704]
["2017-05-17","10 h 38",4324,null,3599,23623.878000000001,"32057:14:35",13.327999999999999,19299.878000000001,0.550416666666667]
["2017-05-18","08 h 17",4334,null,48,23634.42,"32069:17:09",10.542,19300.419999999998,0.50178240740740698]
["2017-05-19","07 h 54",4337,null,133,23636.636999999999,"32083:11:08",2.2170000000000001,19299.636999999999,0.57915509259259301]
["2017-05-20","08 h 26",4353,"Non Consommation  000008 Kwh",507,23652.683000000001,"32098:43:01",16.045999999999999,19299.683000000001,0.64714120370370398]
["2017-05-21","09 h 30",4368,null,2037,23666.786,"32114:47:16",14.103,19298.786,0.66961805555555598]
["2017-05-22","09 h 02",4384,null,463,23682.161,"32128:57:34",15.375,19298.161,0.59048611111111104]
["2017-05-23","09 h 00",4399,null,143,23696.317999999999,"32143:05:09",14.157,19297.317999999999,0.58859953703703705]
["2017-05-24","08 h 47",4406,null,756,23703.415000000001,"32157:59:54",7.0970000000000004,19297.415000000001,0.62135416666666698]
["2017-05-25","09 h 11",4424,null,1537,23720.885999999999,"32173:34:22",17.471,19296.885999999999,0.648935185185185]
["2017-05-26","09 h 02",4441,null,1226,23737.054,"32188:41:56",16.167999999999999,19296.054,0.63025462962962997]
["2017-05-27","09 h 03",4457,null,1160,23752.276999999998,"32203:51:41",15.223000000000001,19295.276999999998,0.63177083333333295]
["2017-05-28","09 h 45",4475,null,2087,23769.431,"32219:40:21",17.154,19294.431,0.65879629629629599]
["2017-05-29","07 h 41",4488,null,26,23782.670999999998,"32232:52:24",13.24,19294.670999999998,0.55003472222222205]
["2017-05-30","08 h 45",4495,null,296,23789.438999999998,"32248:32:23",6.7679999999999998,19294.438999999998,0.65276620370370397]
["2017-05-31","08 h 26",4498,null,84,23792.203000000001,"32263:04:03",2.7639999999999998,19294.203000000001,0.60532407407407396]
["2017-06-01","08 h 05",4511,"Non Consommation  000008 Kwh",285,23804.240000000002,"32278:01:05",12.037000000000001,19293.240000000002,0.62293981481481497]
["2017-06-02","07 h 57",4527,null,300,23820.405999999999,"32293:18:04",16.166,19293.405999999999,0.63679398148148103]
["2017-06-03","08 h 06",4542,null,81,23834.334999999999,"32308:25:59",13.929,19292.334999999999,0.63049768518518501]
["2017-06-04","07 h 26",4544,null,74,23836.785,"32323:22:00",2.4500000000000002,19292.785,0.62223379629629605]
["2017-06-05","10 h 04",4553,null,721,23845.635999999999,"32340:36:12",8.8510000000000009,19292.635999999999,0.71819444444444402]
["2017-06-06","08 h 54",4566,null,289,23857.427,"32354:45:00",11.791,19291.427,0.58944444444444399]
["2017-06-07","09 h 00",4581,null,1373,23872.557000000001,"32370:16:23",15.13,19291.557000000001,0.64679398148148104]
["2017-06-08","08 h 50",4598,null,1169,23889.117999999999,"32385:34:45",16.561,19291.117999999999,0.63775462962963003]
["2017-06-09","09 h 30",4615,null,545,23905.56,"32401:29:43",16.442,19290.560000000001,0.66317129629629601]
["2017-06-10","09 h 03",4622,null,1238,23912.135999999999,"32416:28:45",6.5759999999999996,19290.135999999999,0.62432870370370397]
["2017-06-11","09 h 52",4640,null,2151,23929.353999999999,"32432:42:00",17.218,19289.353999999999,0.67586805555555596]
["2017-06-12","08 h 52",4654,null,221,23943.147000000001,"32446:46:01",13.792999999999999,19289.147000000001,0.58612268518518496]
["2017-06-13","09 h 24",4669,null,1488,23957.356,"32462:35:31",14.209,19288.356,0.65937500000000004]
["2017-06-14","08 h 42",4684,null,776,23972.391,"32477:16:28",15.035,19288.391,0.61177083333333304]
["2017-06-15","09 h 02",4700,null,306,23987.241000000002,"32493:00:17",14.85,19287.241000000002,0.65542824074074102]
["2017-06-16","08 h 18",4706,"Non Consommation  000008 Kwh",36,23993.521000000001,"32507:14:05",6.28,19287.521000000001,0.59291666666666698]
["2017-06-17","09 h 33",4722,null,2076,24008.241999999998,"32524:03:32",14.721,19286.241999999998,0.701006944444444]
["2017-06-18","08 h 49",4739,null,1139,24024.581999999999,"32538:55:17",16.34,19285.581999999999,0.61927083333333299]
["2017-06-19","08 h 38",4756,null,791,24041.252,"32554:17:46",16.670000000000002,19285.252,0.64061342592592596]
["2017-06-20","08 h 45",4773,null,811,24057.753000000001,"32570:08:32",16.501000000000001,19284.753000000001,0.66025462962963]
["2017-06-21","08 h 23",4789,null,536,24072.705000000002,"32585:17:50",14.952,19283.705000000002,0.63145833333333301]
["2017-06-22","07 h 24",4804,null,68,24087.550999999999,"32600:05:12",14.846,19283.550999999999,0.616226851851852]
["2017-06-23","08 h 24",4820,null,359,24102.944,"32616:29:33",15.393000000000001,19282.944,0.68357638888888905]
["2017-06-24","08 h 00",4825,null,35,24107.822,"32630:59:23",4.8780000000000001,19282.822,0.60405092592592602]
["2017-06-25","08 h 07",4831,null,53,24113.524000000001,"32646:22:52",5.702,19282.524000000001,0.64130787037036996]
["2017-06-26","08 h 52",4843,null,246,24125.048999999999,"32662:01:17",11.525,19282.048999999999,0.65167824074074099]
["2017-06-27","08 h 41",4851,"Non Consommation  000008 Kwh",170,24132.456999999999,"32677:13:06",7.4080000000000004,19281.456999999999,0.63320601851851899]
["2017-06-28","08 h 54",4861,null,129,24142.171999999999,"32692:29:20",9.7149999999999999,19281.171999999999,0.63627314814814795]
["2017-06-29","07 h 56 ",4872,null,306,24152.975999999999,"32706:49:16",10.804,19280.975999999999,0.59717592592592605]
["2017-06-30","08 h 07",4890,null,440,24171.008000000002,"32722:29:25",18.032,19281.008000000002,0.65288194444444403]
["2017-07-01","07 h 39",4900,null,48,24180.839,"32737:12:24",9.8309999999999995,19280.839,0.61318287037037]
["2017-07-02","08 h 33",4907,null,105,24187.503000000001,"32753:01:13",6.6639999999999997,19280.503000000001,0.65890046296296301]
["2017-07-03","07 h 21",4916,null,22,24196.553,"32766:55:34",9.0500000000000007,19280.553,{"$f":"CDIFFTMPS(G187,G186)","v":0.57940972222222198}]
["2017-07-04","07 h 58",4928,null,318,24207.626,"32783:00:40",11.073,19279.626,{"$f":"CDIFFTMPS(G188,G187)","v":0.67020833333333296}]
["2017-07-05","08 h 34",4946,null,722,24224.699000000001,"32799:04:02",17.073,19278.699000000001,{"$f":"CDIFFTMPS(G189,G188)","v":0.66900462962963003}]

{"sheet":"Releves totalises","index":1,"n_rows":443,"n_cols":10,"rows_kept":443,"cut":false,"hidden":false,"merged":[[55,0,55,3],[0,0,0,6],[1,0,2,0],[1,1,2,1],[1,2,1,3],[1,4,1,6]]}
[2016]
["Date","Heure","EDF",null,"Onduleur"]
[null,null,"Production  Kwh","Remarques","Production                jour                                       wh","Production                                   tolale                           Kwh","Temps fonctionnement total                                     hh:mm:ss"]
["2016-01-20","14 h 36",12238,null,6521,19380.345000000001,"26192:47:54"]
[null,"17 h 53",12238,null,8111,19381.918000000001,"26192:47:54",{"$f":"F5-F4","v":1.573},null,{"$f":"CDIFFTMPS(G5,G4)","v":0}]
["2016-01-21","08 h 43",12238,null,2,19381.919999999998,"26196:40:32",2E-3,{"$f":"F6-C6","v":7143.92},{"$f":"CDIFFTMPS(G6,G5)","v":0.16155092592592599}]
[null,"09 h 45",12238,null,143,19382.056,"26197:38:17",0.13600000000000001,{"$f":"F7-C7","v":7144.0559999999996},4.0104166666666698E-2]
[null,"10 h 30",12238,null,674,19382.575000000001,"26198:20:41",0.51900000000000002,7144.5749999999998,2.9444444444444402E-2]
[null,"11 h 06",12238,"Voyant jaune actif plusieurs fois",1564,19383.469000000001,"26198:58:55",0.89400000000000002,7145.4690000000001,2.6550925925925901E-2]
[null,"11 h 37",12238,null,2336,19384.241999999998,"26199:29:41",0.77300000000000002,7146.2420000000002,2.1365740740740699E-2]
[null,"14 h00",12239,null,5958,19387.864000000001,"26201:50:29",3.6219999999999999,7148.8639999999996,9.7777777777777797E-2]
[null,"17 h10",12239,null,8095,19390.013999999999,"26205:02:25",2.15,7151.0140000000001,0.13328703703703701]
["2016-01-22","07 h 51",12239,null,8123,19390.041000000001,"26206:02:09",2.7E-2,7151.0410000000002,4.1481481481481501E-2]
[null,"09 h 05",12239,null,40,19390.080000000002,"26207:00:26",3.9E-2,7151.08,4.0474537037037003E-2]
[null,"12 h 43",12239,null,1798,19391.837,"26210:29:34",1.7569999999999999,7152.8370000000004,0.14523148148148099]
[null,"13 h 53",12239,null,2148,19392.187000000002,"26211:53:50",0.35,7153.1869999999999,5.8518518518518498E-2]
[null,"18 h 12",12239,null,2752,19392.793000000001,"26215:39:01",0.60599999999999998,7153.7929999999997,0.15637731481481501]
["2016-01-23","09 h 50",12239,null,87,19392.877,"26217:06:17",8.4000000000000005E-2,7153.8770000000004,6.06018518518519E-2]
[null,"11 h 10",12239,"Voyant jaune actif 5 fois consecutifs",701,19393.491000000002,"26218:27:13",0.61399999999999999,7154.491,5.62037037037037E-2]
[null,"12 h 25",12239,null,1732,19394.519,"26219:38:53",1.028,7155.5190000000002,4.9768518518518497E-2]
[null,"15 h 31",12239,null,5154,19397.949000000001,"26222:46:58",3.43,7158.9489999999996,0.13061342592592601]
[null,"16 h 51 ",12239,null,5744,19398.538,"26224:07:13",0.58899999999999997,7159.5379999999996,5.5729166666666698E-2]
[null,"18 h 10",12239,null,5803,19398.596000000001,"26225:22:18",5.8000000000000003E-2,7159.5959999999995,5.2141203703703697E-2]
["2016-01-24",null,null,null,"Pas de relevé",null,"26225:22:18",null,0,0]
["2016-01-25","08 h 05",12241,null,8540,19407.135999999999,"26235:17:06",{"$f":"F25-F23","v":8.5399999999999991},7166.1360000000004,0.41305555555555601]
[null,"09 h 20",12241,null,49,19407.185000000001,"26236:24:18",{"$f":"F26-F25","v":4.9000000000000002E-2},7166.1850000000004,4.6666666666666697E-2]
[null,"10 h 59",12241,null,1457,19408.601999999999,"26238:02:03",{"$f":"F27-F26","v":1.417},7167.6019999999999,6.7881944444444398E-2]
[null,"12 h 06",12242,null,3101,19410.241000000002,"26239:10:09",{"$f":"F28-F27","v":1.639},7168.241,4.7291666666666697E-2]
[null,"14 h 42",12242,null,6495,19413.623,"26241:45:23",{"$f":"F29-F28","v":3.3820000000000001},7171.6229999999996,0.10780092592592599]
["2016-01-26","19 h 00",12242,null,1567,19416.325000000001,"26254:50:09",{"$f":"F30-F29","v":2.702},7174.3249999999998,0.54497685185185196]
["2016-01-27","09 h 00",12242,null,7,19416.331999999999,"26255:29:34",{"$f":"F31-F30","v":7.0000000000000001E-3},7174.3320000000003,2.7372685185185201E-2]
[null,"10 h 25",12242,null,194,19416.517,"26256:56:23",0.185,7174.5169999999998,6.0289351851851899E-2]
[null,"11 h 50",12242,null,530,19416.857,"26258:20:64",0.34,7174.857,5.8807870370370399E-2]
[null,"16 h 13",12242,null,3479,19419.800999999999,"26262:44:16",2.944,7177.8010000000004,0.18277777777777801]
["2016-01-28","07 h 56",12242,null,3748,19420.073,"26264:46:09",0.27200000000000002,7178.0730000000003,8.4641203703703705E-2]
[null,"08 h 55 ",12242,null,13,19420.085999999999,"26265:31:39",1.2999999999999999E-2,7178.0860000000002,3.15972222222222E-2]
[null,"12 h 06",12242,null,1265,19421.342000000001,"26268:44:26",1.256,7179.3419999999996,0.13387731481481499]
[null,"14 h 00",12242,null,2686,19422.756000000001,"26270:37:54",1.4139999999999999,7180.7560000000003,7.8796296296296295E-2]
[null,"18 h 08",12242,null,3979,19424.052,"26274:43:59",1.296,7182.0519999999997,0.170891203703704]
["2016-01-29","06 h 45",12242,null,3979,19424.052,"26274:49:27",0,7182.0519999999997,3.7962962962962898E-3]
[null,"12 h 50",12242,null,290,19424.342000000001,"26279:00:39",0.28999999999999998,7182.3419999999996,0.17444444444444401]
["2016-01-30","08 h 27",12242,null,1,19424.986000000001,"26284:35:28",0.64400000000000002,7182.9859999999999,0.232511574074074]
[null,"10 h 00",12242,null,518,19425.510999999999,"26286:02:58",0.52500000000000002,7183.5110000000004,6.0763888888888902E-2]
["2016-01-31","09 h 13",12242,null,32,19432.071,"26294:59:52",{"$f":"F44-F43","v":6.56},7190.0709999999999,0.372847222222222]
[null,"19 h 20",12242,null,1169,19433.207999999999,"26303:54:12",{"$f":"F45-F44","v":1.137},7191.2079999999996,0.37106481481481501]
["2016-02-01","08 h 19",12242,null,1169,19433.207999999999,"26303:59:41",0,7191.2079999999996,3.8078703703703699E-3]
[null,"10 h 56",12242,null,231,19433.439999999999,"26305:36:32",0.23200000000000001,7191.44,6.7256944444444397E-2]
[null,"15 h 03",12242,null,1558,19434.764999999999,"26310:42:51",{"$f":"F48-F47","v":1.325},7192.7650000000003,0.21271990740740701]
[null,"19 h 27",12242,null,1909,19435.116999999998,"26314:02:15",{"$f":"F49-F48","v":0.35199999999999998},7193.1170000000002,0.138472222222222]
["2016-02-02","07 h 25",12242,null,1909,19435.116999999998,"26314:07:42",{"$f":"F50-F49","v":0},7193.1170000000002,3.7847222222222201E-3]
[null,"16 h 13",12242,null,1542,19436.66,"26322:51:18",1.5429999999999999,7194.66,0.363611111111111]
[null,"17 h 36 ",12242,null,1598,19436.715,"26323:22:24",5.5E-2,7194.7150000000001,2.1597222222222202E-2]
["2016-02-03","08 h 02",12242,null,1601,19436.718000000001,"26323:59:01",3.0000000000000001E-3,7194.7179999999998,2.5428240740740699E-2]
[null,"09 h 23",12242,"Non Consommation  000006 Kwh",52,19436.771000000001,"26324:53:42",5.2999999999999999E-2,7194.7709999999997,3.7974537037037001E-2]
[null,"11 h 00",12242,null,525,19437.241999999998,"26326:29:07",0.47099999999999997,7195.2420000000002,6.6261574074074098E-2]
["Changement compteur production",null,null,null,null,null,"26326:29:07",null,null,0]
[null,"12 h 00",0,null,1037,19437.755000000001,"26327:30:46",{"$f":"F57-F55","v":0.51300000000000001},{"$f":"F57-C57","v":19437.755000000001},4.2812500000000003E-2]
[null,"13 h 37",0,null,1493,19438.213,"26329:06:16",0.45800000000000002,{"$f":"F58-C58","v":19438.213},6.6319444444444403E-2]
[null,"17 h 23",2,null,3524,19440.241999999998,"26332:52:26",2.0289999999999999,19438.241999999998,0.157060185185185]
["2016-02-04","09 h 15",2,"Non Consommation  000006 Kwh",74,19440.338,"26334:54:30",9.6000000000000002E-2,19438.338,8.4768518518518493E-2]
[null,"11 h 00",4,null,2121,19442.397000000001,"26336:41:10",2.0590000000000002,19438.397000000001,7.4074074074074098E-2]
[null,"13 h 45",9,null,6643,19446.899000000001,"26339:22:25",4.5019999999999998,19437.899000000001,0.111979166666667]
[null,"17 h 25 ",12,null,9897,19450.163,"26343:04:12",3.2639999999999998,19438.163,0.154016203703704]
[null,"18 h 35",12,null,9919,19450.184000000001,"26344:06:02",2.1000000000000001E-2,19438.184000000001,4.2939814814814799E-2]
["2016-02-05","13 h 10",18,null,5508,19455.696,"26349:13:08",5.5119999999999996,19437.696,0.213263888888889]
[null,"16 h 33",22,null,9263,19459.445,"26352:37:06",3.7490000000000001,19437.445,0.141643518518519]
["2016-02-06",null,null,null,"Pas de relevé",null,"26352:37:06",null,0,0]
["2016-02-07","09 h 45",32,null,40,19469.214,"26366:06:43",{"$f":"F68-F66","v":9.7690000000000001},19437.214,0.562233796296296]
[null,"11 h 30",34,null,1864,19471.028999999999,"26367:51:20",1.8149999999999999,19437.028999999999,7.2650462962963E-2]
[null,"18 h 37",39,null,6729,19475.901999999998,"26374:47:30",4.8730000000000002,19436.901999999998,{"$f":"CDIFFTMPS(G70,G69)","v":0.28900462962963003}]
["2016-02-08","08 h 36",39,null,17,19475.919999999998,"26375:19:30",1.7999999999999999E-2,19436.919999999998,2.2222222222222199E-2]
[null,"11 h 50",43,null,3383,19479.275000000001,"26378:33:09",3.355,19436.275000000001,0.13447916666666701]
[null,"20 h 42",49,null,9027,19484.929,"26385:09:32",5.6539999999999999,19435.929,0.27526620370370403]
["2016-02-09","09 h 32",49,null,53,19484.937999999998,"26386:28:39",8.9999999999999993E-3,19435.937999999998,5.4942129629629598E-2]
[null,"10 h 29",49,null,118,19485.046999999999,"26387:25:53",0.109,19436.046999999999,3.9745370370370403E-2]
[null,"13 h 05",49,null,404,19485.333999999999,"26390:02:00",0.28699999999999998,19436.333999999999,0.108414351851852]
[null,"15 h 15",49,null,919,19485.848000000002,"26392:12:19",0.51400000000000001,19436.848000000002,9.0497685185185195E-2]
[null,"18 h 11",50,null,1037,19485.966,"26395:03:00",0.11799999999999999,19435.966,0.11853009259259301]
["2016-02-10","08 h 13",50,null,1037,19485.966,"26395:08:34",0,19435.966,3.8657407407407399E-3]
[null,"09 h 37",50,null,107,19486.075000000001,"26396:41:12",0.109,19436.075000000001,6.4328703703703694E-2]
[null,"14 h 10",51,null,1723,19487.687000000002,"26401:13:50",1.6120000000000001,19436.687000000002,0.189328703703704]
[null,"16 h 52",52,null,2183,19488.150000000001,"26403:55:54",0.46300000000000002,19436.150000000001,0.11254629629629601]
["2016-02-11","09 h 10",52,null,39,19488.228999999999,"26406:10:20",7.9000000000000001E-2,19436.228999999999,9.3356481481481499E-2]
[null,"11 h 04",52,null,344,19488.531999999999,"26408:04:02",0.30299999999999999,19436.531999999999,7.8958333333333297E-2]
[null,"13 h 45",54,null,1860,19490.052,"26410:43:28",1.52,19436.052,0.11071759259259301]
["2016-02-12","08 h 56",55,null,11,19491.637999999999,"26416:06:40",1.5860000000000001,19436.637999999999,0.224444444444444]
[null,"13 h 10",55,null,370,19491.999,"26420:19:48",0.36099999999999999,19436.999,0.17578703703703699]
["2016-02-13","16 h 23",66,null,9203,19502.09,"26433:11:48",10.090999999999999,19436.09,0.53611111111111098]
[null,"18 h 16",66,null,9373,19502.258000000002,"26435:04:05",0.16800000000000001,19436.258000000002,7.7974537037036995E-2]
["2016-02-14","09 h 03",66,null,76,19502.335999999999,"26436:08:15",7.8E-2,19436.335999999999,4.4560185185185203E-2]
[null,"14 h 30",74,null,7854,19510.102999999999,"26441:34:09",7.7670000000000003,19436.102999999999,0.22631944444444399]
["2016-02-15"," 08 h 11",75,null,8660,19510.918000000001,"26445:41:52",0.81499999999999995,19435.918000000001,0.172025462962963]
[null,"10 h 02",75,null,53,19510.972000000002,"26447:31:30",5.3999999999999999E-2,19435.972000000002,7.6134259259259304E-2]
[null,"19 h 06",77,null,1818,19512.736000000001,"26455:43:55",1.764,19435.736000000001,0.34195601851851898]
["2016-02-16","17 h 32",80,null,3419,19516.154999999999,"26465:18:30",3.419,19436.154999999999,0.399016203703704]
["2016-02-17","09 h 20",81,null,257,19516.43,"26470:41:45",0.27500000000000002,19435.43,0.22447916666666701]
[null,"11 h 11",83,null,3016,19519.170999999998,"26471:30:09",2.7410000000000001,19436.170999999998,3.3611111111111099E-2]
[null,"17 h 23",92,null,11606,19527.771000000001,"26475:41:38",8.6,{"$f":"F98-C98","v":19435.771000000001},0.17464120370370401]
["2016-02-18","16 h 06",97,null,4813,19532.645,"26484:50:05",4.8739999999999997,{"$f":"F99-C99","v":19435.645},0.38086805555555597]
[null,"18 h 26",98,null,5228,19533.055,"26487:05:04",0.41,19435.055,9.3738425925925906E-2]
["2016-02-19","08 h 26",98,null,26,19533.081999999999,"26487:58:09",2.7E-2,19435.081999999999,3.6863425925925897E-2]
[null,"18 h 29",109,null,11171,19544.225999999999,"26497:49:55",11.144,19435.225999999999,0.41094907407407399]
["2016-02-20","07 h 57",109,null,11171,19544.225999999999,"26498:18:34",0,19435.225999999999,1.98958333333333E-2]
[null,"08 h 47",109,null,26,19544.252,"26499:07:40",2.5999999999999999E-2,19435.252,3.4097222222222202E-2]
[null,"11 h 44",113,null,4058,19548.273000000001,"26502:04:57",4.0209999999999999,19435.273000000001,0.123113425925926]
["2016-02-21","10 h 00 ",122,null,992,19556.656999999999,"26511:20:22",8.3840000000000003,19434.656999999999,0.38570601851851899]
[null,"14 h 40",130,null,8961,19564.605,"26516:02:55",7.9480000000000004,19434.605,0.196215277777778]
["2016-02-22","09 h 30",133,null,21,19566.942999999999,"26521:16:04",{"$f":"F108-F107","v":2.3380000000000001},19433.942999999999,0.21746527777777799]
["2016-02-23","08 h 37",134,null,39,19568.167000000001,"26531:16:40",{"$f":"F109-F108","v":1.224},19434.167000000001,0.41708333333333297]
[null,"12 h 47",137,null,2698,19570.830000000002,"26535:25:48",{"$f":"F110-F109","v":2.6629999999999998},19433.830000000002,0.173009259259259]
["2016-02-24","09 h 58",140,null,859,19574.322,"26543:33:10",3.492,19434.322,0.33844907407407399]
[null,"13 h 20",145,null,5491,19578.957999999999,"26546:54:56",4.6360000000000001,19433.957999999999,0.14011574074074101]
["2016-02-25","10 h 45",149,null,682,19582.536,"26555:12:55",3.5779999999999998,19433.536,0.34582175925925901]
["2016-02-26","07 h 30",154,null,5541,19587.392,"26563:08:31",4.8559999999999999,19433.392,0.330277777777778]
[null,"08 h 19",154,null,35,19587.428,"26563:47:45",3.5999999999999997E-2,19433.428,2.7245370370370399E-2]
[null,"13 h 32",159,null,5664,19593.050999999999,"26569:01:24",5.6230000000000002,19434.050999999999,0.21781249999999999]
["2016-02-27","13 h 45",165,null,1929,19598.109,"26579:18:21",5.0579999999999998,19433.109,0.42843750000000003]
[null,"17 h 55",167,null,3856,19600.027999999998,"26583:29:05",1.919,19433.027999999998,0.17412037037037001]
["2016-02-28","09 h 38",167,null,54,19600.100999999999,"26585:55:36",7.2999999999999995E-2,19433.100999999999,0.101747685185185]
[null,"16 h 29",169,null,2351,19602.396000000001,"26592:46:06",2.2949999999999999,19433.396000000001,0.28506944444444399]
["2016-02-29","08 h 46",169,null,4,19602.579000000002,"26595:27:07",0.183,19433.579000000002,0.11181712962963]
[null,"12 h 15",170,null,1257,19603.837,"26598:56:17",1.258,19433.837,0.14525462962963001]
[null,"19 h 00 ",174,null,4720,19607.294999999998,"26605:35:01",3.4580000000000002,19433.294999999998,0.276898148148148]
["2016-03-01","09 h 50",174,null,730,19608.022000000001,"26608:01:22",0.72699999999999998,19434.022000000001,0.101631944444444]
[null,"12 h 11",177,null,3418,19610.708999999999,"26610:21:10",2.6869999999999998,19433.708999999999,9.7083333333333299E-2]
["2016-03-02","09 h 08",183,null,88,19616.613000000001,"26618:29:50",5.9039999999999999,19433.613000000001,0.33935185185185202]
[null,"12 h 42",184,null,1056,19617.581999999999,"26622:03:57",0.96899999999999997,19433.581999999999,0.14869212962962999]
["2016-03-03","09 h 10",187,null,77,19620.657999999999,"26629:36:16",3.0760000000000001,19433.657999999999,0.31410879629629601]
[null,"18 h 25",192,null,4195,19624.775000000001,"26638:49:17",4.117,19432.775000000001,0.38403935185185201]
["2016-03-04","08 h 16",192,null,32,19624.807000000001,"26639:51:09",3.2000000000000001E-2,19432.807000000001,4.2962962962963001E-2]
[null,"09 h 36",192,null,394,19625.171999999999,"26641:10:25",0.36499999999999999,19433.171999999999,5.5046296296296301E-2]
["2016-03-05","09 h 23",201,null,230,19633.323,"26651:51:29",8.1509999999999998,19432.323,0.44518518518518502]
[null,"13 h 27",203,null,2792,19635.893,"26655:55:45",2.57,19432.893,0.16962962962962999]
["2016-03-06","09 h 16",207,null,178,19639.133999999998,"26663:01:16",3.2410000000000001,19432.133999999998,{"$f":"CDIFFTMPS(G134,G133)","v":0.29549768518518499}]
[null,"15 h 00",212,null,5123,19644.080000000002,"26668:45:10",4.9459999999999997,19432.080000000002,0.238819444444444]
["2016-03-07","09 h 33",213,null,141,19645.109,"26674:32:12",1.0289999999999999,19432.109,0.24099537037037]
[null,"15 h 30",217,null,3981,19648.951000000001,"26680:07:39",3.8420000000000001,19431.951000000001,0.232951388888889]
["2016-03-08","08 h 10 ",217,"Non Consommation  000006 Kwh",28,19649.689999999999,"26684:35:06",0.73899999999999999,19432.689999999999,0.185729166666667]
[null,"10 h 40",220,null,2792,19652.246999999999,"26687:05:43",2.5569999999999999,19432.246999999999,0.104594907407407]
["2016-03-09","09 h 46",229,"Non Consommation  000006 Kwh",192,19660.873,"26697:27:44",8.6259999999999994,19431.873,0.431956018518519]
[null,"14 h 34",231,null,2182,19662.873,"26702:15:39",2,19431.873,0.19994212962963001]
[null,"20 h 40",233,"Anniversaire        Non Consommation  6 Kwh",3,19664.786,"26706:48:35",1.913,19431.786,0.189537037037037]
["2016-03-10","09 h 07",233,null,375,19665.165000000001,"26708:36:35",0.379,19432.165000000001,7.4999999999999997E-2]
[null,"14 h 03",242,null,8436,19673.233,"26713:32:17",8.0679999999999996,19431.233,0.20534722222222199]
["2016-03-11","09 h 00",245,null,252,19675.952000000001,"26720:12:56",2.7189999999999999,19430.952000000001,0.27822916666666703]
["2016-03-12","08 h 34",251,null,49,19681.937000000002,"26731:32:00",5.9850000000000003,19430.937000000002,0.47157407407407398]
["2016-03-13","09 h 34",261,null,794,19691.816999999999,"26744:24:30",9.8800000000000008,19430.816999999999,0.53645833333333304]
["2016-03-14","10 h 00",271,null,357,19701.713,"26756:07:34",9.8960000000000008,19430.713,0.48824074074074097]
["2016-03-15","09 h 52",282,"Non Consommation  000006 Kwh",930,19712.357,"26768:01:44",10.644,19430.357,0.49594907407407401]
["2016-03-16","09 h 25",293,null,205,19722.803,"26779:34:06",10.446,19429.803,0.48081018518518498]
["2016-03-17","14 h 27",298,null,2442,19727.697,"26795:32:10",4.8940000000000001,19429.697,0.66532407407407401]
["2016-03-18","08 h 28",300,null,13,19729.008999999998,"26800:57:24",1.3120000000000001,19429.008999999998,0.22585648148148099]
["2016-03-19","09 h 25",308,null,658,19736.951000000001,"26814:08:27",7.9420000000000002,19428.951000000001,0.54934027777777805]
["2016-03-20","09 h 32",319,null,411,19747.417000000001,"26826:09:32",10.465999999999999,19428.417000000001,0.50075231481481497]
["2016-03-21","07 h 55 ",325,null,57,19753.744999999999,"26835:49:36",6.3280000000000003,19428.744999999999,0.402824074074074]
["2016-03-22","08 h 10 ",333,null,9,19761.267,"26848:11:45",7.5220000000000002,19428.267,0.51538194444444496]
["2016-03-23","09 h 50",344,null,1870,19772.142,"26862:11:08",10.875,19428.142,0.58290509259259204]
["2016-03-24","09 h 35",356,null,1180,19783.579000000002,"26874:23:54",11.436999999999999,19427.579000000002,0.50886574074074098]
["2016-03-25","08 h 18",369,null,204,19796.144,"26885:21:19",12.565,19427.144,0.45653935185185202]
["2016-03-26","08 h 27",375,null,383,19802.447,"26898:03:20",6.3029999999999999,19427.447,0.52917824074074105]
["2016-03-27","10 h 12",390,null,565,19816.685000000001,"26911:17:41",14.238,19426.685000000001,0.55163194444444497]
["2016-03-28","09 h 59",402,null,323,19828.064999999999,"26923:27:33",11.38,19426.064999999999,0.506851851851852]
["2016-03-29","09 h 14",411,null,210,19836.587,"26935:22:40",8.5220000000000002,{"$f":"F163-C163","v":19425.587},0.49660879629629601]
["2016-03-30","09 h 50",420,null,891,19845.133999999998,"26948:46:10",8.5470000000000006,19425.133999999998,0.55798611111111096]
["2016-03-31","09 h 13",433,null,69,19857.696,"26960:52:10",12.561999999999999,19424.696,0.50416666666666698]
["2016-04-01","08 h 59",437,null,31,19861.716,"26973:07:50",4.0199999999999996,19424.716,0.51087962962962996]
["2016-04-02","14 h 57",452,null,9232,19876.241999999998,"26991:47:32",14.526,19424.241999999998,0.77756944444444398]
["2016-04-03","09 h 01",456,null,78,19880.699000000001,"26998:43:28",4.4569999999999999,19424.699000000001,0.28884259259259298]
["2016-04-04","09 h 50",468,null,673,19891.495999999999,"27012:18:45",10.797000000000001,19423.495999999999,0.56616898148148098]
["2016-04-05","09 h 17",474,null,21,19897.722000000002,"27024:13:50",6.226,19423.722000000002,0.49658564814814798]
["2016-04-06","09 h 40",478,null,240,19901.413,"27037:34:03",3.6909999999999998,19423.413,0.55570601851851897]
["2016-04-07","09 h 32",485,"Non Consommation  000006 Kwh",406,19908.674999999999,"27050:27:31",7.2619999999999996,19423.674999999999,0.53712962962962996]
["2016-04-08","08 h 22",492,null,21,19915.092000000001,"27062:20:31",6.4169999999999998,19423.092000000001,0.49513888888888902]
["2016-04-09","08 h 58",502,null,141,19924.66,"27075:57:21",9.5679999999999996,19422.66,0.56724537037037004]
["2016-04-10","09 h 02",509,null,232,19931.901000000002,"27089:21:33",7.2409999999999997,19422.901000000002,0.55847222222222204]
["2016-04-11","08 h 30",525,null,59,19947.096000000001,"27102:02:16",15.195,19422.096000000001,0.52827546296296302]
["2016-04-12","08 h 23",540,null,63,19961.196,"27115:13:08",14.1,19421.196,0.54921296296296296]
["2016-04-13","08 h 32",554,null,53,19975.236000000001,"27128:44:20",{"$f":"F178-F177","v":14.04},19421.236000000001,0.56333333333333302]
["2016-04-14","08 h 33",567,null,77,19988.019,"27142:00:33",12.782999999999999,19421.019,0.55292824074074098]
["2016-04-15","08 h 19",582,null,36,20002.474999999999,"27155:34:18",14.456,19420.474999999999,0.56510416666666696]
["2016-04-16","09 h 28",599,"Non Consommation  000007 Kwh",900,20018.813999999998,"27170:18:24",16.338999999999999,19419.813999999998,0.61395833333333305]
["2016-04-17","09 h 23",613,null,103,20032.275000000001,"27182:50:35",13.461,19419.275000000001,0.52234953703703701]
["2016-04-18","08 h 33",621,null,113,20040.254000000001,"27195:34:25",7.9790000000000001,19419.254000000001,0.53043981481481495]
["2016-04-19","10 h 14",635,null,2305,20053.129000000001,"27211:13:55",12.875,19418.129000000001,0.65243055555555596]
["2016-04-20","10 h 09",649,null,696,20067.234,"27224:36:40",14.105,19418.234,0.55746527777777799]
["2016-04-21","09 h 30",659,null,40,20076.973999999998,"27237:28:10",9.74,19417.973999999998,0.53576388888888904]
["2016-04-22","09 h 02",662,null,259,20079.615000000002,"27250:31:14",2.641,19417.615000000002,0.543796296296296]
["2016-04-23","08 h 42",670,null,57,20087.61,"27263:17:24",7.9950000000000001,19417.61,0.53206018518518505]
["2016-04-24","07 h 54",679,null,0,20095.956999999999,"27275:41:33",8.3469999999999995,19416.956999999999,0.51677083333333296]
["2016-04-24","08 h 43",679,null,120,20096.080000000002,"27276:29:36",0.123,19417.080000000002,3.3368055555555602E-2]
["2016-04-25","12 h 15",694,null,4377,20110.419000000002,"27294:04:14",14.339,19416.419000000002,0.73238425925925899]
["2016-04-26","10 h 05",702,null,377,20119.012999999999,"27305:26:23",8.5939999999999994,19417.012999999999,0.473715277777778]
["2016-04-27","15 h 56",717,null,7030,20133.322,"27325:11:20",14.308999999999999,19416.322,0.82288194444444396]
["2016-04-28","09 h 38",720,"Non Consommation  000007 Kwh",590,20136.162,"27332:43:26",2.84,19416.162,0.31395833333333301]
["2016-04-29","09 h 15",731,null,590,20146.942999999999,"27346:20:30",10.781000000000001,19415.942999999999,0.56740740740740703]
["2016-04-30","09 h 00",747,null,151,20162.618999999999,"27359:45:37",15.676,19415.618999999999,0.55910879629629595]
["2016-05-01","09 h51",761,null,2176,20175.787,"27374:55:22",13.167999999999999,19414.787,0.63177083333333295]
["2016-05-02","09 h 23",777,null,1401,20191.123,"27388:50:01",15.336,19414.123,{"$f":"CDIFFTMPS(G198,G197)","v":0.57961805555555601}]
["2016-05-03","09 h 41",794,null,771,20207.627,"27403:26:13",16.504000000000001,19413.627,0.60847222222222197]
["2016-05-04","08 h 16",808,null,250,20220.96,"27416:30:00",13.333,19412.96,0.544293981481481]
["2016-05-05","09 h 12",826,null,1229,20239.248,"27431:57:40",18.288,19413.248,0.64421296296296304]
["2016-05-06","10 h 29",844,null,1641,20255.738000000001,"27447:41:55",16.489999999999998,19411.738000000001,0.65572916666666703]
["2016-05-07","08 h 48",854,null,756,20266.149000000001,"27460:27:48",10.411,19412.149000000001,0.53186342592592595]
["2016-05-08","09 h 22",870,null,733,20281.375,"27475:34:47",15.226000000000001,19411.375,0.62984953703703705]
["2016-05-09","09 h 26",877,"Non Consommation  000007 Kwh",244,20288.396000000001,"27489:57:59",7.0209999999999999,19411.396000000001,0.599444444444444]
["2016-05-10","09 h 23",883,null,1250,20293.530999999999,"27504:07:38",5.1349999999999998,19410.530999999999,0.59003472222222197]
["2016-05-11","09 h 10",894,null,105,20304.942999999999,"27518:18:55",11.412000000000001,19410.942999999999,0.591168981481482]
["2016-05-12","09 h 10",900,null,1336,20310.034,"27532:54:24",5.0910000000000002,19410.034,0.60797453703703697]
["2016-05-13","09 h 16",913,null,321,20323.148000000001,"27547:17:56",13.114000000000001,19410.148000000001,0.599675925925926]
["2016-05-14","09 h 18",921,null,93,20331.227999999999,"27561:38:08",8.08,19410.227999999999,0.59736111111111101]
["2016-05-15","08 h 42",924,null,78,20334.308000000001,"27575:25:15",3.08,19410.308000000001,0.57438657407407401]
["2016-05-16","08 h 47",935,null,490,20344.512999999999,"27590:18:54",10.205,19409.512999999999,0.62059027777777798]
["2016-05-17","08 h 20",949,null,317,20358.186000000002,"27604:38:28",13.673,19409.186000000002,0.59692129629629598]
["2016-05-18","08 h 40",964,null,490,20373.121999999999,"27619:56:01",14.936,19409.121999999999,0.63718750000000002]
["2016-05-19","08 h 24",975,"Non Consommation  000007 Kwh",223,20382.873,"27634:02:20",9.7509999999999994,19407.873,0.58771990740740698]
["2016-05-20","08 h 23",982,null,390,20390.786,"27649:02:01",7.9130000000000003,19408.786,0.62478009259259304]
["2016-05-21","07 h 55 ",998,null,250,20405.944,"27663:35:22",15.157999999999999,19407.944,0.60649305555555599]
["2016-05-22","08 h 50",1015,null,133,20422.288,"27679:14:36",16.344000000000001,19407.288,0.65224537037037]
["2016-05-23","09 h 05",1019,null,745,20426.488000000001,"27694:34:20",4.2,19407.488000000001,0.638703703703704]
["2016-05-24","07 h 08",1039,null,11,20439.302,"27707:41:21",12.814,19400.302,0.54653935185185198]
["2016-05-25","09 h 23",1047,null,830,20453.080000000002,"27725:00:45",13.778,19406.080000000002,0.72180555555555503]
["2016-05-26","09 h 01",1061,null,328,20467.147000000001,"27739:36:55",14.067,19406.147000000001,0.608449074074074]
["2016-05-27","08 h 08",1070,null,220,20475.11,"27754:01:30",7.9630000000000001,19405.11,0.600405092592593]
["2016-05-28","08 h 20",1082,null,477,20487.550999999999,"27769:10:21",12.441000000000001,19405.550999999999,0.63114583333333296]
["2016-05-29","09 h 09",1093,null,302,20498.45,"27789:00:31",10.898999999999999,19405.45,0.82650462962963001]
["2016-05-30","08 h 25",1105,"Non Consommation  000007 Kwh",652,20509.473000000002,"27803:30:27",11.023,19404.473000000002,0.60412037037037003]
["2016-05-31","08 h 00",1119,null,119,20523.576000000001,"27818:00:20",14.103,19404.576000000001,0.60408564814814802]
["2016-06-01","08 h 21",1127,null,318,20531.197,"27833:32:39",7.6210000000000004,19404.197,0.64744212962962999]
["2016-06-02","08 h 37",1131,null,99,20534.969000000001,"27848:04:05",3.7719999999999998,19403.969000000001,0.60516203703703697]
["2016-06-03","08 h 37",1139,null,587,20542.885999999999,"27863:20:37",7.9169999999999998,19403.885999999999,0.63648148148148098]
["2016-06-04","07 h 45",1153,null,152,20555.999,"27877:45:01",13.113,19402.999,0.60027777777777802]
["2016-06-05","09 h 19",1166,null,522,20568.901999999998,"27894:33:41",12.903,{"$f":"F232-C232","v":19402.901999999998},0.70046296296296295]
["2016-06-06","08 h 27",1179,null,636,20580.828000000001,"27908:00:02",11.926,19401.828000000001,0.55996527777777805]
["2016-06-07","08 h 03",1191,null,81,20592.626,"27923:21:08",11.798,19401.626,0.63965277777777796]
["2016-06-08","08 h 23",1200,"Non Consommation  000007 Kwh",636,20601.994999999999,"27939:12:50",9.3689999999999998,19401.994999999999,0.66090277777777795]
["2016-06-09","08 h 31",1217,null,616,20618.361000000001,"27954:44:10",16.366,19401.361000000001,0.64675925925925903]
["2016-06-10","08 h 34",1233,null,320,20633.27,"27969:57:25",14.909000000000001,19400.27,0.63420138888888899]
["2016-06-11","09 h 41",1239,null,906,20639.776999999998,"27985:52:03",6.5069999999999997,19400.776999999998,0.66293981481481501]
["2016-06-12","09 h 45",1249,null,1022,20648.652999999998,"28000:58:20",8.8759999999999994,19399.652999999998,0.62936342592592598]
["2016-06-13","09 h 40",1259,null,500,20658.915000000001,"28016:03:25",10.262,19399.915000000001,0.62853009259259296]
["2016-06-14","09 h 03",1269,null,653,20668.187999999998,"28030:50:10",9.2729999999999997,19399.187999999998,0.61579861111111101]
["2016-06-15","08 h 52",1282,null,894,20680.742999999999,"28045:55:40",12.555,19398.742999999999,0.62881944444444404]
["2016-06-16","08 h 42",1296,null,882,20694.297999999999,"28060:12:17",13.555,19398.297999999999,0.59487268518518499]
["2016-06-17","09 h 25",1311,null,1668,20709.069,"28076:23:46",14.771000000000001,19398.069,0.67464120370370395]
["2016-06-18","08 h 39",1324,"Non Consommation  000007 Kwh",611,20721.575000000001,"28090:34:54",12.506,19397.575000000001,0.59106481481481499]
["2016-06-19","09 h 24",1339,null,1449,20735.850999999999,"28106:32:40",14.276,19396.850999999999,0.66511574074074098]
["2016-06-20","08 h 30",1349,null,623,20746.379000000001,"28121:02:46",10.528,19397.379000000001,0.60423611111111097]
["2016-06-21","08 h 37",1365,null,680,20761.191999999999,"28136:31:08",14.813000000000001,19396.191999999999,0.64469907407407401]
["2016-06-22","07 h 40",1381,null,109,20776.812000000002,"28151:07:01",15.62,19395.812000000002,0.60825231481481501]
["2016-06-23","08 h 46",1399,null,903,20793.782999999999,"28167:47:33",16.971,19394.782999999999,0.694814814814815]
["2016-06-24","08 h 29",1415,null,212,20809.448,"28182:51:59",15.664999999999999,19394.448,0.628078703703704]
["2016-06-25","10 h 07",1423,null,803,20817.791000000001,"28198:52:39",8.343,19394.791000000001,0.66712962962962996]
["2016-06-26","10 h 30",1432,null,1815,20826.465,"28213:54:25",8.6739999999999995,19394.465,0.62622685185185201]
["2016-06-27","08 h 16",1443,null,174,20837.117999999999,"28226:59:27",10.653,19394.117999999999,0.54516203703703703]
["2016-06-28","07 h 51",1460,"Non Consommation  000007 Kwh",166,20853.178,"28242:04:30",16.059999999999999,19393.178,0.62850694444444399]
["2016-06-29","08 h 13",1477,null,49,20869.627,"28257:28:59",16.449000000000002,19392.627,0.64200231481481496]
["2016-06-30","08 h 06",1485,null,56,20877.156999999999,"28272:02:58",7.53,19392.156999999999,0.60693287037037003]
["2016-07-01","09 h 03",1494,null,983,20886.113000000001,"28288:31:12",8.9559999999999995,19392.113000000001,0.68627314814814799]
["2016-07-02","08 h 52",1506,null,164,20897.61,"28303:10:20",11.497,19391.61,0.61050925925925903]
["2016-07-03","08 h 57",1512,null,721,20902.679,"28318:36:25",5.069,19390.679,0.64311342592592602]
["2016-07-04","09 h 07",1529,null,1160,20919.282999999999,"28334:12:12",16.603999999999999,19390.282999999999,0.64984953703703696]
["2016-07-05","09 h 00",1544,null,30,20933.846000000001,"28347:13:43",14.563000000000001,19389.846000000001,{"$f":"CDIFFTMPS(G262,G261)","v":0.54271990740740705}]
["2016-07-06","08 h 45",1554,null,207,20942.981,"28362:11:54",9.1349999999999998,19388.981,0.62373842592592599]
["2016-07-07","08 h 14",1569,null,384,20957.262999999999,"28376:54:31",14.282,19388.262999999999,0.61292824074074104]
["2016-07-08","08 h 01",1584,"Non Consommation  000007 Kwh",121,20971.942999999999,"28391:54:28",14.68,19387.942999999999,0.62496527777777799]
["2016-07-09","09 h 00",1597,null,152,20985.074000000001,"28407:44:05",13.131,19388.074000000001,0.65945601851851898]
["2016-07-10","09 h 35",1611,null,1596,20998.267,"28423:39:10",13.193,19387.267,0.66325231481481495]
["2016-07-11","09 h 30",1625,null,142,21012.127,"28437:53:21",13.86,19387.127,0.59318287037036999]
["2016-07-12","08 h 42",1630,null,72,21016.675999999999,"28437:53:21",4.5490000000000004,19386.675999999999,0]
["2016-07-13","08 h 58",1635,null,758,21020.937000000002,"28465:59:06",4.2610000000000001,19385.937000000002,1.1706597222222199]
["2016-07-14","09 h 48",1644,null,994,21030.075000000001,"28481:59:16",9.1379999999999999,19386.075000000001,0.66678240740740702]
["2016-07-15","08 h 36",1656,null,680,21041.31,"28496:02:50",11.234999999999999,19385.310000000001,0.58581018518518502]
["2016-07-16","09 h 33",1675,null,1780,21059.343000000001,"28512:14:11",18.033000000000001,19384.343000000001,0.67454861111111097]
["2016-07-17","09 h 02",1691,null,1089,21075.398000000001,"28526:56:44",16.055,19384.398000000001,0.61288194444444399]
["2016-07-18","08 h 08",1707,"Non Consommation  000007 Kwh",279,21090.686000000002,"28541:12:44",15.288,19383.686000000002,0.594444444444444]
["2016-07-19","13 h 34",1732,null,8443,21114.899000000001,"28561:47:58",24.213000000000001,19382.899000000001,0.85780092592592605]
["2016-07-20","09 h 26",1741,null,1019,21123.092000000001,"28572:45:34",8.1929999999999996,19382.092000000001,0.456666666666667]
["2016-07-21","08 h 28",1746,null,89,21128.103999999999,"28586:25:37",5.0119999999999996,19382.103999999999,0.56947916666666698]
["2016-07-22","10 h 42",1754,null,249,21136.306,"28607:45:50",8.202,19382.306,0.88903935185185201]
["2016-07-23","08 h 16",1762,null,48,21143.452000000001,"28614:01:49",7.1459999999999999,19381.452000000001,0.26109953703703698]
["2016-07-24","10 h 03",1774,null,2015,21155.481,"28630:43:26",12.029,19381.481,0.69556712962962997]
["2016-07-25","07 h 45",1789,null,27,21169.196,"28643:07:45",13.715,19380.196,0.51688657407407401]
["2016-07-26","08 h 56",1804,null,220,21184.297999999999,"28659:19:04",15.102,19380.297999999999,0.67452546296296301]
["2016-07-27","09 h 28",1816,null,552,21195.463,"28674:41:39",11.164999999999999,19379.463,0.64068287037036997]
["2016-07-28","09 h 11",1826,"Non Consommation  000007 Kwh",462,21205.599999999999,"28689:01:14",10.137,19379.599999999999,0.59693287037037002]
["2016-07-29","08 h 45",1840,null,626,21219.112000000001,"28703:27:32",13.512,19379.112000000001,0.60159722222222201]
["2016-07-30","10 h 20",1857,null,896,21235.003000000001,"28719:39:13",15.891,19378.003000000001,0.67478009259259297]
["2016-07-31","09 h 43",1868,null,255,21245.773000000001,"28733:16:27",10.77,19377.773000000001,0.56752314814814797]
["2016-08-01","08 h 44",1873,null,139,21250.571,"28746:44:08",4.798,19377.571,0.56089120370370404]
["2016-08-02","07 h 56",1884,"Non Consommation  000007 Kwh",70,21261.072,"28760:34:12",10.500999999999999,19377.072,0.576435185185185]
["2016-08-03","08 h 41",1900,null,483,21277.41,"28775:56:22",16.338000000000001,19377.41,0.640393518518518]
["2016-08-04","08 h 54",1916,null,342,21292.806,"28790:30:26",15.396000000000001,19376.806,0.606990740740741]
["2016-08-05","08 h 46",1925,null,536,21301.001,"28804:12:57",8.1950000000000003,19376.001,0.57119212962962995]
["2016-08-06","07 h 57 ",1938,null,33,21313.827000000001,"28817:50:04",12.826000000000001,19375.827000000001,0.56744212962963003]
["2016-08-07","09 h 16",1956,null,999,21330.768,"28833:37:02",16.940999999999999,19374.768,0.65761574074074103]
["2016-08-08","09 h 24",1973,null,1196,21347.038,"28848:15:23",16.27,19374.038,0.60996527777777798]
["2016-08-09","09 h 27",1988,null,193,21361.743999999999,"28862:25:15",14.706,19373.743999999999,0.59018518518518504]
["2016-08-10","09 h 17",1996,null,1019,21369.878000000001,"28876:12:44",8.1340000000000003,19373.878000000001,0.57464120370370397]
["2016-08-11","10 h 50",2014,null,3104,21386.813999999998,"28892:04:02",16.936,19372.813999999998,0.66062500000000002]
["2016-08-12","09 h 40",2028,"Non Consommation  000007 Kwh",1417,21400.571,"28905:11:11",13.757,19372.571,0.54663194444444396]
["2016-08-13","09 h 13",2044,null,881,21415.795999999998,"28919:00:06",15.225,19371.795999999998,0.57563657407407398]
["2016-08-14","10 h 45",2062,null,3040,21433.545999999998,"28934:44:50",17.75,19371.545999999998,0.65606481481481504]
["2016-08-15","08 h 45",2075,null,138,21445.893,"28946:36:32",12.347,19370.893,0.49423611111111099]
["2016-08-16","09 h 52",2091,null,643,21460.824000000001,"28962:05:59",14.930999999999999,19369.824000000001,0.64545138888888898]
["2016-08-17","08 h 49",2104,null,192,21473.66,"28974:56:11",12.836,19369.66,0.53486111111111101]
["2016-08-18","10 h 51",2111,null,507,21480.835999999999,"28990:13:19",7.1760000000000002,19369.835999999999,0.63689814814814805]
["2016-08-19","10 h 41",2118,null,2401,21487.68,"29003:53:34",6.8440000000000003,19369.68,0.569618055555556]
["2016-08-20","09 h 55",2130,null,20,21498.37,"29015:50:20",10.69,19368.37,0.49775462962963002]
["2016-08-21","09 h 17",2135,null,691,21503.05,"29028:57:28",4.68,19368.05,0.54662037037037003]
["2016-08-22","10 h 28",2148,"Non Consommation  000007 Kwh",2298,21516.341,"29043:59:57",13.291,19368.341,0.62672453703703701]
["2016-08-23","08 h 00",2162,null,12,21529.056,"29055:21:35",12.715,19367.056,0.47335648148148202]
["2016-08-24","09 h 04",2177,null,200,21544.031999999999,"29070:06:22",14.976000000000001,19367.031999999999,0.61443287037036998]
["2016-08-25","08 h 23",2191,null,72,21557.671999999999,"29083:09:40",13.64,19366.671999999999,0.54395833333333299]
["2016-08-26","10 h 15",2206,null,691,21572.444,"29098:30:45",14.772,19366.444,0.63964120370370403]
["2016-08-27","09 h 21",2217,null,544,21582.6,"29111:12:58",10.156000000000001,19365.599999999999,0.52931712962962996]
["2016-08-28","08 h 03",2230,null,13265,21595.313999999998,"29122:50:00",12.714,19365.313999999998,0.48405092592592602]
["2016-08-29","08 h 01",2235,null,4396,21599.71,"29135:25:08",4.3959999999999999,19364.71,0.524398148148148]
["2016-08-30","07 h 55 ",2240,null,7,21604.488000000001,"29148:24:44",4.7779999999999996,19364.488000000001,0.54138888888888903]
["2016-08-31","08 h 56",2254,null,94,21618.727999999999,"29162:53:22",14.24,19364.727999999999,0.603217592592593]
["2016-09-01","09 h 21",2269,"Non Consommation  000007 Kwh",447,21632.632000000001,"29176:28:17",13.904,19363.632000000001,0.56591435185185202]
["2016-09-02","10 h 11",2282,null,46,21645.82,"29189:22:11",13.188000000000001,19363.82,0.53743055555555597]
["2016-09-03","08 h 09",2297,null,28,21659.124,"29201:40:48",13.304,19362.124,0.51292824074074095]
["2016-09-04","08 h 59",2310,null,876,21672.216,"29216:40:48",13.092000000000001,19362.216,0.625]
["2016-09-05","09 h 27",2321,null,476,21683.026000000002,"29229:13:29",10.81,19362.026000000002,0.52269675925925896]
["2016-09-06","09 h 13",2333,null,197,21693.944,"29242:06:26",10.917999999999999,19360.944,0.53677083333333298]
["2016-09-07","08 h 27",2346,null,19,21707.252,"29254:26:35",13.308,19361.252,{"$f":"CDIFFTMPS(G326,G325)","v":0.51399305555555597}]
["2016-09-08",null,null,null,"Pas de relevé",null,"29254:26:35",null,null,0]
["2016-09-09","08 h 20",2365,"Non Consommation  000007 Kwh",63,21724.989000000001,"29279:55:43",{"$f":"F328-F326","v":17.736999999999998},{"$f":"F328-C328","v":19359.989000000001},1.06189814814815]
["2016-09-10","08 h 44",2377,null,81,21736.616999999998,"29292:45:34",{"$f":"F329-F328","v":11.628},19359.616999999998,0.53461805555555597]
["2016-09-11","09 h 03",2390,null,252,21749.155999999999,"29306:12:19",12.539,19359.155999999999,0.56024305555555598]
["2016-09-12","08 h 12",2403,null,11,21761.802,"29318:02:07",12.646000000000001,19358.802,0.492916666666667]
["2016-09-13","12 h 32",2422,null,4957,21779.26,"29335:08:04",17.457999999999998,19357.259999999998,0.71246527777777802]
["2016-09-14","09 h 42",2429,null,85,21786.463,"29344:20:55",7.2030000000000003,19357.463,0.38392361111111101]
["2016-09-15","08 h 25",2432,null,18,21789.8,"29355:39:12",3.3370000000000002,19357.8,0.47103009259259299]
["2016-09-16","08 h 24",2446,null,9,21803.258000000002,"29368:05:92",13.458,19357.258000000002,0.51898148148148104]
["2016-09-17","07 h 31",2456,null,0,21812.388999999999,"29379:31:39",9.1310000000000002,19356.388999999999,0.47577546296296302]
["2016-09-18","07 h 57",2464,null,0,21820.194,"29392:17:31",7.8049999999999997,19356.194,0.53185185185185202]
["2016-09-19","08 h 12",2470,"Non Consommation  000007 Kwh",6,21825.620999999999,"29404:54:04",5.4269999999999996,19355.620999999999,0.52538194444444397]
["2016-09-20","09 h 24",2479,null,33,21834.465,"29418:01:05",8.8439999999999994,19355.465,0.54653935185185198]
["2016-09-21","08 h 32",2485,null,29,21840.305,"29429:38:52",5.84,19355.305,0.48457175925925899]
["2016-09-22","08 h 36",2498,null,20,21852.653999999999,"29442:09:14",12.349,19354.653999999999,0.521087962962963]
["2016-09-23","08 h 05",2511,null,21,21865.097000000002,"29453:59:47",12.443,19354.097000000002,0.49343749999999997]
["2016-09-24",null,null,null,"Pas de relevé",null,"29453:59:47",null,null,0]
["2016-09-25","10 h 20",2534,null,801,21887.308000000001,"29480:54:04",{"$f":"F344-F342","v":22.210999999999999},{"$f":"F344-C344","v":19353.308000000001},1.12103009259259]
["2016-09-26","08 h 05",2537,null,3,21890.248,"29490:42:41",{"$f":"F345-F344","v":2.94},19353.248,0.40876157407407399]
["2016-09-27","12 h 42",2553,null,4883,21906.105,"29507:11:37",15.856999999999999,19353.105,0.68675925925925896]
["2016-09-28","12 h 34",2565,null,4744,21917.338,"29519:08:02",11.233000000000001,19352.338,0.49751157407407398]
["2016-09-29","08 h 48",2572,"Non Consommation  000007 Kwh",28,21924.674999999999,"29527:26:09",7.3369999999999997,19352.674999999999,0.34591435185185199]
["2016-09-30","10 h 54",2586,"Apres nettoyage des panneaux",1255,21938.098000000002,"29541:16:32",13.423,19352.098000000002,0.57665509259259295]
["2016-10-01","14 h 07",2599,null,2351,21950.044999999998,"29555:37:07",11.946999999999999,19351.044999999998,0.59762731481481501]
["2016-10-02","14 h 04",2604,null,3296,21955.713,"29567:21:14",5.6680000000000001,19351.713,0.48896990740740698]
["2016-10-03","09 h 24",2606,null,79,21957.541000000001,"29574:21:36",1.8280000000000001,19351.541000000001,0.29192129629629598]
["2016-10-04","09 h 02",2618,null,45,21968.959999999999,"29585:48:52",11.419,19350.96,0.47726851851851798]
["2016-10-05",null,null,null,"Pas de relevé",null,"29585:48:52",null,null,0]
["2016-10-06","08 h 55 ",2634,null,25,21983.780999999999,"29608:33:07",{"$f":"F355-F353","v":14.821},{"$f":"F355-C355","v":19349.780999999999},0.94739583333333299]
["2016-10-07","08 h 24",2640,null,14,21990.346000000001,"29619:50:18",{"$f":"F356-F355","v":6.5650000000000004},19350.346000000001,0.47026620370370398]
["2016-10-08","09 h 53",2649,null,180,21999.161,"29632:55:21",{"$f":"F357-F356","v":8.8149999999999995},19350.161,0.54517361111111096]
["2016-10-09","08 h 48",2656,"Non Consommation  000007 Kwh",2,22005.521000000001,"29643:09:50",{"$f":"F358-F357","v":6.36},19349.521000000001,0.426724537037037]
["2016-10-10"," 08 h 34",2663,null,50,22012.332999999999,"29655:15:11",{"$f":"F359-F358","v":6.8120000000000003},19349.332999999999,0.50371527777777803]
["2016-10-11","09 h 25",2675,null,29,22023.659,"29666:40:52",{"$f":"F360-F359","v":11.326000000000001},19348.659,0.47616898148148101]
["2016-10-12",null,null,null,"Pas de relevé",null,"29666:40:52",null,null,0]
["2016-10-13","09 h 19",2689,null,133,22036.912,"29689:00:28",{"$f":"F362-F360","v":13.253},{"$f":"F362-C362","v":19347.912},0.93027777777777798]
["2016-10-14","08 h 57",2697,null,2,22045.030999999999,"29699:26:11",{"$f":"F363-F362","v":8.1189999999999998},19348.030999999999,0.43452546296296302]
["2016-10-15","08 h 45",2699,null,8,22047.244999999999,"29710:26:14",2.214,19348.244999999999,0.45836805555555599]
["2016-10-16","15 h 56",2715,null,4736,22063.092000000001,"29728:45:04",15.847,19348.092000000001,0.76307870370370401]
["2016-10-17","09 h 24",2716,null,33,22063.738000000001,"29733:01:23",0.64600000000000002,19347.738000000001,0.177997685185185]
["2016-10-18","09 h 09",2720,null,18,22067.102999999999,"29743:37:42",3.3650000000000002,19347.102999999999,0.441886574074074]
["2016-10-19","09 h 58",2727,"Non Consommation  000007 Kwh",285,22073.985000000001,"29755:22:35",6.8819999999999997,19346.985000000001,0.48950231481481499]
["2016-10-20","13 h 00",2737,null,1112,22083.635999999999,"29768:57:02",9.6509999999999998,19346.635999999999,0.56559027777777804]
["2016-10-21","11 h 16",2746,null,7254,22092.345000000001,"29781:16:36",8.7089999999999996,19346.345000000001,0.51358796296296305]
["2016-10-22","09 h 50",2750,null,149,22096.226999999999,"29787:48:03",3.8820000000000001,19346.226999999999,0.27184027777777803]
["2016-10-23",null,null,null,"Pas de relevé",null,"29787:48:03",null,null,0]
["2016-10-24","09 h 26",2766,null,41,22112.102999999999,"29808:56:37",{"$f":"F373-F371","v":15.875999999999999},{"$f":"F373-C373","v":19346.102999999999},0.88094907407407397]
["2016-10-25","08 h 44",2772,null,6131,22118.102999999999,"29818:47:48",{"$f":"F374-F373","v":6},{"$f":"F374-C374","v":19346.102999999999},0.41054398148148102]
["2016-10-26",null,null,null,"Pas de relevé",null,"29818:47:48",null,null,0]
["2016-10-27","09 h 49",2781,null,51,22126.7,"29841:00:53",{"$f":"F376-F374","v":8.5969999999999995},{"$f":"F376-C376","v":19345.7},0.92575231481481501]
["2016-10-28","15 h 48",2793,null,7845,22138,"29857:41:44",{"$f":"F377-F376","v":11.3},{"$f":"F377-C377","v":19345},0.69503472222222196]
["2016-10-29","09 h 25",2795,"Non Consommation  000007 Kwh",19,22139.713,"29861:59:16",{"$f":"F378-F377","v":1.7130000000000001},{"$f":"F378-C378","v":19344.713},0.178842592592593]
["2016-10-30","13 h 34",2813,null,7070,22156.815999999999,"29877:45:37",{"$f":"F379-F378","v":17.103000000000002},{"$f":"F379-C379","v":19343.815999999999},0.65718750000000004]
["2016-10-31","09 h 06",2816,null,384,22159.823,"29883:51:38",{"$f":"F380-F379","v":3.0070000000000001},{"$f":"F380-C380","v":19343.823},0.25417824074074102]
["2016-11-01",null,null,null,"Pas de relevé",null,"29883:51:38",null,null,0]
["2016-11-02",null,null,null,"Pas de relevé",null,"29883:51:38",null,null,0]
["2016-11-03","09 h 02",2844,null,73,22187.48,"29915:02:12",{"$f":"F383-F380","v":27.657},{"$f":"F383-C383","v":19343.48},1.29900462962963]
["2016-11-04",null,null,null,"Pas de relevé",null,"29915:02:12",null,null,0]
["2016-11-05","08 h 45",2850,null,3666,22193.261999999999,"29934:48:18",{"$f":"F385-F383","v":5.782},{"$f":"F385-C385","v":19343.261999999999},0.82368055555555597]
["2016-11-06","16 h 30",2856,null,4197,22198.82,"29952:16:16",{"$f":"F386-F385","v":5.5579999999999998},19342.82,0.72775462962963]
["2016-11-07","09 h 17",2856,null,116,22198.958999999999,"29955:08:04",0.13900000000000001,19342.958999999999,0.119305555555556]
["2016-11-08","09 h 29",2860,"Non Consommation  000007 Kwh",241,22202.780999999999,"29965:27:48",3.8220000000000001,19342.780999999999,0.43037037037037001]
["2016-11-09","10 h 25",2864,null,445,22207.083999999999,"29976:13:40",4.3029999999999999,19343.083999999999,0.44851851851851798]
["2016-11-10","09 h 35",2867,null,91,22210,"29985:17:07",2.9159999999999999,19343,{"$f":"CDIFFTMPS(G390,G389)","v":0.37739583333333299}]
["2016-11-11","12 h 50",2871,null,1237,22213.591,"29998:01:17",3.5910000000000002,19342.591,0.53067129629629595]
["2016-11-12","08 h 44",2873,null,71,22215.464,"30003:41:15",1.873,19342.464,0.236087962962963]
["2016-11-13","15 h 52",2883,null,3161,22225.268,"30020:31:58",9.8040000000000003,19342.268,0.70188657407407395]
["2016-11-14","09 h 27",2883,null,113,22225.460999999999,"30023:36:49",0.193,19342.460999999999,0.128368055555556]
["2016-11-15","09 h 33",2889,null,186,22230.558000000001,"30033:30:40",5.0970000000000004,19341.558000000001,0.41239583333333302]
["2016-11-16","15 h 36",2892,null,1857,22234.258000000002,"30048:56:55",3.7,19342.258000000002,0.64322916666666696]
["2016-11-17","09 h 28",2892,null,219,22234.545999999998,"30052:33:40",0.28799999999999998,19342.545999999998,0.15052083333333299]
["2016-11-18","17 h 38",2901,"Non Consommation  000007 Kwh",1029,22242.787,"30070:02:10",8.2409999999999997,19341.787,0.72812500000000002]
["2016-11-19","08 h 41",2901,null,13,22242.799999999999,"30070:51:49",1.2999999999999999E-2,19341.8,3.44791666666667E-2]
["2016-11-20","09 h 25",2907,null,142,22248.649000000001,"30081:08:01",5.8490000000000002,19341.649000000001,0.427916666666667]
["2016-11-21",null,null,null,"Pas de relevé",null,"30081:08:01",null,null,0]
["2016-11-22","08 h 32",2915,null,14,22256.418000000001,"30099:02:10",{"$f":"F402-F400","v":7.7690000000000001},{"$f":"F402-C402","v":19341.418000000001},0.74593750000000003]
["2016-11-23","16 h 28",2917,null,466,22258.879000000001,"30115:09:29",{"$f":"F403-F402","v":2.4609999999999999},19341.879000000001,0.67174768518518502]
["2016-11-24","08 h 21",2917,null,3,22258.882000000001,"30115:57:25",3.0000000000000001E-3,19341.882000000001,3.3287037037036997E-2]
["2016-11-25","17 h 52",2928,null,6105,22269.174999999999,"30134:45:14",10.292999999999999,19341.174999999999,0.78320601851851901]
["2016-11-26","09 h 18",2928,null,75,22269.252,"30135:55:04",7.6999999999999999E-2,19341.252,4.8495370370370397E-2]
["2016-11-27","10 h 06",2931,null,327,22272.333999999999,"30146:06:33",3.0819999999999999,19341.333999999999,0.42464120370370401]
["2016-11-28","09 h 24",2936,"Non Consommation  000007 Kwh",61,22277.153999999999,"30154:52:34",4.82,19341.153999999999,0.36528935185185202]
["2016-11-29","09 h 55",2937,null,124,22278.228999999999,"30164:22:42",1.075,19341.228999999999,0.39592592592592601]
["2016-11-30","09 h 18",2938,null,57,22279.857,"30173:11:42",1.6279999999999999,19341.857,0.36736111111111103]
["2016-12-01","11 h 04",2948,null,1707,22288.995999999999,"30184:23:17",9.1389999999999993,19340.995999999999,0.46637731481481498]
["2016-12-02","13 h 02",2959,null,4657,22299.384999999998,"30195:46:55",10.388999999999999,19340.384999999998,0.47474537037037001]
["2016-12-03","09 h 19",2962,null,34,22302.281999999999,"30201:28:55",2.8969999999999998,19340.281999999999,0.23749999999999999]
["2016-12-04","10 h02",2970,null,342,22309.991000000002,"30211:33:49",7.7089999999999996,19339.991000000002,0.420069444444444]
["2016-12-05","13 h 03",2979,null,4298,22319.031999999999,"30223:52:40",9.0410000000000004,19340.031999999999,0.51309027777777805]
["2016-12-06","09 h 36",2982,null,80,22321.879000000001,"30229:52:21",2.847,19339.879000000001,0.24978009259259301]
["2016-12-07","12 h 34",2992,null,3243,22332.076000000001,"30242:07:09",10.196999999999999,19340.076000000001,0.51027777777777805]
["2016-12-08","08 h 59",2995,"Non Consommation  000007 Kwh",19,22334.385999999999,"30247:51:29",2.31,19339.385999999999,0.23912037037037001]
["2016-12-09","09 h 28",3002,null,87,22341.703000000001,"30257:33:00",7.3170000000000002,19339.703000000001,0.40383101851851799]
["2016-12-10","09 h 54",3009,null,237,22348.758000000002,"30267:18:58",7.0549999999999997,19339.758000000002,0.40692129629629598]
["2016-12-11",null,null,null,"Pas de relevé",null,"30267:18:58",null,null,0]
["2016-12-12","09 h 22",3023,null,51,22362.093000000001,"30285:14:40",{"$f":"F422-F420","v":13.335000000000001},{"$f":"F422-C422","v":19339.093000000001},0.74701388888888898]
["2016-12-13","09 h40",3030,null,137,22368.733,"30294:39:56",{"$f":"F423-F422","v":6.64},19338.733,0.392546296296296]
["2016-12-14","09 h 30",3037,null,58,22375.172999999999,"30303:45:36",{"$f":"F424-F423","v":6.44},19338.172999999999,0.37893518518518499]
["2016-12-15","09 h 17",3044,null,22,22382.137999999999,"30312:43:00",{"$f":"F425-F424","v":6.9649999999999999},19338.137999999999,0.373194444444444]
["2016-12-16","10 h 01",3049,null,76,22386.772000000001,"30322:22:07",{"$f":"F426-F425","v":4.6340000000000003},19337.772000000001,0.40216435185185201]
["2016-12-17","16h 57",3058,null,6369,22396.117999999999,"30338:29:17",{"$f":"F427-F426","v":9.3460000000000001},19338.117999999999,0.671643518518518]
["2016-12-18",null,null,null,"Pas de relevé",null,"30338:29:17",null,null,0]
["2016-12-19","09 h 44",3065,"Non Consommation  000007 Kwh",74,22402.93,"30349:36:00",{"$f":"F429-F427","v":6.8120000000000003},{"$f":"F429-C429","v":19337.93},0.46299768518518503]
["2016-12-20","09 h 30",3069,null,3,22406.281999999999,"30357:48:05",{"$f":"F430-F429","v":3.3519999999999999},19337.281999999999,0.34172453703703698]
["2016-12-21","10 h 24",3071,null,441,22408.482,"30367:25:02",2.2000000000000002,19337.482,0.40065972222222201]
["2016-12-22","09 h 24",3077,null,35,22415.030999999999,"30375:41:17",6.5490000000000004,19338.030999999999,0.34461805555555602]
["2016-12-23","13 h 32",3080,null,517,22417.332999999999,"30388:28:36",2.302,19337.332999999999,0.53285879629629596]
["2016-12-24","09 h 11",3080,null,32,22418.014999999999,"30393:05:00",0.68200000000000005,19338.014999999999,0.191944444444444]
["2016-12-25","09 h 47",3083,null,26,22420.368999999999,"30402:34:06",2.3540000000000001,19337.368999999999,0.395208333333333]
["2016-12-26","09 h 32",3084,null,1806,22422.148000000001,"30410:53:50",1.7789999999999999,19338.148000000001,0.34703703703703698]
["2016-12-27","09 h 43",3086,null,30,22423.355,"30419:42:10",1.2070000000000001,19337.355,0.36689814814814797]
["2016-12-28","10 h 00",3089,null,163,22427.279999999999,"30429:06:47",3.9249999999999998,19338.28,0.39209490740740699]
["2016-12-29","10 h 57",3098,"Non Consommation  000007 Kwh",1121,22435.508999999998,"30439:16:56",8.2289999999999992,19337.508999999998,0.42371527777777801]
["2016-12-30","17 h 49",3105,null,1020,22442.325000000001,"30454:40:20",6.8159999999999998,19337.325000000001,0.64124999999999999]
["2016-12-31","09 h 54",3105,null,61,22442.386999999999,"30456:02:13",6.2E-2,19337.386999999999,5.6863425925925901E-2]
["2017-01-01","10 h 34",3109,null,621,22445.927,"30465:59:07",3.54,19336.927,0.41451388888888901]
["2017-01-02","10 h 02",3112,null,56,22449.409,"30474:20:55",3.4820000000000002,19337.409,0.34847222222222202]