{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["facture","plomberie","prestation"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"facture","index":0,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"plomberie","index":1,"n_rows":231,"n_cols":12,"rows_kept":231,"cut":false,"hidden":false,"merged":[]}
["n° ","code article","Nom_prod  ","Description","Catégorie","Taille","Qté_stock"," Seuil _réappro","PUV ","RefFrn","PUA","Délai"]
[1,"WAVETBN44","tuyau pvc Ø 40 au ml","PVC 40","plomberie","Ml",3,1,0.57999999999999996,3,0.32]
[2,"NCLM2H","manchon pvc 40mm F/F ","PVC 40","plomberie","U",0,1,0.65,3,0.49]
[3,"NCLCH22","coude pvc 40mm 22°30 F/F","PVC 40","plomberie","U",0,2,2.75,3,2.06]
[4,"NCLCH2","coude pvc 40mm 22°30 M/F","PVC 40","plomberie","U",2,2,2.75,3,2.06]
[5,"NCLCH44","coude pvc 40mm 45° F/F","PVC 40","plomberie","U",16,2,1.4,3,1.05]
[6,"NCLCH4","coude pvc 40mm 45° M/F","PVC 40","plomberie","U",17,3,1.4,3,1.05]
[7,"NCLCH6","coude pvc 40mm 67° M/F","PVC 40","plomberie","U",1,3,2.87,3,2.15]
[8,"NCLCH66","coude pvc 40mm 67° F/F","PVC 40","plomberie","U",11,3,1.81,3,1.36]
[9,"NCLCH8","coude pvc 40mm 87° M/F","PVC 40","plomberie","U",14,3,1.57,3,1.18]
[10,"NCLCH88","coude pvc 40mm 87° F/F","PVC 40","plomberie","U",18,3,1.57,3,1.18]
[11,"NCLBH144","culotte Y pvc 40mm 45° F/F","PVC 40","plomberie","U",1,3,4.9400000000000004,3,3.71]
[12,"NCLBH14","culotte Y pvc 40mm 45° M/F","PVC 40","plomberie","U",2,3,4.9400000000000004,3,3.71]
[13,"NCLTH18","Té pied de biche pvc 40mm M/F","PVC 40","plomberie","U",0,3,4.9400000000000004,3,3.71]
[14,"NCLTH188","Té pied de biche pvc 40mm F/F","PVC 40","plomberie","U",8,3,4.91,3,3.71]
[15,"NCLFH","Bouchon pvc 40mm ","PVC 40","plomberie","U",0,3,1.1200000000000001,3,0.84]
[16,"NCLFLEXH","manchon souple pvc 40mm F/F","PVC 40","plomberie","U",0,2,10.61,3,7.96]
[17,"NCLFLEXHM","manchon souple pvc 40mmM/F","PVC 40","plomberie","U",0,2,10.61,3,7.96]
[18,"NCLFLEXJ","manchon souple pvc 50mm F/F","PVC 50","plomberie","U",0,2,13.56,3,10.17]
[19,"NCLFLEXJM","manchon souple pvc 50mm M/F","PVC 50","plomberie","U",0,2,13.56,3,10.17]
[20,"RPTSH","syphon machine à laver 40mm ","PVC 40","plomberie","U",0,2,8.5299999999999994,3,6.4,"immediat"]
[21,"NCLCM40","collier pvc pour tuyau 40 ","PVC 40","plomberie","U",5,2,1.58,3,1.19,"immediat"]
[22,"NCLMFA4","manchon adaptation Fpour bouchon Ø40","PVC 40","plomberie","U",0,null,2.38,null,1.78,"immediat"]
[23,"NCLMFA43","manchon adaptation Fpour bouchon Ø32","pvc 32","plomberie","U",0,null,2.38,null,1.78]
[24,"WAVETBN34","tuyau pvc Ø 32 au ml","pvc 32","plomberie","Ml",1,2,0.49,3,0.27,"immediat"]
[25,"NCLM2F","manchon pvc 32mm F/F ","pvc 32","plomberie","U",1,2,0.55000000000000004,3,0.41,"immediat"]
[26,"NCLCF44","coude pvc 32mm 45° F/F","pvc 32","plomberie","U",1,2,0.97,3,0.73,"immediat"]
[27,"NCLCF4","coude pvc 32mm 45° M/F","pvc 32","plomberie","U",6,2,0.97,3,0.73,"immediat"]
[28,"NCLCF6","coude pvc 32mm 67° M/F","pvc 32","plomberie","U",2,2,2,3,1.5,"immediat"]
[29,"NCLCF66","coude pvc 32mm 67° F/F","pvc 32","plomberie","U",0,2,2,3,1.5,"immediat"]
[30,"NCLCF88","coude pvc 32mm 87° M/F","pvc 32","plomberie","U",4,2,1.1599999999999999,3,0.87,"immediat"]
[31,"NCLCF8","coude pvc 32mm 87° F/F","pvc 32","plomberie","U",5,2,1.1599999999999999,3,0.87,"immediat"]
[32,"NCLBF14","Y pvc 32mm 45° F/F","pvc 32","plomberie","U",0,2,3.08,3,2.31,"immediat"]
[33,"NCLBF144","Y pvc 32mm 45° M/F","pvc 32","plomberie","U",1,2,1.94,3,1.46,"immediat"]
[34,"NCLBF16","Té pied de biche pvc 32mm M/F","pvc 32","plomberie","U",5,2,3.24,3,2.4300000000000002,"immediat"]
[35,"NCLBF166","Té pied de biche pvc 32mm F/F","pvc 32","plomberie","U",2,2,3.24,3,2.4300000000000002,"immediat"]
[36,"NCLFF","Bouchon pvc 32mm ","pvc 32","plomberie","U",1,2,1.05,3,0.79,"immediat"]
[37,"NCLFLEXF","manchon souple 32mm F/F","pvc 32","plomberie","U",0,null,8.89,null,6.67]
[38,"NCLFLEXFM","manchon souple 32mm F/M","pvc 32","plomberie","U",0,null,8.89,null,6.67]
[39,"NCLCM32","collier pvc pour tuyau 32","pvc 32","plomberie","U",6,2,1.44,3,1.08,"immediat"]
[40,"NCLIH","réduction F32-M40","reduction","plomberie","U",7,2,0.96,3,0.72,"immediat"]
[41,"NCLIJF","réduction M50-F32","reduction","plomberie","U",0,2,1.96,3,1.42,"immediat"]
[42,"NCLIJ","réduction M50-F40","reduction","plomberie","U",0,2,1.17,3,0.87,"immediat"]
[43,"GUR19193","Flexible gaz butane/propane illimitée,longueur 1,00ml","flexibles","plomberie","U",0,2,66.78,3,46.75,"immediat"]
[44,"GUR19194","Flexible gaz butane/propane illimitée,longueur 1,25ml","flexibles","plomberie","U",1,null,83.31,null,58.32]
[45,"GUR19195","Flexible gaz butane/propane illimitée,longueur 1,50ml","flexibles","plomberie","U",2,2,82.94,3,58.06,"immediat"]
[46,"GUR19196","Flexible gaz butane/propane illimitée,longueur 2.00ml","flexibles","plomberie","U",0,2,99.86,3,69.900000000000006,"immediat"]
[47,"GUR18511","tuyau gaz naturel sans date de validité 0,50m","flexibles","plomberie","U",0,2,58.09,3,40.659999999999997,"immediat"]
[48,"GUR18512","tuyau gaz naturel sans date de validité 0,75m","flexibles","plomberie","U",0,2,60.14,3,42.09,"immediat"]
[49,"GUR18513","tuyau gaz naturel sans date de validité 1m","flexibles","plomberie","U",3,2,66.78,3,46.75,"immediat"]
[50,"GUR18514","tuyau gaz naturel sans date de validité 1,25m","flexibles","plomberie","U",0,2,76.73,3,53.7,"immediat"]
[51,"GUR18515","tuyau gaz naturel sans date de validité 1,50m","flexibles","plomberie","U",4,2,82.95,3,58.06,"immediat"]
[52,"GUR18516","tuyau gaz naturel sans date de validité 2m","flexibles","plomberie","U",1,2,98.29,3,68.790000000000006,"immediat"]
[53,"SHE1985-01L","flexible sanitaire MF 15/21- 50 cm","flexibles","plomberie","U",0,2,3.91,3,3.32,"immediat"]
[54,"SHE1985-16L","flexible sanitaire MF 12/17-30 cm","flexibles","plomberie","U",0,2,3.06,3,2.62,"immediat"]
[55,"SHE1985-17L","flexible sanitaire FF 12/17-30 cm","flexibles","plomberie","U",2,2,3.12,3,2.65,"immediat"]
[56,"SHE1985-22L","flexible sanitaire FF 15/21 -50 cm","flexibles","plomberie","U",0,2,4.46,3,3.79,"immediat"]
[57,"SHE1985-23L","flexible sanitaire FF 15/21 - 1 m","flexibles","plomberie","U",0,2,9.6999999999999993,3,8.25,"immediat"]
[58," SHE1985-30L","flexible sanitaire FF 20/27 -50 cm","flexibles","plomberie","U",0,2,8.32,3,7.06,"immediat"]
[59,"SHE1985-31L","flexible sanitaire FF 20/27 - 1 m","flexibles","plomberie","U",0,2,11.77,3,10,"immediat"]
[60,"SHE 1985-32L","flexible sanitaire FF 12/17- 1m","flexibles","plomberie","U",0,2,11.81,3,10.039999999999999,"immediat"]
[61,"SHE1985-34L","flexible sanitaire F12/17 M12/17 - 50 cm","flexibles","plomberie","U",0,2,6.86,3,5.83,"immediat"]
[62,"SHE1985-33L","flexible sanitaire FF 15/21 - 80 cm","flexibles","plomberie","U",0,2,6.65,3,5.65,"immediat"]
[63,"SHE1985-35L","flexible sanitaire F12/17 M15/21- 30 cm","flexibles","plomberie","U",0,2,4.95,3,4.21,"immediat"]
[64,"SHE1985-36L","flexible sanitaire F12/17 M15/21- 50 cm","flexibles","plomberie","U",0,2,7.73,3,6.57,"immediat"]
[65,"SHE1985-37L","flexible sanitaire F15/21 M12/17 -30 cm","flexibles","plomberie","U",1,2,5.91,3,5.03,"immediat"]
[66,"SHE1985-38L","flexible sanitaire F15/21 M12/17 -50 cm","flexibles","plomberie","U",0,2,8.42,3,7.15,"immediat"]
[67,"SHE 1985-49L","flexible sanitaire FF 15/21 - 30 cm","flexibles","plomberie","U",0,2,8.73,3,7.42,"immediat"]
[68,"SHE1985-52L","flexible sanitaire FF 15/21 -1 m","flexibles","plomberie","U",0,2,16.760000000000002,3,14.25,"immediat"]
[69,"SHE1985-69L","flexible sanitaire FF 12/17-15 cm","flexibles","plomberie","U",0,2,6.24,3,5.3,"immediat"]
[70,"SHE1985-71L","flexible sanitaire FF 15/21-15 cm","flexibles","plomberie","U",0,2,3.62,3,3.07,"immediat"]
[71,"SHE1985-72L","flexible sanitaire MF 12/17-15 cm","flexibles","plomberie","U",14,2,3.67,3,3.12,"immediat"]
[72,"SHE1985-73L","flexible sanitaire MF 15/21- 15 cm","flexibles","plomberie","U",0,2,3.21,3,2.72,"immediat"]
[73,"SHE 1985-74L","flexible F/F 15/21- 30cm","flexibles","plomberie","U",0,2,4.2300000000000004,3,3.6,"immediat"]
[74,"pou","flexible F/bicône12/17-TC12mm 30cm ","flexibles","plomberie","U",0,2,null,3,null,"immediat"]
[75,"pou","flexible M/bicône12/17-TC12mm 30cm ","flexibles","plomberie","U",0,2,null,3,null,"immediat"]
[76,"pou","flexible F/bicône15/21-TC12mm 30cm ","flexibles","plomberie","U",0,2,null,3,null,"immediat"]
[77,"pou","tuyau machine à laver droit 1,50 m","flexibles","plomberie","U",0,1,null,3,null,"immediat"]
[78,"CMPE211084001","mamelons réduits M/M 12/17-15/21","metal divers","plomberie","U",2,2,1.84,3,1.01,"immediat"]
[79,"CMPE211087001","mamelons réduits M/M 15/21-20/27","metal divers","plomberie","U",0,2,2.64,3,1.45,"immediat"]
[80,"CMPE122004001","mamelons réduits F/F 12/17-15/21","metal divers","plomberie","U",0,2,2.63,null,1.45]
[81,"CMPE211108001","mamelon reduits 20/27F - 15/21 M","metal divers","plomberie","U",0,2,3.02,3,1.66,"immediat"]
[82,"CMPE211105001","réduction  15/21F - 12/17M","metal divers","plomberie","U",1,2,1.85,3,1.02,"immediat"]
[83,"CMPE211074001","réduction M/F 15/21 ","metal divers","plomberie","U",1,2,1.85,3,1.02]
[84,"CMPE211021001","réduction M/F 12/17","metal divers","plomberie","U",0,2,1.85,3,1.02]
[85,"CMP1616","coude 90° M/M 12/17","metal divers","plomberie","U",0,2,3.07,3,1.69]
[86,"CMP1617","coude 90° M/M 15/21","metal divers","plomberie","U",0,2,3.55,3,1.95]
[87,"CMPE212004001","coude 90°F/F 12/17","metal divers","plomberie","U",0,2,3.33,3,1.83,"immediat"]
[88,"CMP1625","coude 90° F/F 15/21","metal divers","plomberie","U",0,2,3.02,3,1.66,"immediat"]
[89,"CMPE212020001\n","coude 90° M/F 12/17","metal divers","plomberie","U",0,2,4.28,3,2.35,"immediat"]
[90,"CMP1633","coude 90° M/F 15/21","metal divers","plomberie","U",0,2,3.72,3,2.0499999999999998,"immediat"]
[91,"CMPE212033001","té égal F 12/17","metal divers","plomberie","U",0,2,4.6500000000000004,3,2.56,"immediat"]
[92,"CMP1607","té égal F 15/21","metal divers","plomberie","U",1,2,3.55,3,1.95,"immediat"]
[93,"CMPE212040001","té égal M 12/17","metal divers","plomberie","U",6,2,3.63,3,2,"immediat"]
[94,"CMP1598","té égal M 15/21","metal divers","plomberie","U",0,2,3.46,3,1.9,"immediat"]
[95,"CMP8514010","TE BIC pour  TC 10","metal divers","plomberie","U",0,2,8.8000000000000007,null,4.84]
[96,"CMP8514012","TE BIC pour  TC 12","metal divers","plomberie","U",2,2,7.1,3,3.9,"immediat"]
[97,"CMP8514014","TE BIC  pour TC 14","metal divers","plomberie","U",3,2,11.38,3,6.26,"immediat"]
[98,"CMP8514016","TE BIC pour  TC 16","metal divers","plomberie","U",0,2,12.16,3,6.69,"immediat"]
[99,"CMP8514018","TE BIC pour  TC 18","metal divers","plomberie","U",0,2,20.52,null,11.28]
[100,"CMP8500032","raccord bic M 10 12/17","metal divers","plomberie","U",0,2,3.41,3,1.87,"immediat"]
[101,"CMP8501032","raccord bic F 10 12/17","metal divers","plomberie","U",0,2,3.14,null,1.73]
[102,"CMP8500042","raccord bic M 10 15/21","metal divers","plomberie","U",0,2,4.37,null,2.4]
[103,"CMP8501042","raccord bic F 10 15/21","metal divers","plomberie","U",0,2,4.37,null,2.4]
[104,"CMP8500033","raccord bic M 12 12/17","metal divers","plomberie","U",9,2,2.86,3,1.59,"immediat"]
[105,"CMP8501033","raccord bic F 12 12/17","metal divers","plomberie","U",0,2,3.14,null,1.73]
[106,"CMP8501043","raccord bic F 12 15/21","metal divers","plomberie","U",0,2,4.07,null,2.2400000000000002,"immediat"]
[107,"CMP8500043","raccord bic M 12 15/21","metal divers","plomberie","U",1,2,3.85,3,2.12,"immediat"]
[108,"CMP8500034","raccord bic M 14 12/17","metal divers","plomberie","U",6,2,5.42,3,2.98,"immediat"]
[109,"CMP8501034","raccord bic F 14 12/17","metal divers","plomberie","U",1,2,5.23,null,2.88]
[110,"CMP8500044","raccord bic M 14 15/21","metal divers","plomberie","U",0,2,3.71,3,2.04,"immediat"]
[111,"CMP8501044","raccord bic F 14 15/21","metal divers","plomberie","U",2,2,4.37,null,2.4]
[112,"CMP8500046","raccord bic M 16 15/21","metal divers","plomberie","U",1,2,4.5999999999999996,3,2.5299999999999998,"immediat"]
[113,"CMP8501046","raccord bic F 16 15/21","metal divers","plomberie","U",0,2,4.8099999999999996,null,2.65]
[114,"CMP8501047","raccord bic F 18 15/21","metal divers","plomberie","U",0,2,11.16,null,6.14]
[115,"CMP8500047","raccord bic M 18 15/21","metal divers","plomberie","U",0,2,11.16,null,6.14]
[116,"CMP8500067","raccord bic M 18 20/27","metal divers","plomberie","U",0,2,8.6999999999999993,3,4.79,"immediat"]
[117,"CMP8501067","raccord bic F 18 20/27","metal divers","plomberie","U",0,2,8.6999999999999993,3,4.79]
[118,"CMPE122030001","manchon 12/17 F/F à butée ","metal divers","plomberie","U",1,2,3.2,3,1.76,"immediat"]
[119,"CMPE211131001","manchon 15/21 F/F à butée","metal divers","plomberie","U",11,2,3.72,3,2.0499999999999998,"immediat"]
[120,"CMPE211139001","mamelons égaux 12/17 M/M","metal divers","plomberie","U",7,2,1.07,3,0.6,"immediat"]
[121,"CMPE211140001","mamelons égaux 15/21 M/M","metal divers","plomberie","U",4,2,1.42,3,0.79,"immediat"]
[122,"CMPE211141001","mamelons égaux 20/27 M/M","metal divers","plomberie","U",0,2,2.13,3,1.17,"immediat"]
[123,"CMPE122040001","bouchon M 12/17","metal divers","plomberie","U",0,2,0.92,3,0.51,"immediat"]
[124,"CMPE211158001","bouchon M 15/21","metal divers","plomberie","U",0,2,1.49,3,0.82,"immediat"]
[125,"CMPE211160001","bouchon M 20/27","metal divers","plomberie","U",0,2,2.4300000000000002,3,1.34,"immediat"]
[126,"CMPE211167001","bouchon F 12/17","metal divers","plomberie","U",0,2,0.96,3,0.53,"immediat"]
[127,"CMPE211168001","bouchon F 15/21","metal divers","plomberie","U",0,2,1.34,3,0.74,"immediat"]
[128,"DU711690","bouchon F 20/27","metal divers","plomberie","U",0,2,2.59,3,1.94,"immediat"]
[129,"PMC039030","rallonge de fixation collier des tuyaux7X150 50mm","metal divers","plomberie","U",2,2,0.52,3,0.39,"immediat"]
[130,"PMC039040","rallonge de fixation collier des tuyaux7X150 40mm","metal divers","plomberie","U",16,2,0.42,null,0.28999999999999998,"immediat"]
[131,"PMC039020","rallonge de fixation collier des tuyaux7X150 20mm","metal divers","plomberie","U",41,2,0.28000000000000003,3,0.21,"immediat"]
[132,"PMC007032","collier  de fixation pour tuyau PER  Ø 28","metal divers","plomberie","U",0,2,0.41,3,0.3,"immediat"]
[133,"PMC007116","collier double iso phonique Ø12","metal divers","plomberie","U",8,2,0.2,3,0.14000000000000001,"immediat"]
[134,"PMC007016","collier simple iso phonique Ø12","metal divers","plomberie","U",56,2,0.27,3,0.2,"immediat"]
[135,"PMC007128","collier double Ø22","metal divers","plomberie","U",33,2,0.64,3,0.51,"immediat"]
[136,"PMC007048","collier simple Ø40","metal divers","plomberie","U",10,2,0.55000000000000004,3,0.42,"immediat"]
[137,"pou","patte à vis filetée Ø5","metal divers","plomberie","U",9,2,0.25,3,0.17,"immediat"]
[138,"CMP1792","applique chromée nue","metal divers","plomberie","U",0,2,7.06,3,3.89,"immediat"]
[139,"FBD1220025","joints CNK bleu 12/17","collier_joint","plomberie","U",0,2,0.25,3,0.19,"immediat"]
[140,"FBD1220032","joints CNK bleu 15/21","collier_joint","plomberie","U",0,2,0.28999999999999998,3,0.22,"immediat"]
[141,"FBD1220056","joints CNK bleu 20/27","collier_joint","plomberie","U",0,2,0.51,3,0.38,"immediat"]
[142,"BIZ400058","patte à vis filetée Ø6 x 50","collier_joint","plomberie","U",9,2,0.21,3,0.15,"immediat"]
[143,"PMC011130","patte vis à bois 7X150 30","collier_joint","plomberie","U",22,2,6.2E-2,3,4.5999999999999999E-2,"immediat"]
[144,"PMC011150","patte à vis bois 7x150 40","collier_joint","plomberie","U",30,2,6.4000000000000001E-2,3,4.8000000000000001E-2,"immediat"]
[145,"PMC008809","rosace écartement 9","collier_joint","plomberie","U",7,2,6.7000000000000004E-2,3,0.05,"immediat"]
[146,"PMC008814","rosace écartement 14","collier_joint","plomberie","U",3,2,8.3000000000000004E-2,3,6.2E-2,"immediat"]
[147,"PMC008819","rosace écartement 19","collier_joint","plomberie","U",0,2,0.17,3,0.13,"immediat"]
[148,"PMC008824","rosace écartement 24","collier_joint","plomberie","U",0,2,0.2,3,0.15,"immediat"]
[149,"WAVETBN124","tuyau pvc Ø 125 au ml","PVC 125","plomberie","U",0,2,2.4975000000000001,3,1.375,"immediat"]
[150,"WAVETBN104","tuyau pvc Ø 100 au ml","PVC 100","plomberie","U",0,2,1.1525000000000001,3,0.63500000000000001,"immediat"]
[151,"NCL1DEAFLEX","sortie wc souple 400MM D:100/93","PVC 100","plomberie","U",0,2,53.72,3,40.29,"immediat"]
[152,"NCL1PIPUNIC","sortie wc coudée longue de 100","PVC 100","plomberie","U",0,2,13.52,3,10.14,"immediat"]
[153,"NCL1QW33","sortie wc droite de 100","PVC 100","plomberie","U",0,2,8.56,3,6.42,"immediat"]
[154,"NCLTT4","manchon reduction pour tube MF Ø 93/40","PVC 100","plomberie","U",0,2,9.3000000000000007,3,6.97,"immediat"]
[155,"NCLTT44","manchon reduction pour tube MF Ø 93,6/40/40 pour tube 100","PVC 100","plomberie","U",0,2,9.3000000000000007,3,6.97,"immediat"]
[156,"NCLCT88","coude pvc 100 F/F à 87°","PVC 100","plomberie","U",0,2,7.96,3,5.97,"immediat"]
[157,"NCLCT8","coude pvc 100 M/F à 87°","PVC 100","plomberie","U",0,2,7.17,3,5.38,"immediat"]
[158,"NCLCT4","coude pvc 100 M/Fà 45°","PVC 100","plomberie","U",0,2,6.28,3,4.71,"immediat"]
[159,"NCLCT44","coude pvc 100 F/Fà 45°","PVC 100","plomberie","U",0,2,7.56,3,5.67,"immediat"]
[160,"NCLCT6","coude pvc 100 F/Fà 67°","PVC 100","plomberie","U",0,2,6.64,3,4.9800000000000004,"immediat"]
[161,"NCLCT66","coude pvc 100 M/Fà 67°","PVC 100","plomberie","U",0,2,8.2200000000000006,3,6.17,"immediat"]
[162,"NCLCT3","coude simple MF 30' D.100","PVC 100","plomberie","U",0,2,15.8,3,11.85,"immediat"]
[163,"NCLCT33","coude simple FF 30' D.100","PVC 100","plomberie","U",0,2,18.05,3,13.53,"immediat"]
[164,"NCLCT2","coude simple MF 20' D.100","PVC 100","plomberie","U",0,2,7.5,3,5.62,"immediat"]
[165,"NCLCT22","coude simple FF 20' D.100","PVC 100","plomberie","U",0,2,9.34,3,7,"immediat"]
[166,"NCLBT188","culotte Y pvc100mm 87°30 F/F","PVC 100","plomberie","U",0,2,10.89,3,8.17,"immediat"]
[167,"NCLBT18","culotte Y pvc100mm 87°30 M/F","PVC 100","plomberie","U",0,1,9.02,3,6.76,"immediat"]
[168,"NCLBT144","culotte Y pvc100mm 45° F/F","PVC 100","plomberie","u",0,1,10.89,3,8.17,"immediat"]
[169,"NCLBT14","culotte Y pvc100mm 45° F/F","PVC 100","plomberie","U",0,2,9.02,3,6.76,"immediat"]
[170,"NCLSL104","selle de branchement à 90 Ø100 / 40","PVC 100","plomberie","U",0,2,6.97,3,5.23,"immediat"]
[171,"NCLSL105","selle de branchement à 90 Ø100 / 50","PVC 100","plomberie","U",0,2,7.05,3,5.29,"immediat"]
[172,"NCLM2T","manchon pvc 100","PVC 100","plomberie","U",1,2,3.05,3,2.29,"immediat"]
[173,"NCLCOT","collier pour fixation tuyau 100","PVC 100","plomberie","U",7,null,4.25,null,2.95,"immediat"]
[174,"NCLCT6","coude pvc 100 F/Fà 67°","PVC 100","plomberie","U",0,2,6.64,3,4.9800000000000004,"immediat"]
[175,"NCLCT66","coude pvc 100 F/Fà 67°","PVC 100","plomberie","U",0,2,8.2200000000000006,3,6.17,"immediat"]
[176,"NCLT5","tampon de réduction MF Ø 100/50","PVC 100","plomberie","U",0,2,9.3000000000000007,3,6.97,"immediat"]
[177,"NCLTT5","tampon reduction pour tube MF Ø 93,6/50 ","PVC 100","plomberie","U",0,2,9.3000000000000007,3,6.97,"immediat"]
[178,"NCLR4","tampon de réduction Ø 80 →Ø 40","PVC 80","plomberie","U",0,2,3.63,3,2.72,"immediat"]
[179,"NCLM2R","manchon a butée F/F Ø80","PVC 80","plomberie","U",0,1,2.38,3,1.78,"immediat"]
[180,"NCLM2P","manchon a butée F/F Ø75","PVC 75","plomberie","U",0,1,3.74,null,2.81]
[181,"WAVETBN64","tuyau evacuation Ø 63 x 4,3 AU ml","PVC 63","plomberie","U",0,2,1.2549999999999999,3,0.69,"immediat"]
[182,"NCLBT14","culotte M/F 45° Ø63","PVC 63","plomberie","U",0,1,9.02,3,6.76,"immediat"]
[183,"NCLBT16","culotte M/F 67°30 Ø63","PVC 63","plomberie","U",0,1,9.8000000000000007,3,7.35,"immediat"]
[184,"NCLM2L","manchon a butée F/F Ø63","PVC 63","plomberie","Ml",1,1,3.92,3,2.94,"immediat"]
[185,"NCLL4","tampon de réduction Ø 63 -Ø 40","PVC 63","plomberie","U",0,2,7.37,3,5.53,"immediat"]
[186,"NCLCL2","coude F/F 20° Ø63","PVC 63","plomberie","U",0,1,7.09,3,5.32,"immediat"]
[187,"NCLCL22","coude M/F 20° Ø63","PVC 63","plomberie","U",0,1,8.41,null,6.31]
[188,"NCLCL4","coude M/F 45° Ø63","PVC 63","plomberie","U",0,1,6.28,null,4.71]
[189,"NCLCL44","coude F/F 67° 30 Ø63","PVC 63","plomberie","U",0,1,6.58,null,4.93]
[190,"NCLCL6","coude F/F 45° Ø63","PVC 63","plomberie","U",0,1,4.9000000000000004,null,3.68]
[191,"NCLCL66","coude F/F 67°30  Ø63","PVC 63","plomberie","U",0,1,4.9000000000000004,null,3.68]
[192,"NCLCJ8","coude simple M/F 87°30 Ø 50","PVC 50","plomberie","U",0,1,3.01,null,2.2599999999999998]
[193,"NCLCJ88","coude simple F/F 87°30 Ø 50","PVC 50","plomberie","U",0,1,3.01,null,2.2599999999999998]
[194,"WAVETBN54","tuyau evacuation Ø 50 x 4,3 au ml","PVC 50","plomberie","U",0,1,1.04,3,0.3175,"immediat"]
[195,"NCLM2J","manchon a butée F/F Ø50","PVC 50","plomberie","U",0,1,1.17,null,0.88]
[196,"NCLGOTB","grille évacuation hotte blanche","hotte","plomberie","U",0,2,32.18,3,24.15,"immediat"]
[197,"NCLGOTS","grille évacuation hotte sable","hotte","plomberie","U",0,2,22.64,3,16.98,"immediat"]
[198,"pou","tuyau alu semi rigide pour hotte Ø152","hotte","plomberie","Ml",0,2,null,3,null,"immediat"]
[199,"pou","collier pour gaine alu","hotte","plomberie","U",0,2,null,3,null,"immediat"]
[200,"pou","tuyau alu semi rigide pour hotte  Ø 125","hotte","plomberie","Ml",0,2,null,3,null,"immediat"]
[201,"GF26302439","colle pvc liquide","colle","plomberie","U",0,2,10.76,3,8.07,"immediat"]
[202,"CMP4294","coude PER 16 à écrou libre 15/21","PER16","plomberie","U",0,2,13.25,3,0,"immediat"]
[203,"CMPB621001001","PER 16 bleu pour eau froide au ml","PER16","plomberie","Ml",0,2,1.42,3,0.77,"immediat"]
[204,"CMPB622001002","PER 16 rouge pour eau chaude au ml ","PER16","plomberie","Ml",0,2,1.42,3,0.77,"immediat"]
[205,"CMP4288","embase PER 16 de robinet","PER16","plomberie","U",0,2,7.43,3,4.09,"immediat"]
[206,"CMP4322","raccord de liaison Per 16","PER16","plomberie","U",1,1,4.0999999999999996,3,2.56,"immediat"]
[207,"CMP4263","raccord PER 16 vers 15/21 ecrou libre","PER16","plomberie","U",1,2,2.69,3,1.48,"immediat"]
[208,"CMP4262","raccord PER 16 vers 12/17 ecrou libre","PER16","plomberie","U",0,2,3.44,3,1.48,"immediat"]
[209,"CMP4271","raccord PER 16 en 12/17 M","PER16","plomberie","U",1,2,3.06,3,1.69,"immediat"]
[210,"CMP4297","té égal pour PER 16","PER16","plomberie","U",6,2,8.16,3,4.49,"immediat"]
[211,"CMP4331","coude égal PER 16","PER16","plomberie","U",10,2,6.06,3,3.33,"immediat"]
[212,"CMP4272","raccord PER 16 en 15/21 M","PER16","plomberie","U",0,2,3.52,3,1.94,"immediat"]
[213,"CMP4342","coude PER 16 vers 12/17 M","PER16","plomberie","U",0,2,7.43,3,3.98,"immediat"]
[214,"CMP4301","té réduit 12-12-16","PER12","plomberie","U",2,2,10.44,3,6.55,"immediat"]
[215,"CMP4302","té réduit 12-16-16","PER12","plomberie","U",0,2,9.65,3,3.54,"immediat"]
[216,"CMP4270","raccord PER 12 en 15/21 M","PER12","plomberie","U",0,2,2.74,3,1.51,"immediat"]
[217,"CMP4287","embase PER 12 de robinet machine a laver","PER12","plomberie","U",5,2,7.82,3,4.3,"immediat"]
[218,"CMP4290","embase longue  PER 12 de robinet machine a laver","PER12","plomberie","U",0,2,7.82,3,4.3]
[219,"CMP2457","robinet machine à  laver ","PER12","plomberie","U",5,2,9.48,3,5.23,"immediat"]
[220,"CMP4269","raccord PER 12 en 12/17 M","PER12","plomberie","U",9,2,2.79,3,1.54,"immediat"]
[221,"CMP4260","raccord PER 12 vers 12/17 ecrou libre","PER12","plomberie","U",8,2,2.67,3,1.47,"immediat"]
[222,"CMP4261","raccord PER 12 vers 15/21 ecrou libre","PER12","plomberie","U",7,2,2.67,3,1.47,"immediat"]
[223,"CMP4296","té égal pour PER 12","PER12","plomberie","U",14,2,8.8699999999999992,3,4.88,"immediat"]
[224,"CMP4346","té  pour PER 12 vers 15/21M","PER12","plomberie","U",0,2,8.8699999999999992,3,4.88,"immediat"]
[225,"CMP4321","liaison 2 PER 12","PER12","plomberie","U",14,2,4.26,3,2.35,"immediat"]
[226,"CMP4330","coude égal PER 12","PER12","plomberie","U",9,2,7.1,3,3.9,"immediat"]
[227,"CMPB621004001","PER rouge Ø 12 eau chaude au ml ","PER12","plomberie","Ml",35,2,1.06,3,0.57999999999999996,"immediat"]
[228,"CMPB622004001","PER bleu Ø 12 eau froide au ml ","PER12","plomberie","Ml",15,2,1.06,3,0.57999999999999996,"immediat"]
[229,"CMP4340","coude  PER 12 vers 12/17 M","PER12","plomberie","U",1,2,1.06,3,0.57999999999999996,"immediat"]
[230,"CMP4341","coude  PER 12 vers 15/21 M","PER12","plomberie","U",0,2,1.06,3,0.57999999999999996,"immediat"]

{"sheet":"prestation","index":2,"n_rows":40,"n_cols":13,"rows_kept":40,"cut":false,"hidden":false,"merged":[]}
["n° ","code article","Nom_prod","Description","Catégorie","Taille","Qté_stock"," Seuil _réappro","PUV","RefFrn","PUA","Délai"]
["2",null,"découpe plan de travail pour encastrer le nouvel évier","cuisine","prestations","Mo",null,null,30]
["3",null,"pose des carreaux de faience sur le plan de travail ( colle fournie) couleur des joint a définir","prestations","cuisine","Mo",null,null,285]
["4",null,"carrotage du mur avec fourniture tuyau pvc ,gaine semi rigide","prestations","cuisine","Mo",null,null,"29"]
["5",null,"remplacement des prises et interrupteurs avec rainurage et remplacement ","cuisine","prestations","Mo",null,null,"31"]
["6",null,"remplacement du réfrigérateur","cuisine","prestations","Mo",null,null,"32"]
["7",null,"mise en déchetterie des gravas","déchetterie","prestations","Mo",null,null,"33"]
["8",null,"montage des caissons","cuisine","prestations","Mo",null,null,35]
["9",null," pose des éléments du bas, haut, armoires …à l'unité","cuisine","prestations","Mo",null,null,62]
["10",null,"nombre de ml de pose des plans de travail stratifiés sans découpes ni entailles de plaques et évier","cuisine","prestations","Ml",null,null,19]
["11",null,"nombres d'entailles pour encastrement évier où plaque avec protection(colle où Rubson)","cuisine","prestations","Mo",null,null,"39"]
["12",null,"nombre de pose étagères et/où fileurs","cuisine","prestations","Mo",null,null,"41"]
["13",null,"pose des crédences stratifiées avec percage pour prises et interrupteurs au m²","cuisine","prestations","Mo",null,null,"42"]
["14",null,"pose de corniche où cache lumière  à la coupe","cuisine","prestations","Mo",null,null,"43"]
["15",null,"pose et raccordement évier sur arrivées et évacuations existantes sans modification","cuisine","prestations","Mo",null,null,"44"]
["16",null,"pose et raccordement  lave vaisselle ou lave linge sur installations électrique et plomberie existante aux normes en vigueur","cuisine","prestations","Mo",null,null,"46"]
["17",null,"pose de la porte lave/linge et /où vaisselle","cuisine","prestations","Mo",null,null,"47"]
["18",null,"pose plaque de cuisson sur prise et arrivée de gaz existants sans modification","cuisine","prestations","Mo",null,null,"48"]
["19",null,"pose et raccordement d'un four sur installation aux normes, et sans modification","cuisine","prestations","Mo",null,null,"50"]
["20",null,"pose et raccordement d'un réfrigérateur ou congélateur sur installation aux normes, sans modification","cuisine","prestations","Mo",null,null,"52"]
["21",null,"nombre de pose et raccord de néons et spots sur arrivées électrique et interrupteurs existants sans modification","cuisine","prestations","Mo",null,null,"54"]
["22",null,"pose et raccordement d'un groupe d'aspiration ou hotte décor murale (recyclage où évacuation) sur prise et évacuation en attente à l'emplacement prévue","cuisine","prestations","Mo",null,null,"56"]
["23",null,"pose et raccordement de la hotte centrale( ilôt ) sur arrivées existantes sans perçage du mur","cuisine","prestations","Mo",null,null,"59"]
["24",null,"petites fournitures diverses de pose (vis,chevilles,équerres,silicone etc…)","fourniture","prestations","Mo",null,null,"61"]
["25",null,"frais de déplacement ","déplacement","prestations","Mo",null,null,"62"]
["27",null,"pose des placos platres au map","placos","prestations","Mo",null,null,35]
["28",null,"pose des joints et finition à l'enduit","placos","prestations","Mo",null,null,35]
["29",null,"rénovation circuit électrique en vu de la pose de la nouvelle cuisine","elec","prestations","Mo",null,null,42]
["30",null," par chèque n°: 225 de la BANQUE POPULAIRE en date du 26/04/2011","acompte",null,null,null,null,1485]
["31",null,"pose des placos","placos","prestations","Mo",null,null,60]
["32",null,"acompte N°201100110 du 01/03/2011","acompte",null,null,null,null,-74.48]
["33",null,"modification de l'électricité non prise en charge par SCHMIDT","cuisine","electricité","Mo",null,null,240]
["34",null,"dépose de l'ancienne baignoire","prestations","sdb","Mo",null,null,60]
["35",null,"pose et montage du coffret","prestations","electricité","Mo",null,null,15,null,null,null,0]
["47",null,"pose  lavabo et mitigeur à l'unité","sdb","prestations",null,null,null,90]
[48,null,"mise en oeuvre du béton","sdb","prestations","Mo",null,null,35]
[null,null,"dépose du meuble défectueux","cuisine","prestations","Mo",null,null,35]
[null,null,"réparation du meuble par changement planches défectueuse","cuisine","prestations","Mo",null,null,50]
[null,null,"pose d'une fixation supplémentaire centrale","cuisine","prestations","Mo",null,null,15]
[null,null,"repose du meuble","cuisine","prestations","Mo",null,null,50]