{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["CONT 2016","Source","Liste","Tableau bord"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":9,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"CONT 2016","index":0,"n_rows":191,"n_cols":25,"rows_kept":191,"cut":false,"hidden":false,"merged":[]}
["TEMOIN","Référence\ncahier","Abrievations","Nom milieu","N° LOT","N° TELLAC","Fournisseur","Péremption","Réception","Nbre STERILITE","SA 100","SA","EC\n44°C","EC 100","EC","BS","PA","Sal","EF"," EF* souchier","Efa","CA","AN","souches environ","Contrôlé le"]
["Témoin","FEC-30/96","A","Bouillon TCS  90 ml",1004032690,"FL85609","Biomérieux","2016-11-30","2015-08-17",null,null,"SA",null,null,null,"BS","PA",null,null,null,null,null,null,null,"2015-08-26"]
[null,"FEC-32/94","B","gélose TCS   200 ml\nà couler",1004416020,"FL87274","Biomérieux","2017-05-08","2016-01-11",1,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2016-01-27"]
[null,"FEC-32/94","B","gélose TCS irradié\nprêt à l'emploi",1004456170,"FL87282","Biomérieux","2016-04-22","2016-01-11",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2016-01-27"]
["Témoin","FEC-32/48","B","gélose TCS\nprêt à l'emploi",1004388750,"FL87212","Biomérieux","2016-03-17","2015-12-14",null,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2015-12-18"]
[null,"FEC-32/94","B","gélose TCS\nprêt à l'emploi",1004454390,"FL87280","Biomérieux","2016-04-12","2016-01-11",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2016-01-27"]
[null,"FEC-32/113","B","gélose TCS\nprêt à l'emploi","000208","N/A","Pharma\n media","2016-01-24","N/A",null,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2016-01-27"]
["Témoin","FEC-32/69","BAA","gélose BAA \nprêt à l'emploi",531329,"FL87012","Biomérieux","2016-02-08","2015-12-07",null,null,null,null,null,null,null,null,null,"EF","EF*","Efa",null,null,null,"2015-12-18"]
["Témoin","FEC-32/177","A","Bouillon TCS  90 ml",1004453640,"FL87465\nFL87476","Biomérieux","2017-05-24","2016-02-10",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-02-18"]
[null,"FEC-32/96","CONTACT","hygicount ",1004494270,"FL87284\nFL87285","Biomérieux","2016-02-26","2016-01-11",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2016-01-27"]
[null,"FEC-32/96","CONTACT","hygicount irradié",1004506240,"FL87294","Biomérieux","2016-06-14","2016-01-11",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2016-01-27"]
[null,"FEC-32/177","A","Bouillon TCS  900 ml",527804,"FL87498\nFL87499","Biomérieux","2016-10-04","2016-02-10",4,null,"SA",null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-02-18"]
["Témoin","FEC-30/187","E","bouillon Mossel\n90 ml",1004208220,"FL86365","Biomérieux","2016-03-05","2015-10-19",null,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"2015-10-28"]
[null,"FEC-32/83","E","bouillon Mossel\n90 ml",1004353280,"FL87278\nFL87279","Biomérieux","2016-04-09","2016-01-11",6,null,"SA\n100",null,null,"EC",null,null,"PA",null,null,null,null,null,null,"2016-01-27"]
["Témoin","FEC-32/46","G","bouillon Mac-conkey",1004353290,"FL87206","Biomérieux","2016-05-09","2015-12-14",null,null,null,null,null,"EC",null,null,null,null,null,null,null,null,null,"2015-12-18"]
[null,"FEC-32/84","G","bouillon Mac-conkey","MIL-14/14","N/A","BD","2016-02-26","préparé le\n26/01/16",3,null,"SA",null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-01-27"]
[null,"FEC-32/122","G","bouillon Mac-conkey","MIL-14/16","N/A","BD","2016-02-29","préparé le\n29/01/16",5,null,"SA",null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-02-01"]
["Témoin","FEC-32/50","H","gélose Mac-Conkey\nprêt à l'emploi",1004418660,"FL87031","Biomérieux","2016-02-01","2015-12-07",null,null,null,"EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2015-12-18"]
["Témoin","FEC-32/87","H","gélose Mac-Conkey\nprêt à l'emploi",1004503510,"FL87281","Biomérieux","2016-03-09","2016-01-11",10,null,null,"EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-01-27"]
["Témoin","FEC-32/51","K","gélose XLD\nprêt à l'emploi",1004417910,"FL87231","Biomérieux","2016-03-21","2015-12-14",null,null,null,null,null,null,null,null,"Sal",null,null,null,null,null,null,"2015-12-18"]
["Témoin","FEC-30/96","A","Bouillon TCS  90 ml",1004032690,"FL85609","Biomérieux","2016-11-30","2015-08-17",null,null,"SA",null,null,null,"BS","PA",null,null,null,null,null,null,null,"2015-08-26"]
[null,"FEC-32/189\nFEC-32/190","B","gélose TCS   200 ml\nà couler",1004492920,"FL87453\nFL87454","Biomérieux","2017-06-04","2016-02-10",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2016-02-18"]
[null,"FEC-32/89","MS","gélose Mannitol sel\nà couler",1004436450,"FL86278\nFL86279","Biomérieux","2017-05-18","2016-01-11",4,null,"SA",null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-01-27"]
["Témoin","FEC-32/52","MS","gélose Mannitol sel\nprêt à l'emploi",1004460560,"FL87234","Biomérieux","2016-04-08","2015-12-14",null,null,null,null,null,"EC",null,null,null,null,null,null,null,null,null,"2015-12-18"]
[null,"FEC-32/189\nFEC-32/190","B","gélose TCS \nprêt à l'emploi",1004517470,"FL87391\nFL87395","Biomérieux","2016-05-09","2016-02-08",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2016-02-18"]
["Témoin","FEC-32/47","RAP","Bouillon rappaport-\nvassiliadis",527152,"FL87132","Biomérieux","2016-03-28","2015-12-14",null,null,null,null,null,null,null,null,"Sal",null,null,null,null,null,null,"2015-12-18"]
[null,"FEC-32/189\nFEC-32/190","B","gélose TCS \nprêt à l'emploi",1004573280,"FL87418\nFL87421","Biomérieux","2015-06-07","2016-02-10",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2016-02-18"]
[null,"FEC-32/93","SAB-C","gélose Sabouraud-\nchloramphénicol ",1004499040,"FL87290","Biomérieux","2016-04-11","2016-01-11",8,null,null,null,null,null,null,null,null,null,null,null,"CA","AN",null,"2016-01-27"]
[null,"FEC-32/93","SAB-C","gélose Sabouraud-\nchloramphénicol ",1004416380,"FL87275\nFL87277","Biomérieux","2016-11-10","2016-01-11",1,null,null,null,null,null,null,null,null,null,null,null,"CA","AN",null,"2016-01-27"]
[null,"FEC-32/90","SLA","gélose Slanetz\nà couler",519017,"FL87270","Biomérieux","2016-07-08","2016-01-11",1,null,null,null,null,"EC",null,null,null,"EF",null,"Efa",null,null,null,"2016-01-27"]
["Témoin","FEC-31/16","TTC ","gélose TTC Tergitol",529941,"FL86752","Biomérieux","2016-01-25","2015-11-20",null,null,null,"EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2015-11-24"]
["Témoin","FEC-32/55","SLA","gélose Slanetz\nprêt à l'emploi",533644,"FL87162\nFL87173","Biomérieux","2016-03-02","2015-12-14",null,null,null,null,null,null,null,null,null,"EF",null,"Efa",null,null,null,"2015-12-18"]
[null,"FEC-32/91\nFEC-32/114","VRBG","gélose VRBG\nà couler",530013,"FL87271","Biomérieux","2016-04-26","2016-01-11",1,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"27/01/16\n01/02/16"]
["Témoin","FEC-32/68","VRBG","gélose VRBG\nprêt à l'emploi",530935,"FL87176","Biomérieux","2016-02-04","2015-12-14",null,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"2015-12-18"]
["N/A","N/A","DILP +\n Tween","DILP+ Tween 0,1%",522520,"FL87269","Biomérieux","2016-08-12","2016-01-11",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
[null,"FEC-32/191\nFEC-32/192","B","gélose TCS irradié\nprêt à l'emploi",104507880,"FL87413\nFL87415","Biomérieux","2016-05-12","2016-02-10",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-02-18"]
[null,"FEC-32/162","VRBG","gélose VRBG\nprêt à l'emploi",535223,"FL87340\nFL87341","Biomérieux","2016-03-18","2016-02-02",10,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"2016-02-08"]
[null,"FEC-32/191\nFEC-32/192","B","gélose TCS irradié\nprêt à l'emploi",1004509710,"FL87520\nFL87522","Biomérieux","2016-05-12","2016-02-10",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-02-18"]
[null,"FEC-32/163","BAA","gélose BAA \nprêt à l'emploi",600823,"FL87339","Biomérieux","2016-04-08","2016-02-02",8,null,null,null,null,"EC\n100",null,null,null,null,"EF*","Efa",null,null,null,"2016-02-08"]
[null,"FEC-33/56\nFEC-33/57","B","gélose TCS irradié\nprêt à l'emploi",1004607710,"FL88097","Biomérieux","2016-06-28","2016-03-14",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-03-17"]
[null,"FEC-32/170","B","gélose TCS irradié\nprêt à l'emploi",1004484310,"FL87370\nFL87371","Biomérieux","2016-05-02","2016-02-02",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-02-08"]
[null,"FEC-32/170","CONTACT","hygicount ",1004564900,"FL87329\nFL87332","Biomérieux","2016-04-01","2016-02-02",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-02-08"]
[null,"FEC-32/174","S","gélose R2A",1004539710,"FL87333\nFL87336","Biomérieux","2016-04-11","2016-02-02",10,null,null,null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-02-08"]
[null,"FEC-32/174","S","gélose R2A","F6AA06796","N/A","MILLIPORE","2017-01-11","2016-02-02",2,null,null,null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-02-08"]
[null,"FEC-32/141","G","bouillon Mac-conkey",1004505470,"FL87318\nFL87321","Biomérieux","2016-07-13","2016-02-02",18,null,"SA",null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-02-04"]
[null,"FEC-32/86","BAA","gélose BAA \nprêt à l'emploi",535721,"FL87267","Biomérieux","2016-03-23","2016-01-11",8,null,null,null,null,"EC\n100",null,null,null,null,"EF*","Efa",null,null,null,"2016-01-27"]
["Témoin","FEC-32/170","B","gélose TCS\nprêt à l'emploi",1004517470,"FL87324\nFL87328","Biomérieux","2016-05-09","2016-02-02",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-02-08"]
[null,"FEC-32/181","BAA","gélose BAA \nprêt à l'emploi",600823,"FL87450","Biomérieux","2016-04-08","2016-02-10",8,null,null,null,null,"EC\n100",null,null,null,null,"EF*","Efa",null,null,null,"2016-02-18"]
[null,"FEC-32/191\nFEC-32/192","CONTACT","hygicount ",1004572190,"FL87424\nFL87426","Biomérieux","2016-04-04","2016-02-10",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-02-18"]
[null,"FEC-33/18\nFEC-32/19","CONTACT","hygicount irradié",1004534403,"FL87523\nFL87526","Biomérieux","2016-07-12","2016-02-10",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-02-18"]
[null,"FEC-33/56\nFEC-33/57","B","gélose TCS\nprêt à l'emploi",1004608450,"FL88056\nFL88058","Biomérieux","2016-06-21","2016-03-14",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-03-17"]
[null,"FEC-32/178","E","bouillon Mossel\n9 ml",602006,"FL87495","Biomérieux","2016-04-20","2016-02-10",10,null,"SA\n100",null,null,"EC",null,null,"PA",null,null,null,null,null,null,"2016-02-18"]
[null,"FEC-32/179","G","bouillon Mac-conkey",1004565180,"FL87478\nFL87480","Biomérieux","2016-08-06","2016-02-10",10,null,"SA",null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-02-18"]
["Témoin","FEC-32/86","BAA","gélose BAA \nprêt à l'emploi",535721,"FL87267","Biomérieux","2016-03-23","2016-01-11",null,null,null,null,null,null,null,null,null,null,"EF*","Efa",null,null,null,"2016-01-27"]
[null,"FEC-33/56\nFEC-33/57","CONTACT","hygicount ",1004641260,"FL88061\nFL88064","Biomérieux","2016-05-02","2016-03-14",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-03-17"]
[null,"FEC-33/58\nFEC-33/59","CONTACT","hygicount irradié",1004608190,"FL88098\nFL88099","Biomérieux","2016-08-04","2016-03-14",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-03-17"]
["Témoin","FEC-32/83","E","bouillon Mossel\n9 ml",535701,"FL87263","Biomérieux","2016-03-23","2016-01-11",10,null,"SA\n100",null,null,"EC",null,null,"PA",null,null,null,null,null,null,"2016-01-27"]
[null,"FEC-32/182","MS","gélose Mannitol sel\nprêt à l'emploi",1004576750,"FL87433","Biomérieux","2016-06-01","2016-02-10",8,null,"SA",null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-02-18"]
[null,"FEC-32/183","N","gélose cétrimide\nà couler",535245,"FL87501\nFL87502","Biomérieux","2015-06-17","2016-02-10",10,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"2016-02-18"]
[null,"FEC-33/45","E","bouillon Mossel\n9 ml",1122010,"FL88105","Biomérieux","2016-05-04","2016-03-14",10,null,"SA\n100",null,null,"EC",null,null,"PA",null,null,null,null,null,null,"2016-03-17"]
[null,"FEC-32/184","PCA","gélose nutritive eaux",530709,"FL87503\nFL87504","Biomérieux","2016-11-02","2016-02-10",4,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2016-02-18"]
["Témoin","FEC-32/180","RAP","Bouillon rappaport-\nvassiliadis",601203,"FL87493\nFL87494","Biomérieux","2016-07-12","2016-02-10",4,null,null,null,null,null,null,null,"Sal",null,null,null,null,null,null,"2016-02-18"]
[null,"FEC-33/45","E","bouillon Mossel\n90 ml",1004505460,"FL88053","Biomérieux","2016-06-12","2016-03-14",4,null,"SA\n100",null,null,"EC",null,null,"PA",null,null,null,null,null,null,"2016-03-17"]
[null,"FEC-32/193\nFEC-32/194","S","gélose R2A",1004539710,"FL87396\nFL87398","Biomérieux","2016-04-11","2016-02-08",10,null,null,null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-02-18"]
[null,"FEC-32/193\nFEC-32/194","S","gélose R2A",1004539710,"FL87427\nFL87429","Biomérieux","2016-04-11","2016-02-10",10,null,null,null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-02-18"]
[null,"FEC-32/193\nFEC-32/194","S","gélose R2A",1004582810,"FL87430\nFL87431","Biomérieux","2016-04-22","2016-02-10",10,null,null,null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-02-18"]
[null,"FEC-32/185","SAB","gélose Sabouraud\n à couler",530018,"FL87505\nFL87506","Biomérieux","2016-04-26","2016-02-10",4,null,null,null,null,null,null,null,null,null,null,null,"CA","AN",null,"2016-02-18"]
[null,"FEC-32/185","SAB-C","gélose Sabouraud-\nchloramphénicol ",1004590670,"FL87432","Biomérieux","2016-05-24","2016-02-10",8,null,null,null,null,null,null,null,null,null,null,null,"CA","AN",null,"2016-02-18"]
[null,"FEC-32/185","SAB-C","gélose Sabouraud-\nchloramphénicol C",1004528200,"FL87477","Biomérieux","2017-01-10","2016-02-10",4,null,null,null,null,null,null,null,null,null,null,null,"CA","AN",null,"2016-02-18"]
["Témoin","FEC-32/186","SLA","gélose Slanetz\nprêt à l'emploi",536325,"FL87451","Biomérieux","2016-03-29","2016-02-08",10,null,null,null,null,"EC",null,null,null,"EF",null,"Efa",null,null,null,"2016-02-18"]
[null,"FEC-32/186","SLA","gélose Slanetz\nprêt à l'emploi",536325,"FL87452","Biomérieux","2016-03-29","2016-02-10",10,null,null,null,null,"EC",null,null,null,"EF",null,"Efa",null,null,null,"2016-02-18"]
["Témoin","FEC-32/141","G","bouillon Mac-conkey",1004505470,"FL87318","Biomérieux","2016-07-13","2016-02-02",null,null,null,null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-02-04"]
[null,"FEC-32/187","TTC ","gélose TTC Tergitol",600641,"FL87434\nFL87436","Biomérieux","2016-04-06","2016-02-10",4,null,"SA\n100","EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-02-18"]
["Témoin","FEC-32/187","TTC ","gélose TTC Tergitol",602542,"FL87437\nFL87449","Biomérieux","2016-04-25","2016-02-10",10,null,"SA\n100","EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-02-18"]
[null,"FEC-33/48","H","gélose Mac-Conkey\nà couler",534118,"FL88108\nFL88109","Biomérieux","2016-12-06","2016-03-14",4,null,null,"EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-03-17"]
["Témoin","FEC-32/91\nFEC-32/114","VRBG","gélose VRBG\nprêt à l'emploi",534133,"FL87268","Biomérieux","2016-03-07","2016-01-11",8,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"27/01/16\n01/02/16"]
["N/A","N/A","DILP","Diluant pharmacopée\n90 ml",1004453630,"FL87455\nFL87464","Biomérieux","2017-06-06","2016-02-10",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["N/A","N/A","DILP","Diluant pharmacopée\n9 ml",528203,"FL87507","Biomérieux","2016-10-08","2016-02-10",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["N/A","N/A","DILP","Diluant pharmacopée\n300 ml",526413,"FL87497","Biomérieux","2016-09-20","2016-02-10",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["N/A","N/A","DILP +\n Tween","DILP+ Tween 0,1%",532718,"FL87496","Biomérieux","2016-11-22","2016-02-10",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["N/A","N/A","DNP","Solution tampon pH 7",1004437150,"FL87481\nFL87492","Biomérieux","2017-04-17","2016-02-10",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["Témoin","FEC-32/165","H","gélose Mac-Conkey\nprêt à l'emploi",1004576900,"FL87422\nFL87423","Biomérieux","2016-04-12","2016-02-10",10,null,null,"EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-02-11"]
[null,"FEC-33/120","A","Bouillon TCS  90 ml",1004662550,"FL88337\nFL88339","Biomérieux","2017-09-11","2016-04-13",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-04-15"]
[null,"FEC-33/48","H","gélose Mac-Conkey\nprêt à l'emploi",1004645340,"FL88059\nFL88060","Biomérieux","2016-05-10","2016-03-14",10,null,null,"EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-03-17"]
[null,"FEC-33/49","K","gélose XLD\nà couler",532228,"FL88114","Biomérieux","2016-05-18","2016-03-14",4,null,null,null,null,null,null,null,"Sal",null,null,null,null,null,null,"2016-03-17"]
[null,"FEC-32/88","K","gélose XLD\nprêt à l'emploi",1004517520,"FL87288","Biomérieux","2016-05-02","2016-01-11",8,null,null,null,null,null,null,null,"Sal",null,null,null,null,null,null,"2016-01-27"]
[null,"FEC-33/49","K","gélose XLD\nprêt à l'emploi",1004608400,"FL88068","Biomérieux","2016-06-14","2016-03-14",8,null,null,null,null,null,null,null,"Sal",null,null,null,null,null,null,"2016-03-17"]
["Témoin","FEC-32/89","MS","gélose Mannitol sel\nprêt à l'emploi",1004503180,"FL87293","Biomérieux","2016-04-27","2016-01-11",8,null,"SA",null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-01-27"]
[null,"FEC-33/54","N","gélose cétrimide\nà couler",600410,"FL87500","Biomérieux","2016-07-04","2016-02-10",4,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"2016-03-17"]
["Témoin","FEC-32/92\nFEC-32/115","N","gélose cétrimide\nprêt à l'emploi",1004509520,"FL87289","Biomérieux","2016-02-25","2016-01-11",8,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"27/01/16\n01/02/16"]
[null,"FEC-33/54","N","gélose cétrimide\nprêt à l'emploi",1004668030,"FL88069","Biomérieux","2016-05-06","2016-03-14",4,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"2016-03-17"]
[null,"FEC-33/50","PCA","gélose nutritive eaux",535517,"FL88110\nFL88111","Biomérieux","2016-12-20","2016-03-14",4,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2016-03-17"]
["Témoin","FEC-32/47","RAP","Bouillon rappaport-\nvassiliadis",527152,"FL87132","Biomérieux","2016-03-28","2015-12-14",null,null,null,null,null,null,null,null,"Sal",null,null,null,null,null,null,"2015-12-18"]
[null,"FEC-33/28","RAP","Bouillon rappaport-\nvassiliadis",601203,"FL88035\nFL88037","Biomérieux","2016-07-12","2016-03-07",4,null,null,null,null,null,null,null,"Sal",null,null,null,null,null,null,"2016-03-15"]
[null,"FEC-33/47","RAP","Bouillon rappaport-\nvassiliadis",601203,"FL88100\nFL88104","Biomérieux","2016-07-12","2016-03-14",5,null,null,null,null,null,null,null,"Sal",null,null,null,null,null,null,"2016-03-17"]
[null,"FEC-33/60\nFEC-33/61","S","gélose R2A",1004620360,"FL88065\nFL88067","Biomérieux","2016-05-09","2016-03-14",10,null,null,null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-03-17"]
[null,"FEC-33/52","SAB","gélose Sabouraud\n à couler",1133690,"FL88112\nFL88113","Biomérieux","2016-08-24","2016-03-14",10,null,null,null,null,null,null,null,null,null,null,null,"CA","AN","X","2016-03-17"]
["Témoin","FEC-32/55","SLA","gélose Slanetz\nprêt à l'emploi",533644,"FL87162\nFL87173","Biomérieux","2016-03-02","2015-12-14",null,null,null,null,null,null,null,null,null,"EF",null,"Efa",null,null,null,"2015-12-18"]
[null,"FEC-33/52","SAB-C","gélose Sabouraud-chloramphénicol",1004650580,"FL88070","Biomérieux","2016-06-17","2016-03-14",8,null,null,null,null,null,null,null,null,null,null,null,"CA","AN",null,"2016-03-17"]
[null,"FEC-33/52","SLA","gélose Slanetz\nprêt à l'emploi",602735,"FL88087","Biomérieux","2016-04-27","2016-03-14",10,null,null,null,null,"EC",null,null,null,"EF",null,"Efa",null,null,null,"2016-03-17"]
["Témoin","FEC-32/67","TTC ","gélose TTC Tergitol",533039,"FL87149","Biomérieux","2016-02-25","2015-12-14",null,null,null,"EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-12-18"]
[null,"FEC-33/53","TTC ","gélose TTC Tergitol",1122660,"FL88071\nFL88086","Biomérieux","2016-05-05","2016-03-14",10,null,"SA\n100","EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-03-17"]
["Témoin","FEC-32/162","VRBG","gélose VRBG\nprêt à l'emploi",535223,"FL87340","Biomérieux","2016-03-18","2016-02-02",null,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"2016-02-08"]
["Témoin","FEC-32/178","E","bouillon Mossel\n9 ml",602006,"FL87495","Biomérieux","2016-04-20","2016-02-10",null,null,null,null,null,"EC",null,null,"PA",null,null,null,null,null,null,"2016-02-18"]
["Témoin","FEC-33/65","G","bouillon Mac-conkey",1004639770,"FL88126\nFL88127","Biomérieux","2016-09-08","2016-03-17",null,null,"SA\n100",null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-03-24"]
["N/A","N/A","DILP +\n Tween","DILP+ Tween 0,1%",532718,"FL88106\nFL88107","Biomérieux","2016-11-22","2016-03-14",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["N/A","N/A","DILP","Diluant pharmacopée\n9 ml",1122470,"FL88115\nFL88117","Biomérieux","2017-02-03","2016-03-14",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["N/A","N/A","DILP","Diluant pharmacopée\n90 ml",1004643900,"FL88124\nFL88125","Biomérieux","2017-08-17","2016-03-17",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
[null,"FEC-33/82","A","Bouillon TCS  90 ml",1004679270,"FL88314\nFL88321","Biomérieux","2017-08-28","2016-04-04",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-04-06"]
[null,"FEC-33/84","G","bouillon Mac-conkey","MIL-14/26","N/A","BD","2016-05-05","préparé le \n05/04/16",null,null,"SA\n100",null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-04-06"]
["Témoin","FEC-32/177","A","Bouillon TCS  90 ml",1004453640,"FL87469","Biomérieux","2017-05-24","2016-02-10",null,null,"SA",null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-02-18"]
[null,"FEC-33/103","G","bouillon Mac-conkey",1004700080,"FL88322\nFL88323","Biomérieux","2016-10-06","2016-04-08",10,null,"SA\n100",null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-04-08"]
[null,"FEC-33/120","A","Bouillon TCS  90 ml",1004662550,"FL88403\nFL88414","Biomérieux","2017-09-11","2016-04-15",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-04-15"]
[null,"FEC-33/132\nFEC-33/133","B","gélose TCS   200 ml\nà couler",1004662410,"FL88203\nFL88204","Biomérieux","2017-08-21","2016-03-21",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-04-15"]
[null,"FEC-33/132\nFEC-33/133","B","gélose TCS   200 ml\nà couler",1004679190,"FL88401\nFL88402","Biomérieux","2017-08-30","2016-04-15",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-04-15"]
["Témoin","FEC-32/191\nFEC-32/192","B","gélose TCS irradié\nprêt à l'emploi",104507880,"FL87419","Biomérieux","2016-05-12","2016-02-10",null,null,"SA",null,null,"EC","BS","PA",null,"EF","EF*","Efa","CA","AN","X","2016-02-18"]
[null,"FEC-33/132\nFEC-33/133","B","gélose TCS irradié\nprêt à l'emploi",1004676520,"FL88435\nFL88438","Biomérieux","2016-07-26","2016-04-15",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-04-15"]
[null,"FEC-33/134\nFEC-33/135","B","gélose TCS\nprêt à l'emploi",1004716380,"FL88359\nFL88360\nFL88428\nFL88431","Biomérieux","2016-08-05","2016-04-13",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-04-15"]
[null,"FEC-33/124","BAA","gélose BAA \nprêt à l'emploi",1143090,"FL88478\nFL88479","Biomérieux","2016-06-13","2016-04-13",10,null,null,null,null,"EC\n100",null,null,null,"EF","EF*","Efa",null,null,null,"2016-04-15"]
[null,"FEC-33/134\nFEC-33/135","CONTACT","hygicount ",1004722690,"FL88439\nFL88444","Biomérieux","2016-06-06","2016-04-13",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-04-15"]
[null,"FEC-33/134\nFEC-33/135","CONTACT","hygicount irradié",1004676640,"FL88454\nFL88458","Biomérieux","2016-08-31","2016-04-15",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-04-15"]
[null,"FEC-33/121","E","bouillon Mossel\n9 ml",1142930,"FL88461","Biomérieux","2016-06-13","2016-04-13",10,null,"SA\n100",null,null,"EC",null,null,"PA",null,null,null,null,null,null,"2016-04-15"]
["Témoin","FEC-33/45","E","bouillon Mossel\n9 ml",1122010,"FL88105","Biomérieux","2016-05-04","2016-03-14",null,null,null,null,null,"EC",null,null,"PA",null,null,null,null,null,null,"2016-03-17"]
[null,"FEC-33/122","G","bouillon Mac-conkey",1004700080,"FL88348\nFL88349","Biomérieux","2016-10-06","2016-04-13",10,null,"SA\n100",null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-04-15"]
["T","FEC-32/177","A","Bouillon TCS  90 ml",1004453640,"FL87467","Biomérieux","2017-05-24","2016-02-10",null,null,"SA",null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-02-18"]
[null,"FEC-33/122","G","bouillon Mac-conkey",1004700080,"FL88415\nFL88420","Biomérieux","2016-10-06","2016-04-15",10,null,"SA\n100",null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-04-15"]
[null,"FEC-33/125","H","gélose Mac-Conkey\nprêt à l'emploi",1004724290,"FL88361\nFL88432\nFL88434","Biomérieux","2016-06-13","2016-04-13",10,null,null,"EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-04-15"]
["Témoin","FEC-33/48","H","gélose Mac-Conkey\nprêt à l'emploi",1004645340,"FL88059","Biomérieux","2016-05-10","2016-03-14",10,null,null,"EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-03-17"]
[null,"FEC-33/126","MS","gélose Mannitol sel\nprêt à l'emploi",1004702560,"FL88453","Biomérieux","2016-07-28","2016-04-13",8,null,"SA",null,null,"EC",null,null,null,null,null,null,null,null,null,"2016-04-15"]
["N/A","N/A","DNP","Solution tampon pH 7",1004658690,"FL88422","Biomérieux","2017-07-18","2016-04-13",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["N/A","N/A","DILP +\n Tween","DILP+ Tween 0,1%",532718,"FL88387\nFL88388","Biomérieux","2016-11-22","2016-04-13",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["F",null,"B","gélose TCS irradié\nprêt à l'emploi",1004792930,"FL89163\nFL89165","Biomérieux","2016-09-16","2016-05-24",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X"]
[null,"FEC-33/127","N","gélose cétrimide\nprêt à l'emploi",1004734070,"FL88364","Biomérieux","2016-06-03","2016-04-13",4,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"2016-04-15"]
["Témoin","FEC-33/54","N","gélose cétrimide\nprêt à l'emploi",1004668030,"FL88069","Biomérieux","2016-05-06","2016-03-14",null,null,null,null,null,null,null,"PA",null,null,null,null,null,null,null,"2016-03-17"]
[null,"FEC-33/143","PCA","gélose nutritive eaux",535517,"FL88391\nFL88400","Biomérieux","2016-12-20","2016-04-13",6,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2016-04-15"]
[null,"FEC-33/143","PCA","gélose nutritive eaux",535517,"FL88484\nFL88485","Biomérieux","2016-12-20","2016-04-15",6,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN",null,"2016-04-15"]
[null,"FEC-33/123","RAP","Bouillon rappaport-\nvassiliadis",1150290,"FL88489\nFL88490","Biomérieux","2017-09-27","2016-04-15",5,null,null,null,null,null,null,null,"Sal",null,null,null,null,null,null,"2016-04-15"]
["T","FEC-33/134\nFEC-33/135","B","gélose TCS\nprêt à l'emploi",1004716380,"FL88360","Biomérieux","2016-08-05","2016-04-13",null,"SA\n100","SA",null,"EC\n100","EC","BS","PA",null,null,null,null,"CA","AN","X","2016-04-15"]
[null,"FEC-33/136\nFL-33/137","S","gélose R2A",1004690450,"FL88445\nFL88448","Biomérieux","2016-06-08","2016-04-13",10,null,null,null,null,null,"BS","PA",null,null,null,null,null,null,"X","2016-04-15"]
[null,"FEC-33/136\nFL-33/137","S","gélose R2A",1004702470,"FL88449\nFL88362\nFL88363","Biomérieux","2016-06-13","2016-04-13",10,null,null,null,null,null,"BS","PA",null,null,null,null,null,null,"X","2016-04-15"]
["Témoin","FEC-33/60\nFEC-33/61","S","gélose R2A",1004620360,"FL88065\nFL88067","Biomérieux","2016-05-09","2016-03-14",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"X","2016-03-17"]
[null,"FEC-33/131","SAB","gélose Sabouraud\n à couler",1136850,"FL88486\nFL88487","Biomérieux","2016-08-31","2016-04-15",10,null,null,null,null,null,null,null,null,null,null,null,"CA","AN",null,"2016-04-15"]
[null,"FEC-33/131","SAB-C","gélose Sabouraud-\nchloramphénicol C",1004724080,"FL88366","Biomérieux","2016-07-19","2016-04-13",10,null,null,null,null,null,null,null,null,null,null,null,"CA","AN",null,"2016-04-15"]
[null,"FEC-33/128","SLA","gélose Slanetz\nprêt à l'emploi",1138310,"FL88480","Biomérieux","2016-06-02","2016-04-13",10,null,null,null,null,"EC",null,null,null,"EF",null,"Efa",null,null,null,"2016-04-15"]
["Témoin","FEC-33/52","SLA","gélose Slanetz\nprêt à l'emploi",602735,"FL88087","Biomérieux","2016-04-27","2016-03-14",null,null,null,null,null,null,null,null,null,"EF",null,"Efa",null,null,null,"2016-03-17"]
[null,"FEC-33/129","TTC ","gélose TTC Tergitol",1140420,"FL88462\nFL88477","Biomérieux","2016-06-07","2016-04-13",10,null,"SA\n100","EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-04-15"]
["Témoin","FEC-33/53","TTC ","gélose TTC Tergitol",1122660,"FL88071","Biomérieux","2016-05-05","2016-03-14",null,null,null,"EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-03-17"]
["Témoin","FEC-32/188","VRBG","gélose VRBG\nprêt à l'emploi",1121860,"FL87911","Biomérieux","2016-05-04","2016-02-15",8,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"2016-02-18"]
[null,"FEC-33/130","VRBG","gélose VRBG\nprêt à l'emploi",1143520,"FL88481","Biomérieux","2016-06-14","2016-04-13",8,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"2016-04-15"]
[null,"FEC-33/158","A","Bouillon TCS  900 ml",1147280,"FL88913\nFL88389\nFL88390","Biomérieux","2017-02-23","2016-04-15",1,null,"SA",null,null,null,"BS","PA",null,null,null,null,null,null,null,"2016-05-12"]
["N/A","N/A","DILP","Diluant pharmacopée\n9 ml",1151580,"FL88488","Biomérieux","2017-03-23","2016-04-13",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["N/A","N/A","DILP","Diluant pharmacopée\n300 ml",1147210,"FL88483","Biomérieux","2017-03-23","2016-04-13",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["N/A","N/A","DNP","Solution tampon pH 7",1004662580,null,"Biomérieux","2017-07-25","2016-04-19",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
[null,"FEC-33/159","E","bouillon Mossel\n90 ml",1004749060,"FL88347","Biomérieux","2016-09-26","2016-04-19",4,null,"SA\n100",null,null,"EC",null,null,"PA",null,null,null,null,null,null,"2016-05-12"]
["F",null,"B","gélose TCS\nprêt à l'emploi",1004849600,"FL89108\nFL89109","Biomérieux","2016-10-04","2016-05-24",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X"]
[null,"FEC-33/124","BAA","gélose BAA \nprêt à l'emploi",1143090,"FL88479","Biomérieux","2016-06-13","2016-04-13",null,null,null,null,null,null,null,null,null,"EF","EF*","Efa",null,null,null,"2016-04-15"]
["F",null,"CONTACT","hygicount ",1004832600,"FL89112\nFL89114","Biomérieux","2016-07-22","2016-05-24",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X"]
["F",null,"CONTACT","hygicount irradié",1004788130,"FL89166\nFL89169","Biomérieux","2016-10-19","2016-05-24",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X"]
[null,"FEC-33/121","E","bouillon Mossel\n9 ml",1142930,"FL88461","Biomérieux","2016-06-13","2016-04-13",null,null,null,null,null,"EC",null,null,"PA",null,null,null,null,null,null,"2016-04-15"]
[null,"FEC-33/45","E","bouillon Mossel\n90 ml",1004505460,"FL88053","Biomérieux","2016-06-12","2016-03-14",null,null,null,null,null,"EC",null,null,"PA"]
["T","FEC-33/103","G","bouillon Mac-conkey",1004700080,"FL88323","Biomérieux","2016-10-06","2016-04-08",null,null,null,"EC\n44°C",null,null,null,null,null,null,null,null,null,null,null,"2016-04-08"]
["F",null,"G","bouillon Mac-conkey",1004749070,null,"Biomérieux","2016-11-03","2016-05-27",null,null,null,"EC\n44°C",null,null,null,"²1"]
["T","FEC-33/125","H","gélose Mac-Conkey\nprêt à l'emploi",1004724290,"FL88434","Biomérieux","2016-06-13","2016-04-13",null,null,null,"EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-04-15"]
["F",null,"H","gélose Mac-Conkey\nprêt à l'emploi",1004820770,"FL89110\nFL89111","Biomérieux","2016-07-22","2016-05-24",10,null,null,"EC\n44°C",null,"EC"]
["F",null,"K","gélose XLD\nà couler",1142250,"FL89130","Biomérieux","2016-09-15","2016-05-24",4,null,null,null,null,null,null,null,"Sal"]
["T","FEC-33/49","K","gélose XLD\nprêt à l'emploi",1004608400,"FL88068","Biomérieux","2016-06-14","2016-03-14",null,null,null,null,null,null,null,null,"Sal",null,null,null,null,null,null,"2016-03-17"]
[null,"FEC-33/170\nFEC-33/171","B","gélose TCS\nprêt à l'emploi",1004789460,"FL88926\nFL88928","Biomérieux","2016-09-06","2016-05-11",10,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X","2016-05-12"]
[null,"FEC-33/174\nFEC-33/175","S","gélose R2A","F6CA35715","FL88885\nFL88896","MILLIPORE","2017-03-14","2016-05-03",10,null,null,null,null,null,"BS","PA",null,null,null,null,null,null,"X","2016-05-12"]
["F",null,"K","gélose XLD\nprêt à l'emploi",1004736730,"FL89120","Biomérieux","2016-08-08","2016-05-24",8,null,null,null,null,null,null,null,"Sal"]
["T","FEC-32/182","MS","gélose Mannitol sel\nprêt à l'emploi",1004576750,"FL87433","Biomérieux","2016-06-01","2016-02-10",null,null,"SA",null,null,null,null,null,null,null,null,null,null,null,null,"2016-02-18"]
["F",null,"MS","gélose Mannitol sel\nprêt à l'emploi",1004821210,"FL89123","Biomérieux","2016-09-12","2016-05-24",8,null,"SA",null,"EC\n100"]
["T","FEC-33/127","N","gélose cétrimide\nprêt à l'emploi",1004734070,"FL88364","Biomérieux","2016-06-03","2016-04-13",null,null,null,null,null,null,null,"PA",null,null,null,null,null,null,null,"2016-04-15"]
["F",null,"N","gélose cétrimide\nprêt à l'emploi",1004832620,"FL89121","Biomérieux","2016-07-15","2016-05-24",4,null,null,null,"EC\n100",null,null,"PA"]
["F",null,"PCA","gélose nutritive eaux",1125180,"FL89173\nFL89177","Biomérieux","2017-02-08","2016-05-24",4,null,"SA",null,null,null,"BS","PA",null,null,null,null,"CA","AN","X"]
[null,"FEC-33/28","RAP","Bouillon rappaport-\nvassiliadis",601203,"FL88035","Biomérieux","2016-07-12","2016-03-07",null,null,null,null,null,null,null,null,"Sal",null,null,null,null,null,null,"2016-03-15"]
["T","FEC-33/136\nFL-33/137","S","gélose R2A",1004690450,"FL88445","Biomérieux","2016-06-08","2016-04-13",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"X","2016-04-15"]
["F",null,"S","gélose R2A",1004785500,"FL89115\nFL89119","Biomérieux","2016-07-18","2016-05-25",10,null,null,null,null,null,"BS","PA",null,null,null,null,null,null,"X"]
["F",null,"SAB","gélose Sabouraud\n à couler",1153620,"FL89178\nFL89179","Biomérieux","2016-10-05","2016-05-24",4,null,null,null,null,null,null,null,null,null,null,null,"CA","AN"]
["F",null,"SAB-C","gélose Sabouraud-\nchloramphénicol",1004824480,"FL89122","Biomérieux","2016-08-30","2016-05-24",8,null,null,null,null,null,null,null,null,null,null,null,"CA","AN"]
["T","FEC-33/128","SLA","gélose Slanetz\nprêt à l'emploi",1138310,"FL88480","Biomérieux","2016-06-02","2016-04-13",null,null,null,null,null,null,null,null,null,"EF",null,"Efa",null,null,null,"2016-04-15"]
["N/A","N/A","DILP","Diluant pharmacopée\n90 ml",1004807420,"FL89104\nFL89106","Biomérieux","2017-10-22","2016-05-24",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["F",null,"SLA","gélose Slanetz\nprêt à l'emploi",1172470,"FL89127\nFL89128","Biomérieux","2016-08-11","2016-05-24",10,null,null,null,null,"EC",null,null,null,"EF",null,"Efa"]
["T","FEC-33/129","TTC ","gélose TTC Tergitol",1140420,"FL88462","Biomérieux","2016-06-07","2016-04-13",null,null,null,"EC\n44°C",null,"EC",null,null,null,null,null,null,null,null,null,"2016-04-15"]
["F",null,"TTC ","gélose TTC Tergitol",1166030,"FL89124\nFL89125","Biomérieux","2016-07-27","2016-05-24",10,"SA\n100",null,"EC\n44°C",null,"EC"]
["T","FEC-33/130","VRBG","gélose VRBG\nprêt à l'emploi",1143520,"FL88481","Biomérieux","2016-06-14","2016-04-13",null,null,null,null,null,"EC",null,"PA",null,null,null,null,null,null,null,"2016-04-15"]
["F",null,"VRBG","gélose VRBG\nprêt à l'emploi",1152540,"FL89129","Biomérieux","2016-07-05","2016-05-24",8,null,null,null,null,"EC",null,"PA"]
["N/A","N/A","DILP +\n Tween","DILP+ Tween 0,1%",532718,"FL89171\nFL89172","Biomérieux","2016-11-22","2016-05-24",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["N/A","N/A","DILP +\n Tween","DILP+ Tween 0,1%",1153460,"FL89170","Biomérieux","2017-04-04","2016-05-24",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["N/A","N/A","DILP","Diluant pharmacopée\n9 ml",1151580,"FL89180","Biomérieux","2017-03-23","2016-05-24",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A"]
["F",null,"A","Bouillon TCS  90 ml","MIL-14/32","N/A","BD","2016-08-27","2016-05-27",4,null,"SA",null,null,null,"BS","PA"]
["F",null,"A","Bouillon TCS  90 ml","MIL-14/33","N/A","BD","2016-08-27","2016-05-27",4,null,"SA",null,null,null,"BS","PA"]

{"sheet":"Source","index":1,"n_rows":1,"n_cols":10,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["TEMOIN","Référence\ncahier","Abrievations","Nom milieu","N° LOT","N° TELLAC\nDébut","N° TELLAC\nFin","Fournisseur","Péremption","Réception"]

{"sheet":"Liste","index":2,"n_rows":20,"n_cols":11,"rows_kept":20,"cut":false,"hidden":false,"merged":[]}
[]
["Fournisseur",null,"Abréviation",null,"état",null,"Conditionnement",null,"Type",null,"Milieu"]
["BD",null,"A",null,"Prêt à l'emploi",null,"Boîtes 90 mn",null,"Gélose",null,"Bile esculine azide"]
["Biomérieux",null,"B",null,"A couler",null,"Boîtes 55 mn",null,"Bouillon",null,"Sabouraud chloramphénicol"]
["MILLIPORE",null,"BAA",null,"Fabriqué",null,"Flacon 90 ml",null,null,null,"Contact 4N"]
[null,null,"C",null,"Irradié",null,"Flacon 200 ml",null,null,null,"Mossel"]
[null,null,"Contact",null,null,null,"Flacon 990 ml",null,null,null,"Mac Conkey"]
[null,null,"E",null,null,null,"Tube 9ml",null,null,null,"XLD"]
[null,null,"G",null,null,null,null,null,null,null,"Mannitol sel"]
[null,null,"H",null,null,null,null,null,null,null,"Cétrimide"]
[null,null,"K",null,null,null,null,null,null,null,"PCA"]
[null,null,"MS",null,null,null,null,null,null,null,"Rappaport"]
[null,null,"N",null,null,null,null,null,null,null,"R2a"]
[null,null,"PCA",null,null,null,null,null,null,null,"Slanetz"]
[null,null,"RAP",null,null,null,null,null,null,null,"Tergitol"]
[null,null,"S",null,null,null,null,null,null,null,"VRBG"]
[null,null,"SAB",null,null,null,null,null,null,null,"TSB"]
[null,null,"SLA",null,null,null,null,null,null,null,"TCS"]
[null,null,"TTC"]
[null,null,"VRBG"]

{"sheet":"Tableau bord","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}