{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["mesures"],"not_rendered":{"charts":1,"images":1,"macros":1,"external_links":1,"defined_names":38,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"mesures","index":0,"n_rows":70,"n_cols":5,"rows_kept":70,"cut":false,"hidden":false,"merged":[[19,0,19,2],[101,21,101,23],[101,24,101,26],[98,14,98,16],[98,17,98,19],[85,14,85,19],[87,14,87,19],[88,14,88,16],[88,17,88,19],[97,14,97,19],[47,0,47,1],[101,28,101,30],[101,31,101,33],[85,21,85,26],[87,21,87,26],[88,21,88,23],[88,24,88,26],[100,21,100,26],[85,28,85,33],[87,28,87,33],[88,28,88,30],[88,31,88,33],[100,28,100,33]]}
["Capacité",400,null,null,"Capacité"]
[null,null,null,null,50]
[null,null,null,null,75]
[null,null,null,null,81]
[null,null,null,null,100]
[null,null,null,null,150]
[null,null,null,null,162]
[null,null,null,null,200]
[null,null,null,null,205]
[null,null,null,null,295]
[null,null,null,null,300]
[null,null,null,null,305]
[null,null,null,null,400]
[null,null,null,null,493]
[null,null,null,null,495]
[null,null,null,null,496]
[null,null,null,null,500]
[null,null,null,null,600]
[]
["Relevé des points de mesure :"]
[]
["N° de point","Longueur L (mm)","Ecart (µm)"]
[1,{"$f":"IF($B$1=50,3,IF($B$1=75,3,IF($B$1=81,3,IF($B$1=100,4,IF($B$1=150,4,IF($B$1=162,8,IF($B$1=200,4,IF($B$1=205,4,IF($B$1=295,5,IF($B$1=300,4,IF($B$1=305,4,IF($B$1=400,5,IF($B$1=493,5,IF($B$1=495,5,IF($B$1=496,5,IF($B$1=500,5,IF($B$1=600,6,\"\")))))))))))))))))","v":5},2]
[2,{"$f":"IF($B$1=50,7,IF($B$1=75,8,IF($B$1=81,8,IF($B$1=100,10,IF($B$1=150,16,IF($B$1=162,16,IF($B$1=200,20,IF($B$1=205,20,IF($B$1=295,20,IF($B$1=300,20,IF($B$1=305,19,IF($B$1=400,25,IF($B$1=493,33,IF($B$1=495,33,IF($B$1=496,33,IF($B$1=500,33,IF($B$1=600,36,\"\")))))))))))))))))","v":25},12]
[3,{"$f":"IF($B$1=50,11,IF($B$1=75,13,IF($B$1=81,13,IF($B$1=100,18,IF($B$1=150,28,IF($B$1=162,28,IF($B$1=200,36,IF($B$1=205,36,IF($B$1=295,36,IF($B$1=300,36,IF($B$1=305,34,IF($B$1=400,50,IF($B$1=493,66,IF($B$1=495,66,IF($B$1=496,66,IF($B$1=500,66,IF($B$1=600,67,\"\")))))))))))))))))","v":50},10]
[4,{"$f":"IF($B$1=50,15,IF($B$1=75,18,IF($B$1=81,18,IF($B$1=100,26,IF($B$1=150,40,IF($B$1=162,40,IF($B$1=200,52,IF($B$1=205,52,IF($B$1=295,52,IF($B$1=300,52,IF($B$1=305,49,IF($B$1=400,75,IF($B$1=493,99,IF($B$1=495,99,IF($B$1=496,99,IF($B$1=500,99,IF($B$1=600,98,\"\")))))))))))))))))","v":75},5]
[5,{"$f":"IF($B$1=50,19,IF($B$1=75,23,IF($B$1=81,23,IF($B$1=100,34,IF($B$1=150,52,IF($B$1=162,52,IF($B$1=200,68,IF($B$1=205,68,IF($B$1=295,68,IF($B$1=300,68,IF($B$1=305,64,IF($B$1=400,100,IF($B$1=493,132,IF($B$1=495,132,IF($B$1=496,132,IF($B$1=500,132,IF($B$1=600,129,\"\")))))))))))))))))","v":100},4]
[6,{"$f":"IF($B$1=50,23,IF($B$1=75,28,IF($B$1=81,28,IF($B$1=100,42,IF($B$1=150,64,IF($B$1=162,64,IF($B$1=200,84,IF($B$1=205,84,IF($B$1=295,84,IF($B$1=300,84,IF($B$1=305,79,IF($B$1=400,125,IF($B$1=493,165,IF($B$1=495,165,IF($B$1=496,165,IF($B$1=500,165,IF($B$1=600,160,\"\")))))))))))))))))","v":125},5]
[7,{"$f":"IF($B$1=50,27,IF($B$1=75,33,IF($B$1=81,33,IF($B$1=100,50,IF($B$1=150,76,IF($B$1=162,76,IF($B$1=200,100,IF($B$1=205,100,IF($B$1=295,100,IF($B$1=300,100,IF($B$1=305,94,IF($B$1=400,150,IF($B$1=493,198,IF($B$1=495,198,IF($B$1=496,198,IF($B$1=500,198,IF($B$1=600,191,\"\")))))))))))))))))","v":150},0]
[8,{"$f":"IF($B$1=50,31,IF($B$1=75,38,IF($B$1=81,38,IF($B$1=100,58,IF($B$1=150,88,IF($B$1=162,88,IF($B$1=200,116,IF($B$1=205,116,IF($B$1=295,116,IF($B$1=300,116,IF($B$1=305,109,IF($B$1=400,175,IF($B$1=493,231,IF($B$1=495,231,IF($B$1=496,231,IF($B$1=500,231,IF($B$1=600,222,\"\")))))))))))))))))","v":175},-1]
[9,{"$f":"IF($B$1=50,35,IF($B$1=75,43,IF($B$1=81,43,IF($B$1=100,66,IF($B$1=150,100,IF($B$1=162,100,IF($B$1=200,132,IF($B$1=205,132,IF($B$1=295,132,IF($B$1=300,132,IF($B$1=305,124,IF($B$1=400,200,IF($B$1=493,264,IF($B$1=495,264,IF($B$1=496,264,IF($B$1=500,264,IF($B$1=600,253,\"\")))))))))))))))))","v":200},-6]
[10,{"$f":"IF($B$1=50,39,IF($B$1=75,48,IF($B$1=81,48,IF($B$1=100,74,IF($B$1=150,112,IF($B$1=162,112,IF($B$1=200,148,IF($B$1=205,148,IF($B$1=295,148,IF($B$1=300,148,IF($B$1=305,139,IF($B$1=400,225,IF($B$1=493,297,IF($B$1=495,297,IF($B$1=496,297,IF($B$1=500,297,IF($B$1=600,284,\"\")))))))))))))))))","v":225},-10]
[11,{"$f":"IF($B$1=50,43,IF($B$1=75,53,IF($B$1=81,53,IF($B$1=100,82,IF($B$1=150,124,IF($B$1=162,124,IF($B$1=200,164,IF($B$1=205,164,IF($B$1=295,164,IF($B$1=300,164,IF($B$1=305,154,IF($B$1=400,250,IF($B$1=493,330,IF($B$1=495,330,IF($B$1=496,330,IF($B$1=500,330,IF($B$1=600,315,\"\")))))))))))))))))","v":250},-11]
[12,{"$f":"IF($B$1=50,47,IF($B$1=75,58,IF($B$1=81,58,IF($B$1=100,90,IF($B$1=150,136,IF($B$1=162,136,IF($B$1=200,180,IF($B$1=205,180,IF($B$1=295,180,IF($B$1=300,180,IF($B$1=305,169,IF($B$1=400,275,IF($B$1=493,363,IF($B$1=495,363,IF($B$1=496,363,IF($B$1=500,363,IF($B$1=600,346,\"\")))))))))))))))))","v":275},-7]
[{"$f":"IF(B35=\"\",\"\",13)","v":13},{"$f":"IF($B$1=75,63,IF($B$1=81,63,IF($B$1=100,96,IF($B$1=150,146,IF($B$1=162,148,IF($B$1=200,196,IF($B$1=205,196,IF($B$1=295,196,IF($B$1=300,196,IF($B$1=305,184,IF($B$1=400,300,IF($B$1=493,396,IF($B$1=495,396,IF($B$1=496,396,IF($B$1=500,396,IF($B$1=600,377,\"\"))))))))))))))))","v":300},-3]
[{"$f":"IF(B36=\"\",\"\",14)","v":14},{"$f":"IF($B$1=75,68,IF($B$1=81,68,IF($B$1=162,158,IF($B$1=205,201,IF($B$1=295,212,IF($B$1=300,212,IF($B$1=305,199,IF($B$1=400,325,IF($B$1=493,429,IF($B$1=495,429,IF($B$1=496,429,IF($B$1=500,429,IF($B$1=600,408,\"\")))))))))))))","v":325},2]
[{"$f":"IF(B37=\"\",\"\",15)","v":15},{"$f":"IF($B$1=75,73,IF($B$1=81,73,IF($B$1=295,228,IF($B$1=300,228,IF($B$1=305,214,IF($B$1=400,350,IF($B$1=493,462,IF($B$1=495,462,IF($B$1=496,462,IF($B$1=500,462,IF($B$1=600,439,\"\")))))))))))","v":350},9]
[{"$f":"IF(B38=\"\",\"\",16)","v":16},{"$f":"IF($B$1=81,78,IF($B$1=295,244,IF($B$1=300,244,IF($B$1=305,229,IF($B$1=400,375,IF($B$1=493,488,IF($B$1=495,490,IF($B$1=496,492,IF($B$1=500,495,IF($B$1=600,470,\"\"))))))))))","v":375},9]
[{"$f":"IF(B39=\"\",\"\",17)","v":17},{"$f":"IF($B$1=295,260,IF($B$1=300,260,IF($B$1=305,244,IF($B$1=400,393,IF($B$1=600,501,\"\")))))","v":393},-1]
[{"$f":"IF(B40=\"\",\"\",18)","v":""},{"$f":"IF($B$1=295,270,IF($B$1=300,276,IF($B$1=305,259,IF($B$1=600,532,\"\"))))","v":""}]
[{"$f":"IF(B41=\"\",\"\",19)","v":""},{"$f":"IF($B$1=295,288,IF($B$1=300,292,IF($B$1=305,274,IF($B$1=600,563,\"\"))))","v":""}]
[{"$f":"IF(B42=\"\",\"\",20)","v":""},{"$f":"IF($B$1=305,289,IF($B$1=600,594,\"\"))","v":""}]
[{"$f":"IF(B43=\"\",\"\",21)","v":""},{"$f":"IF($B$1=305,301,\"\")","v":""}]
[]
[]
[{"$f":"INDEX(B23:C43,CELL(\"contenu\",A47)-22,1)","v":25},{"$f":"INDEX(B23:C43,CELL(\"contenu\",B47)-22,1)","v":250}]
[{"$f":"LARGE(IF(Ecart__µm=MAX(Ecart__µm),ROW(Ecart__µm)),1)","v":24},{"$f":"LARGE(IF(Ecart__µm=MIN(Ecart__µm),ROW(Ecart__µm)),1)","v":33}]
["rectitude"]
["max","min"]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B23-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B23-$A$46)+MAX($C$23:$C$43))","v":12.32011063649359},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B23-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B23-$B$46)+MIN($C$23:$C$43))","v":-7.0786447029535182}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B24-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B24-$A$46)+MAX($C$23:$C$43))","v":12},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B24-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B24-$B$46)+MIN($C$23:$C$43))","v":-7.3987553394471082}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B25-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B25-$A$46)+MAX($C$23:$C$43))","v":11.599861704383011},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B25-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B25-$B$46)+MIN($C$23:$C$43))","v":-7.7988936350640961}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B26-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B26-$A$46)+MAX($C$23:$C$43))","v":11.199723408766024},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B26-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B26-$B$46)+MIN($C$23:$C$43))","v":-8.1990319306810839}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B27-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B27-$A$46)+MAX($C$23:$C$43))","v":10.799585113149035},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B27-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B27-$B$46)+MIN($C$23:$C$43))","v":-8.5991702262980727}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B28-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B28-$A$46)+MAX($C$23:$C$43))","v":10.399446817532048},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B28-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B28-$B$46)+MIN($C$23:$C$43))","v":-8.9993085219150597}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B29-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B29-$A$46)+MAX($C$23:$C$43))","v":9.9993085219150597},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B29-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B29-$B$46)+MIN($C$23:$C$43))","v":-9.3994468175320485}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B30-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B30-$A$46)+MAX($C$23:$C$43))","v":9.5991702262980727},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B30-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B30-$B$46)+MIN($C$23:$C$43))","v":-9.7995851131490355}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B31-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B31-$A$46)+MAX($C$23:$C$43))","v":9.1990319306810839},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B31-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B31-$B$46)+MIN($C$23:$C$43))","v":-10.199723408766024}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B32-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B32-$A$46)+MAX($C$23:$C$43))","v":8.7988936350640969},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B32-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B32-$B$46)+MIN($C$23:$C$43))","v":-10.599861704383011}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B33-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B33-$A$46)+MAX($C$23:$C$43))","v":8.3987553394471082},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B33-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B33-$B$46)+MIN($C$23:$C$43))","v":-11}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B34-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B34-$A$46)+MAX($C$23:$C$43))","v":7.9986170438301203},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B34-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B34-$B$46)+MIN($C$23:$C$43))","v":-11.400138295616989}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B35-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B35-$A$46)+MAX($C$23:$C$43))","v":7.5984787482131324},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B35-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B35-$B$46)+MIN($C$23:$C$43))","v":-11.800276591233976}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B36-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B36-$A$46)+MAX($C$23:$C$43))","v":7.1983404525961445},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B36-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B36-$B$46)+MIN($C$23:$C$43))","v":-12.200414886850965}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B37-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B37-$A$46)+MAX($C$23:$C$43))","v":6.7982021569791566},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B37-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B37-$B$46)+MIN($C$23:$C$43))","v":-12.600553182467952}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B38-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B38-$A$46)+MAX($C$23:$C$43))","v":6.3980638613621688},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B38-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B38-$B$46)+MIN($C$23:$C$43))","v":-13.00069147808494}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B39-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B39-$A$46)+MAX($C$23:$C$43))","v":6.1099642885179373},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B39-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B39-$B$46)+MIN($C$23:$C$43))","v":-13.288791050929172}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B40-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B40-$A$46)+MAX($C$23:$C$43))","v":{"$error":"#VALUE!"}},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B40-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B40-$B$46)+MIN($C$23:$C$43))","v":{"$error":"#VALUE!"}}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B41-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B41-$A$46)+MAX($C$23:$C$43))","v":{"$error":"#VALUE!"}},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B41-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B41-$B$46)+MIN($C$23:$C$43))","v":{"$error":"#VALUE!"}}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B42-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B42-$A$46)+MAX($C$23:$C$43))","v":{"$error":"#VALUE!"}},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B42-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B42-$B$46)+MIN($C$23:$C$43))","v":{"$error":"#VALUE!"}}]
[{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)>=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B43-INDEX($B$23:$C$43,MATCH(MAX($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MAX($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B43-$A$46)+MAX($C$23:$C$43))","v":{"$error":"#VALUE!"}},{"$f":"IF(SLOPE($C$23:$C$43,$B$23:$B$43)<=0,SLOPE($C$23:$C$43,$B$23:$B$43)*(B43-INDEX($B$23:$C$43,MATCH(MIN($C$23:$C$43),$C$23:$C$43,0),MATCH(Longueur_L__mm,$B$23:$B$43,0)))+MIN($C$23:$C$43),SLOPE($C$23:$C$43,$B$23:$B$43)*(B43-$B$46)+MIN($C$23:$C$43))","v":{"$error":"#VALUE!"}}]