{"text_format":"1","workbook":"xlsx","n_sheets":5,"sheets":["Interface","CHIFFRAGE","BDD","Paramètres","Facteurs de corrections"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":1,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Interface","index":0,"n_rows":14,"n_cols":16,"rows_kept":14,"cut":false,"hidden":false,"merged":[[5,15,6,15],[1,14,1,15]]}
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Légende"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Modèle","selection d'un modèle dans la BDD"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"T1/T2/Tr","change T1/T2/Tr dans la BDD"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Type","selection eventuelle d'un type dans la BDD"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Hauteur","délimitation eventuelle des dimensions"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Longueur"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Puissance","correspond à la puissance corrigée recherchée dans la BDD"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"+/- x %","correspond à la puissance corrigée recherchée à +/- \"x\"% prêt"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Local","correspond à une zone de saisie libre"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Quantité","correspond à une zone de saisie libre"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Valider","insert la reference, le local et la quantité dans le tableau chiffrage"]

{"sheet":"CHIFFRAGE","index":1,"n_rows":39,"n_cols":16,"rows_kept":39,"cut":false,"hidden":false,"merged":[[16,4,16,7],[7,1,7,3],[12,4,12,7],[13,4,13,7],[14,4,14,7],[15,4,15,7],[28,4,28,7],[17,4,17,7],[18,4,18,7],[19,4,19,7],[20,4,20,7],[21,4,21,7],[22,4,22,7],[23,4,23,7],[24,4,24,7],[25,4,25,7],[26,4,26,7],[27,4,27,7],[38,0,38,1],[29,4,29,7],[30,4,30,7],[31,4,31,7],[32,4,32,7],[33,4,33,7],[34,4,34,7],[35,4,35,7],[36,4,36,7],[37,4,37,7]]}
[]
[null,null,null,null,null,null,null,null,"T1",65]
[null,null,null,null,null,null,null,null,"T2",55]
[null,null,null,null,null,null,null,null,"Tr",22]
[]
[]
["Date:"]
["Numéro"]
["Emetteur","Sacha"]
["Destinataire"]
[]
[]
["pos.","local","Qté","référence","désignation",null,null,null,{"$f":"\"T1\"&CHAR(176)&\"C\"","v":"T1°C"},{"$f":"\"T2\"&CHAR(176)&\"C\"","v":"T2°C"},{"$f":"\"Tr\"&CHAR(176)&\"C\"","v":"Tr°C"},"Watt","prix unit\nEUR HT","prix net unit.\nEUR HT","prix net total\nEUR HT","Remise.\n[%]"]
["001"]
["002","chambre",1,"RRN2005000622MA",{"$f":"VLOOKUP(D15,BDD!B:C,2,0)","v":"Tubulaire 2 col. 0500x270x65 234W Blanc"},null,null,null,{"$f":"$J$2","v":65},{"$f":"$J$3","v":55},{"$f":"$J$4","v":22},{"$f":"VLOOKUP(D15,BDD!B:M,11,0)","v":164.0574},{"$f":"VLOOKUP(D15,BDD!B:K,10,0)","v":5},{"$f":"+M15-M15*P15","v":5},{"$f":"+N15*C15","v":5}]
["003",null,null,null,{"$f":"VLOOKUP(D16,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D16,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D16,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$f":"+M16-M16*P16","v":{"$error":"#N/A"}},{"$f":"+N16*C16","v":{"$error":"#N/A"}}]
["004",null,null,null,{"$f":"VLOOKUP(D17,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D17,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D17,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["005",null,null,null,{"$f":"VLOOKUP(D18,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D18,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D18,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["006",null,null,null,{"$f":"VLOOKUP(D19,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D19,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D19,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["007",null,null,null,{"$f":"VLOOKUP(D20,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D20,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D20,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["008",null,null,null,{"$f":"VLOOKUP(D21,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D21,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D21,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["009",null,null,null,{"$f":"VLOOKUP(D22,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D22,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D22,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["010",null,null,null,{"$f":"VLOOKUP(D23,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D23,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D23,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["011",null,null,null,{"$f":"VLOOKUP(D24,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D24,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D24,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["012",null,null,null,{"$f":"VLOOKUP(D25,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D25,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D25,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["013",null,null,null,{"$f":"VLOOKUP(D26,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D26,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D26,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["014",null,null,null,{"$f":"VLOOKUP(D27,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D27,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D27,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["015",null,null,null,{"$f":"VLOOKUP(D28,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D28,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D28,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["016",null,null,null,{"$f":"VLOOKUP(D29,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D29,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D29,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["017",null,null,null,{"$f":"VLOOKUP(D30,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D30,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D30,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["018",null,null,null,{"$f":"VLOOKUP(D31,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D31,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D31,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["019",null,null,null,{"$f":"VLOOKUP(D32,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D32,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D32,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["020",null,null,null,{"$f":"VLOOKUP(D33,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D33,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D33,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["021",null,null,null,{"$f":"VLOOKUP(D34,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D34,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D34,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$f":"+M34-M34*P34","v":{"$error":"#N/A"}},{"$f":"+N34*C34","v":{"$error":"#N/A"}}]
["022",null,null,null,{"$f":"VLOOKUP(D35,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D35,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D35,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["023",null,null,null,{"$f":"VLOOKUP(D36,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D36,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D36,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["024",null,null,null,{"$f":"VLOOKUP(D37,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D37,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D37,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["025",null,null,null,{"$f":"VLOOKUP(D38,BDD!B:C,2,0)","v":{"$error":"#N/A"}},null,null,null,65,55,22,{"$f":"VLOOKUP(D38,BDD!B:M,11,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(D38,BDD!B:K,10,0)","v":{"$error":"#N/A"}},{"$error":"#N/A"},{"$error":"#N/A"}]
["total",null,{"$f":"SUM(C15:C38)","v":1},null,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(O14:O38)","v":{"$error":"#N/A"}}]

{"sheet":"BDD","index":2,"n_rows":12,"n_cols":13,"rows_kept":12,"cut":false,"hidden":false,"merged":[[1,9,3,9]]}
[]
[null,null,null,null,null,null,null,"T1",{"$f":"+CHIFFRAGE!J2","v":65},{"$f":"(I2+I3)/2-I4","v":38}]
[null,null,null,null,null,null,null,"T2",{"$f":"+CHIFFRAGE!J3","v":55}]
[null,null,null,null,null,null,null,"Tr",{"$f":"+CHIFFRAGE!J4","v":22}]
[]
[]
[]
["MODELE","REFERENCE","DESIGNATION TEXTE","TYPE","HAUTEUR EN MM","LONGUEUR EN MM","PROF. EN MM","Exposant","PUISSANCE EN WATT","COULEUR","Prix","PUISSANCE CORRIGEE","COEFFICIENT"]
["Tubulaire","RRN2005000622MA","Tubulaire 2 col. 0500x270x65 234W Blanc","RRN20",500,270,65,1.31,234,"RAL9016",5,{"$f":"+I9*M9","v":164.0574},{"$f":"VLOOKUP(ROUND($J$2,0),'Facteurs de corrections'!$A$6:$AA$73,HLOOKUP(ROUND(H9,2),'Facteurs de corrections'!$A$6:$AA$73,68,FALSE),FALSE)","v":0.70109999999999995}]
["Tubulaire","RRN2005000722MA","Tubulaire 2 col. 0500x315x65 273W Blanc","RRN20",500,315,65,1.31,273,"RAL9016",10,{"$f":"+I10*M10","v":191.40029999999999},{"$f":"VLOOKUP(ROUND($J$2,0),'Facteurs de corrections'!$A$6:$AA$73,HLOOKUP(ROUND(H10,2),'Facteurs de corrections'!$A$6:$AA$73,68,FALSE),FALSE)","v":0.70109999999999995}]
["FK0","FK0220610W02","Panneaux type 22 600x1000x100 998W blanc","FK022",600,1000,100,1.28,998,"RAL9016",15,{"$f":"+I11*M11","v":705.38639999999998},{"$f":"VLOOKUP(ROUND($J$2,0),'Facteurs de corrections'!$A$6:$AA$73,HLOOKUP(ROUND(H11,2),'Facteurs de corrections'!$A$6:$AA$73,68,FALSE),FALSE)","v":0.70679999999999998}]
["FTP","FTP120750601R2K","panneaux type 12 750x600x64 625W blanc","FTP12",750,600,64,1.26,625,"RAL9016",20,444.1875,{"$f":"VLOOKUP(ROUND($J$2,0),'Facteurs de corrections'!$A$6:$AA$73,HLOOKUP(ROUND(H12,2),'Facteurs de corrections'!$A$6:$AA$73,68,FALSE),FALSE)","v":0.7107}]

{"sheet":"Paramètres","index":3,"n_rows":4,"n_cols":7,"rows_kept":4,"cut":false,"hidden":false,"merged":[]}
["Modèle","Type","Hauteur","Longueur","Puissance","Couple","Type filtré"]
["Tubulaire","RRN20",500,270,234,"TubulaireRRN20","RRN20"]
["FK0","FK022",600,1000,998,"FK0FK022"]
["FTP","FTP12",750,600,625,"FTPFTP12"]

{"sheet":"Facteurs de corrections","index":4,"n_rows":73,"n_cols":28,"rows_kept":73,"cut":false,"hidden":false,"merged":[[4,0,5,0],[4,27,5,27],[4,1,4,26]]}
[]
[]
[]
[]
["T [K]","Exponent n",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"T [K]"]
[null,1.17,1.18,1.19,1.2,1.21,1.22,1.23,1.24,1.25,1.26,1.27,1.28,1.29,1.3,1.31,1.32,1.33,1.34,1.35,1.36,1.37,1.38,1.39,1.4,1.41,1.46]
[15,0.24540000000000001,0.24249999999999999,0.23960000000000001,0.23680000000000001,0.2339,0.2311,0.22839999999999999,0.22570000000000001,0.223,0.2203,0.2177,0.21510000000000001,0.21249999999999999,0.21,0.20749999999999999,0.20499999999999999,0.2026,0.2001,0.19769999999999999,0.19539999999999999,0.19309999999999999,0.1908,0.1885,0.1862,0.184,0.17330000000000001,15]
[16,0.26469999999999999,0.26169999999999999,0.25879999999999997,0.25580000000000003,0.25290000000000001,0.25009999999999999,0.24729999999999999,0.2445,0.2417,0.23899999999999999,0.23630000000000001,0.2336,0.23100000000000001,0.22839999999999999,0.2258,0.22320000000000001,0.22070000000000001,0.21820000000000001,0.2157,0.21329999999999999,0.2109,0.20849999999999999,0.20619999999999999,0.20380000000000001,0.20150000000000001,0.19040000000000001,16]
[17,0.28420000000000001,0.28110000000000002,0.27810000000000001,0.27510000000000001,0.2722,0.26929999999999998,0.26640000000000003,0.2636,0.26069999999999999,0.25790000000000002,0.25519999999999998,0.2525,0.24979999999999999,0.24709999999999999,0.24440000000000001,0.24179999999999999,0.2392,0.23669999999999999,0.2341,0.2316,0.22919999999999999,0.22670000000000001,0.2243,0.22189999999999999,0.2195,0.20799999999999999,17]
[18,0.30380000000000001,0.30070000000000002,0.29770000000000002,0.29470000000000002,0.29170000000000001,0.28870000000000001,0.2858,0.28289999999999998,0.28000000000000003,0.2772,0.27439999999999998,0.27160000000000001,0.26889999999999997,0.2661,0.26340000000000002,0.26079999999999998,0.2581,0.2555,0.25290000000000001,0.25040000000000001,0.24779999999999999,0.24529999999999999,0.24279999999999999,0.2404,0.2379,0.2261,18]
[19,0.32369999999999999,0.32050000000000001,0.3175,0.31440000000000001,0.31140000000000001,0.30840000000000001,0.30549999999999999,0.30249999999999999,0.29959999999999998,0.29680000000000001,0.29389999999999999,0.29110000000000003,0.2883,0.28549999999999998,0.2828,0.28010000000000002,0.27739999999999998,0.2747,0.27210000000000001,0.26950000000000002,0.26690000000000003,0.26429999999999998,0.26179999999999998,0.25929999999999997,0.25679999999999997,0.2447,19]
[20,0.34360000000000002,0.34050000000000002,0.33739999999999998,0.33439999999999998,0.33129999999999998,0.32829999999999998,0.32529999999999998,0.32240000000000002,0.31940000000000002,0.3165,0.31369999999999998,0.31080000000000002,0.308,0.30520000000000003,0.3024,0.29970000000000002,0.2969,0.29420000000000002,0.29160000000000003,0.28889999999999999,0.2863,0.28370000000000001,0.28110000000000002,0.27860000000000001,0.27600000000000002,0.26369999999999999,20]
[21,0.36380000000000001,0.36070000000000002,0.35759999999999997,0.35449999999999998,0.35149999999999998,0.34839999999999999,0.34539999999999998,0.34250000000000003,0.33950000000000002,0.33660000000000001,0.3337,0.33079999999999998,0.32800000000000001,0.32519999999999999,0.32240000000000002,0.3196,0.31690000000000002,0.31409999999999999,0.31140000000000001,0.30869999999999997,0.30609999999999998,0.30349999999999999,0.3009,0.29830000000000001,0.29570000000000002,0.28320000000000001,21]
[22,0.38419999999999999,0.38109999999999999,0.378,0.37490000000000001,0.37180000000000002,0.36880000000000002,0.36580000000000001,0.36280000000000001,0.3599,0.3569,0.35399999999999998,0.35110000000000002,0.3483,0.34539999999999998,0.34260000000000002,0.33979999999999999,0.33710000000000001,0.33429999999999999,0.33160000000000001,0.32890000000000003,0.32619999999999999,0.3236,0.32100000000000001,0.31830000000000003,0.31569999999999998,0.30309999999999998,22]
[23,0.4047,0.40160000000000001,0.39850000000000002,0.39539999999999997,0.39240000000000003,0.38929999999999998,0.38629999999999998,0.38340000000000002,0.38040000000000002,0.3775,0.37459999999999999,0.37169999999999997,0.36880000000000002,0.36599999999999999,0.36320000000000002,0.3604,0.35759999999999997,0.3548,0.35210000000000002,0.34939999999999999,0.34670000000000001,0.34399999999999997,0.34139999999999998,0.33879999999999999,0.3362,0.32340000000000002,23]
[24,0.4254,0.42230000000000001,0.41920000000000002,0.41610000000000003,0.41310000000000002,0.41010000000000002,0.40710000000000002,0.40410000000000001,0.4012,0.39829999999999999,0.39539999999999997,0.39250000000000002,0.38969999999999999,0.38679999999999998,0.38400000000000001,0.38119999999999998,0.37840000000000001,0.37569999999999998,0.37290000000000001,0.37019999999999997,0.36749999999999999,0.3649,0.36220000000000002,0.35959999999999998,0.3569,0.34410000000000002,24]
[25,0.44619999999999999,0.44309999999999999,0.44009999999999999,0.437,0.434,0.43099999999999999,0.42809999999999998,0.42509999999999998,0.42220000000000002,0.41930000000000001,0.41639999999999999,0.41360000000000002,0.41070000000000001,0.40789999999999998,0.40510000000000002,0.40229999999999999,0.39950000000000002,0.39679999999999999,0.39410000000000001,0.39140000000000003,0.38869999999999999,0.38600000000000001,0.38340000000000002,0.38069999999999998,0.37809999999999999,0.36530000000000001,25]
[26,0.46710000000000002,0.46410000000000001,0.46110000000000001,0.45810000000000001,0.4551,0.45219999999999999,0.44919999999999999,0.44629999999999997,0.44340000000000002,0.44059999999999999,0.43769999999999998,0.43490000000000001,0.432,0.42920000000000003,0.42649999999999999,0.42370000000000002,0.4209,0.41820000000000002,0.41549999999999998,0.4128,0.41010000000000002,0.40749999999999997,0.40489999999999998,0.4022,0.39960000000000001,0.38679999999999998,26]
[27,0.48820000000000002,0.48520000000000002,0.48230000000000001,0.4793,0.47639999999999999,0.47349999999999998,0.47060000000000002,0.4677,0.46479999999999999,0.46200000000000002,0.4592,0.45639999999999997,0.4536,0.45079999999999998,0.4481,0.44529999999999997,0.44259999999999999,0.43990000000000001,0.43719999999999998,0.4345,0.43190000000000001,0.42920000000000003,0.42670000000000002,0.42409999999999998,0.4214,0.40870000000000001,27]
[28,0.50939999999999996,0.50649999999999995,0.50360000000000005,0.50070000000000003,0.49780000000000002,0.495,0.49209999999999998,0.48930000000000001,0.48649999999999999,0.48370000000000002,0.48089999999999999,0.47810000000000002,0.47539999999999999,0.47260000000000002,0.46989999999999998,0.4672,0.46450000000000002,0.46189999999999998,0.4592,0.45660000000000001,0.45400000000000001,0.45129999999999998,0.44879999999999998,0.44619999999999999,0.44359999999999999,0.43099999999999999,28]
[29,0.53080000000000005,0.52790000000000004,0.52510000000000001,0.5222,0.51939999999999997,0.51659999999999995,0.51380000000000003,0.51100000000000001,0.50829999999999997,0.50549999999999995,0.50280000000000002,0.50009999999999999,0.49740000000000001,0.49469999999999997,0.49199999999999999,0.4894,0.48670000000000002,0.48409999999999997,0.48149999999999998,0.47889999999999999,0.4763,0.47370000000000001,0.47120000000000001,0.46870000000000001,0.46610000000000001,0.45369999999999999,29]
[30,0.55230000000000001,0.54949999999999999,0.54669999999999996,0.54390000000000005,0.54120000000000001,0.53839999999999999,0.53569999999999995,0.53300000000000003,0.53029999999999999,0.52759999999999996,0.52490000000000003,0.52229999999999999,0.51959999999999995,0.51700000000000002,0.51439999999999997,0.51180000000000003,0.50919999999999999,0.50660000000000005,0.504,0.50149999999999995,0.499,0.49640000000000001,0.49399999999999999,0.49149999999999999,0.4889,0.47670000000000001,30]
[31,0.57389999999999997,0.57110000000000005,0.56840000000000002,0.56569999999999998,0.56310000000000004,0.56040000000000001,0.55769999999999997,0.55510000000000004,0.55249999999999999,0.54990000000000006,0.54720000000000002,0.54469999999999996,0.54210000000000003,0.53949999999999998,0.53700000000000003,0.53439999999999999,0.53190000000000004,0.52939999999999998,0.52690000000000003,0.52439999999999998,0.52190000000000003,0.51939999999999997,0.51700000000000002,0.51449999999999996,0.5121,0.50009999999999999,31]
[32,0.59560000000000002,0.59289999999999998,0.59030000000000005,0.5877,0.58509999999999995,0.58250000000000002,0.57989999999999997,0.57740000000000002,0.57479999999999998,0.57230000000000003,0.56979999999999997,0.56720000000000004,0.56469999999999998,0.56220000000000003,0.55979999999999996,0.55730000000000002,0.55479999999999996,0.5524,0.54990000000000006,0.54749999999999999,0.54510000000000003,0.54269999999999996,0.5403,0.53790000000000004,0.53549999999999998,0.52380000000000004,32]
[33,0.61739999999999995,0.6149,0.61229999999999996,0.60980000000000001,0.60729999999999995,0.6048,0.60229999999999995,0.5998,0.59740000000000004,0.59489999999999998,0.59250000000000003,0.59,0.58760000000000001,0.58520000000000005,0.58279999999999998,0.58040000000000003,0.57799999999999996,0.5756,0.57330000000000003,0.57089999999999996,0.56850000000000001,0.56620000000000004,0.56389999999999996,0.56159999999999999,0.55930000000000002,0.54779999999999995,33]
[34,0.63929999999999998,0.63690000000000002,0.63449999999999995,0.6321,0.62960000000000005,0.62719999999999998,0.62480000000000002,0.62250000000000005,0.62009999999999998,0.61770000000000003,0.61539999999999995,0.61299999999999999,0.61070000000000002,0.60829999999999995,0.60599999999999998,0.60370000000000001,0.60140000000000005,0.59909999999999997,0.5968,0.59460000000000002,0.59230000000000005,0.59,0.58779999999999999,0.58560000000000001,0.58330000000000004,0.57220000000000004,34]
[35,0.66139999999999999,0.65910000000000002,0.65669999999999995,0.65439999999999998,0.65210000000000001,0.64980000000000004,0.64749999999999996,0.6452,0.64300000000000002,0.64070000000000005,0.63839999999999997,0.63619999999999999,0.63390000000000002,0.63170000000000004,0.62949999999999995,0.62729999999999997,0.625,0.62280000000000002,0.62060000000000004,0.61850000000000005,0.61629999999999996,0.61409999999999998,0.61199999999999999,0.60980000000000001,0.60760000000000003,0.59699999999999998,35]
[36,0.68359999999999999,0.68130000000000002,0.67910000000000004,0.67689999999999995,0.67469999999999997,0.67249999999999999,0.6704,0.66820000000000002,0.66600000000000004,0.66390000000000005,0.66169999999999995,0.65949999999999998,0.65739999999999998,0.65529999999999999,0.65310000000000001,0.65100000000000002,0.64890000000000003,0.64680000000000004,0.64470000000000005,0.64259999999999995,0.64049999999999996,0.63839999999999997,0.63639999999999997,0.63439999999999996,0.63219999999999998,0.62209999999999999,36]
[37,0.70579999999999998,0.70369999999999999,0.7016,0.6996,0.69750000000000001,0.69540000000000002,0.69330000000000003,0.69130000000000003,0.68920000000000003,0.68720000000000003,0.68510000000000004,0.68310000000000004,0.68110000000000004,0.67900000000000005,0.67700000000000005,0.67500000000000004,0.67300000000000004,0.67100000000000004,0.66900000000000004,0.66700000000000004,0.66500000000000004,0.66300000000000003,0.66110000000000002,0.65920000000000001,0.65720000000000001,0.64739999999999998,37]
[38,0.72819999999999996,0.72619999999999996,0.72430000000000005,0.72230000000000005,0.72030000000000005,0.71840000000000004,0.71650000000000003,0.71450000000000002,0.71260000000000001,0.7107,0.7087,0.70679999999999998,0.70489999999999997,0.70299999999999996,0.70109999999999995,0.69920000000000004,0.69730000000000003,0.69540000000000002,0.69350000000000001,0.69159999999999999,0.68979999999999997,0.68789999999999996,0.68610000000000004,0.68420000000000003,0.68230000000000002,0.67310000000000003,38]
[39,0.75070000000000003,0.74880000000000002,0.747,0.74519999999999997,0.74329999999999996,0.74150000000000005,0.73970000000000002,0.7379,0.73609999999999998,0.73429999999999995,0.73250000000000004,0.73070000000000002,0.72889999999999999,0.72709999999999997,0.72540000000000004,0.72360000000000002,0.7218,0.72,0.71830000000000005,0.71650000000000003,0.71479999999999999,0.71299999999999997,0.71130000000000004,0.70960000000000001,0.70779999999999998,0.69920000000000004,39]
[40,0.7732,0.77149999999999996,0.76990000000000003,0.76819999999999999,0.76649999999999996,0.76480000000000004,0.7631,0.76139999999999997,0.75980000000000003,0.7581,0.75639999999999996,0.75480000000000003,0.75309999999999999,0.75149999999999995,0.74980000000000002,0.74819999999999998,0.74650000000000005,0.74490000000000001,0.74319999999999997,0.74160000000000004,0.74,0.73839999999999995,0.73680000000000001,0.73519999999999996,0.73350000000000004,0.72550000000000003,40]
[41,0.79590000000000005,0.7944,0.79279999999999995,0.7913,0.78969999999999996,0.78820000000000001,0.78659999999999997,0.78510000000000002,0.78359999999999996,0.78210000000000002,0.78049999999999997,0.77900000000000003,0.77749999999999997,0.77600000000000002,0.77449999999999997,0.77300000000000002,0.77139999999999997,0.76990000000000003,0.76839999999999997,0.76690000000000003,0.76539999999999997,0.76400000000000001,0.76249999999999996,0.76100000000000001,0.75949999999999995,0.75209999999999999,41]
[42,0.81869999999999998,0.81730000000000003,0.81589999999999996,0.8145,0.81310000000000004,0.81169999999999998,0.81030000000000002,0.80889999999999995,0.8075,0.80620000000000003,0.80479999999999996,0.8034,0.80200000000000005,0.80069999999999997,0.79930000000000001,0.79790000000000005,0.79659999999999997,0.79520000000000002,0.79390000000000005,0.79249999999999998,0.79110000000000003,0.78979999999999995,0.78849999999999998,0.78720000000000001,0.78569999999999995,0.77910000000000001,42]
[43,0.84150000000000003,0.84030000000000005,0.83899999999999997,0.83779999999999999,0.83660000000000001,0.83530000000000004,0.83409999999999995,0.83289999999999997,0.83160000000000001,0.83040000000000003,0.82920000000000005,0.82799999999999996,0.82679999999999998,0.82550000000000001,0.82430000000000003,0.82310000000000005,0.82189999999999996,0.82069999999999999,0.81950000000000001,0.81830000000000003,0.81710000000000005,0.81589999999999996,0.81469999999999998,0.8135,0.81230000000000002,0.80630000000000002,43]
[44,0.86450000000000005,0.86339999999999995,0.86229999999999996,0.86119999999999997,0.86019999999999996,0.85909999999999997,0.85799999999999998,0.85699999999999998,0.85589999999999999,0.8548,0.8538,0.85270000000000001,0.85160000000000002,0.85060000000000002,0.84950000000000003,0.84850000000000003,0.84740000000000004,0.84640000000000004,0.84530000000000005,0.84430000000000005,0.84319999999999995,0.84219999999999995,0.84119999999999995,0.84009999999999996,0.83899999999999997,0.83379999999999999,44]
[45,0.88749999999999996,0.88660000000000005,0.88570000000000004,0.88480000000000003,0.88390000000000002,0.88300000000000001,0.8821,0.88119999999999998,0.88029999999999997,0.87939999999999996,0.87849999999999995,0.87760000000000005,0.87670000000000003,0.87580000000000002,0.87490000000000001,0.874,0.87309999999999999,0.87219999999999998,0.87129999999999996,0.87050000000000005,0.86960000000000004,0.86870000000000003,0.8679,0.86699999999999999,0.86599999999999999,0.86160000000000003,45]
[46,0.91059999999999997,0.90990000000000004,0.90920000000000001,0.90839999999999999,0.90769999999999995,0.90700000000000003,0.90620000000000001,0.90549999999999997,0.90480000000000005,0.90410000000000001,0.90339999999999998,0.90259999999999996,0.90190000000000003,0.9012,0.90049999999999997,0.89970000000000006,0.89900000000000002,0.89829999999999999,0.89759999999999995,0.89690000000000003,0.89610000000000001,0.89539999999999997,0.89480000000000004,0.89410000000000001,0.89329999999999998,0.88970000000000005,46]
[47,0.93379999999999996,0.93330000000000002,0.93269999999999997,0.93220000000000003,0.93159999999999998,0.93110000000000004,0.93049999999999999,0.93,0.92949999999999999,0.92889999999999995,0.9284,0.92779999999999996,0.92730000000000001,0.92669999999999997,0.92620000000000002,0.92569999999999997,0.92510000000000003,0.92459999999999998,0.92400000000000004,0.92349999999999999,0.92290000000000005,0.9224,0.92190000000000005,0.9214,0.92079999999999995,0.91810000000000003,47]
[48,0.95709999999999995,0.95669999999999999,0.95640000000000003,0.95599999999999996,0.95569999999999999,0.95530000000000004,0.95499999999999996,0.9546,0.95420000000000005,0.95389999999999997,0.95350000000000001,0.95320000000000005,0.95279999999999998,0.95240000000000002,0.95209999999999995,0.95169999999999999,0.95140000000000002,0.95099999999999996,0.95069999999999999,0.95030000000000003,0.95,0.9496,0.94930000000000003,0.94899999999999995,0.94850000000000001,0.94679999999999997,48]
[49,0.98050000000000004,0.98029999999999995,0.98009999999999997,0.98,0.9798,0.97960000000000003,0.97950000000000004,0.97929999999999995,0.97919999999999996,0.97899999999999998,0.9788,0.97870000000000001,0.97850000000000004,0.97829999999999995,0.97819999999999996,0.97799999999999998,0.9778,0.97770000000000001,0.97750000000000004,0.97729999999999995,0.97719999999999996,0.97699999999999998,0.97689999999999999,0.9768,0.97650000000000003,0.97570000000000001,49]
[50,1.0039,1.004,1.004,1.004,1.0041,1.0041,1.0041,1.0042,1.0042,1.0042,1.0043,1.0043,1.0043,1.0044,1.0044,1.0044,1.0044999999999999,1.0044999999999999,1.0044999999999999,1.0045999999999999,1.0045999999999999,1.0045999999999999,1.0046999999999999,1.0047999999999999,1.0046999999999999,1.0048999999999999,50]
[51,1.0275000000000001,1.0277000000000001,1.0279,1.0282,1.0284,1.0286,1.0288999999999999,1.0290999999999999,1.0294000000000001,1.0296000000000001,1.0298,1.0301,1.0303,1.0306,1.0307999999999999,1.0309999999999999,1.0313000000000001,1.0315000000000001,1.0317000000000001,1.032,1.0322,1.0325,1.0327999999999999,1.0329999999999999,1.0331999999999999,1.0344,51]
[52,1.0510999999999999,1.0515000000000001,1.052,1.0524,1.0528999999999999,1.0532999999999999,1.0538000000000001,1.0542,1.0546,1.0550999999999999,1.0555000000000001,1.056,1.0564,1.0569,1.0572999999999999,1.0578000000000001,1.0582,1.0587,1.0590999999999999,1.0596000000000001,1.0601,1.0605,1.0609999999999999,1.0615000000000001,1.0619000000000001,1.0641,52]
[53,1.0748,1.0753999999999999,1.0761000000000001,1.0767,1.0773999999999999,1.0781000000000001,1.0787,1.0793999999999999,1.0801000000000001,1.0807,1.0813999999999999,1.0821000000000001,1.0827,1.0833999999999999,1.0841000000000001,1.0847,1.0853999999999999,1.0861000000000001,1.0867,1.0873999999999999,1.0881000000000001,1.0887,1.0894999999999999,1.0902000000000001,1.0908,1.0941000000000001,53]
[54,1.0985,1.0993999999999999,1.1003000000000001,1.1012,1.1020000000000001,1.1029,1.1037999999999999,1.1047,1.1055999999999999,1.1065,1.1073999999999999,1.1083000000000001,1.1092,1.1100000000000001,1.1109,1.1117999999999999,1.1127,1.1135999999999999,1.1145,1.1153999999999999,1.1163000000000001,1.1172,1.1182000000000001,1.1191,1.1198999999999999,1.1244000000000001,54]
[55,1.1224000000000001,1.1234999999999999,1.1246,1.1256999999999999,1.1268,1.1278999999999999,1.129,1.1301000000000001,1.1312,1.1324000000000001,1.1335,1.1346000000000001,1.1356999999999999,1.1368,1.1379999999999999,1.1391,1.1402000000000001,1.1413,1.1425000000000001,1.1435999999999999,1.1447000000000001,1.1457999999999999,1.1471,1.1482000000000001,1.1492,1.1549,55]
[56,1.1463000000000001,1.1476,1.1489,1.1503000000000001,1.1516,1.153,1.1543000000000001,1.1556999999999999,1.157,1.1584000000000001,1.1597,1.1611,1.1624000000000001,1.1637999999999999,1.1651,1.1665000000000001,1.1678999999999999,1.1692,1.1706000000000001,1.1719999999999999,1.1733,1.1747000000000001,1.1761999999999999,1.1775,1.1788000000000001,1.1857,56]
[57,1.1702999999999999,1.1718,1.1734,1.175,1.1766000000000001,1.1780999999999999,1.1797,1.1813,1.1829000000000001,1.1845000000000001,1.1860999999999999,1.1877,1.1893,1.1909000000000001,1.1924999999999999,1.1940999999999999,1.1957,1.1973,1.1989000000000001,1.2004999999999999,1.2020999999999999,1.2037,1.2055,1.2071000000000001,1.2085999999999999,1.2168000000000001,57]
[58,1.1942999999999999,1.1960999999999999,1.1979,1.1998,1.2016,1.2034,1.2052,1.2071000000000001,1.2089000000000001,1.2107000000000001,1.2125999999999999,1.2143999999999999,1.2162999999999999,1.2181,1.22,1.2218,1.2237,1.2255,1.2274,1.2292000000000001,1.2311000000000001,1.2330000000000001,1.2350000000000001,1.2367999999999999,1.2385999999999999,1.248,58]
[59,1.2183999999999999,1.2204999999999999,1.2225999999999999,1.2245999999999999,1.2266999999999999,1.2287999999999999,1.2307999999999999,1.2329000000000001,1.2350000000000001,1.2371000000000001,1.2392000000000001,1.2413000000000001,1.2434000000000001,1.2455000000000001,1.2476,1.2497,1.2518,1.2539,1.256,1.2582,1.2603,1.2624,1.2646999999999999,1.2667999999999999,1.2687999999999999,1.2796000000000001,59]
[60,1.2425999999999999,1.2448999999999999,1.2473000000000001,1.2496,1.2519,1.2542,1.2565999999999999,1.2588999999999999,1.2612000000000001,1.2636000000000001,1.2659,1.2683,1.2706,1.2729999999999999,1.2754000000000001,1.2777000000000001,1.2801,1.2825,1.2848999999999999,1.2871999999999999,1.2896000000000001,1.292,1.2945,1.2969999999999999,1.2992999999999999,1.3113999999999999,60]
[61,1.2668999999999999,1.2695000000000001,1.272,1.2746,1.2771999999999999,1.2798,1.2824,1.2849999999999999,1.2876000000000001,1.2902,1.2927999999999999,1.2954000000000001,1.298,1.3006,1.3032999999999999,1.3059000000000001,1.3086,1.3111999999999999,1.3139000000000001,1.3165,1.3191999999999999,1.3218000000000001,1.3246,1.3272999999999999,1.3299000000000001,1.3433999999999999,61]
[62,1.2911999999999999,1.2941,1.2968999999999999,1.2997000000000001,1.3026,1.3053999999999999,1.3083,1.3110999999999999,1.3140000000000001,1.3169,1.3197000000000001,1.3226,1.3254999999999999,1.3284,1.3312999999999999,1.3342000000000001,1.3371999999999999,1.3401000000000001,1.343,1.3460000000000001,1.3489,1.3517999999999999,1.3549,1.3579000000000001,1.3607,1.3756999999999999,62]
[63,1.3156000000000001,1.3187,1.3218000000000001,1.3249,1.3280000000000001,1.3310999999999999,1.3343,1.3373999999999999,1.3405,1.3436999999999999,1.3468,1.35,1.3532,1.3563000000000001,1.3594999999999999,1.3627,1.3658999999999999,1.3691,1.3723000000000001,1.3755999999999999,1.3788,1.3819999999999999,1.3854,1.3886000000000001,1.3917999999999999,1.4081999999999999,63]
[64,1.3401000000000001,1.3434999999999999,1.3468,1.3502000000000001,1.3535999999999999,1.357,1.3604000000000001,1.3637999999999999,1.3672,1.3706,1.3740000000000001,1.3774999999999999,1.3809,1.3844000000000001,1.3878999999999999,1.3913,1.3948,1.3983000000000001,1.4017999999999999,1.4053,1.4089,1.4124000000000001,1.4159999999999999,1.4196,1.423,1.4409000000000001,64]
[65,1.3646,1.3683000000000001,1.3718999999999999,1.3754999999999999,1.3792,1.3829,1.3866000000000001,1.3902000000000001,1.3938999999999999,1.3976999999999999,1.4014,1.4051,1.4088000000000001,1.4126000000000001,1.4162999999999999,1.4200999999999999,1.4238999999999999,1.4277,1.4315,1.4353,1.4391,1.4429000000000001,1.4469000000000001,1.4507000000000001,1.4544999999999999,1.4739,65]
[66,1.3892,1.3931,1.3971,1.401,1.4049,1.4089,1.4128000000000001,1.4168000000000001,1.4208000000000001,1.4248000000000001,1.4288000000000001,1.4328000000000001,1.4369000000000001,1.4409000000000001,1.4450000000000001,1.4490000000000001,1.4531000000000001,1.4572000000000001,1.4613,1.4654,1.4695,1.4737,1.4779,1.4821,1.4861,1.5072000000000001,66]
[67,1.4138999999999999,1.4180999999999999,1.4222999999999999,1.4265000000000001,1.4307000000000001,1.4350000000000001,1.4392,1.4435,1.4478,1.4520999999999999,1.4563999999999999,1.4607000000000001,1.4650000000000001,1.4694,1.4737,1.4781,1.4824999999999999,1.4869000000000001,1.4913000000000001,1.4957,1.5001,1.5045999999999999,1.5091000000000001,1.5136000000000001,1.518,1.5406,67]
[68,1.4386000000000001,1.4431,1.4476,1.4520999999999999,1.4565999999999999,1.4611000000000001,1.4657,1.4702,1.4748000000000001,1.4794,1.484,1.4885999999999999,1.4933000000000001,1.4979,1.5025999999999999,1.5073000000000001,1.512,1.5166999999999999,1.5214000000000001,1.5261,1.5308999999999999,1.5356000000000001,1.5405,1.5452999999999999,1.55,1.5743,68]
[69,1.4634,1.4681999999999999,1.4729000000000001,1.4777,1.4825999999999999,1.4874000000000001,1.4922,1.4971000000000001,1.502,1.5068999999999999,1.5118,1.5166999999999999,1.5217000000000001,1.5266,1.5316000000000001,1.5366,1.5416000000000001,1.5466,1.5517000000000001,1.5567,1.5618000000000001,1.5669,1.5721000000000001,1.5772999999999999,1.5823,1.6082000000000001,69]
[70,1.4882,1.4933000000000001,1.4984,1.5035000000000001,1.5085999999999999,1.5137,1.5188999999999999,1.5241,1.5291999999999999,1.5344,1.5397000000000001,1.5448999999999999,1.5502,1.5553999999999999,1.5607,1.5661,1.5713999999999999,1.5767,1.5821000000000001,1.5874999999999999,1.5929,1.5983000000000001,1.6039000000000001,1.6093,1.6147,1.6424000000000001,70]
[71,1.5130999999999999,1.5185,1.5239,1.5293000000000001,1.5347,1.5402,1.5456000000000001,1.5510999999999999,1.5566,1.5621,1.5677000000000001,1.5731999999999999,1.5788,1.5844,1.59,1.5956999999999999,1.6012999999999999,1.607,1.6127,1.6184000000000001,1.6241000000000001,1.6298999999999999,1.6357999999999999,1.6415999999999999,1.6473,1.6767000000000001,71]
[72,1.5381,1.5438000000000001,1.5495000000000001,1.5551999999999999,1.5609,1.5667,1.5724,1.5782,1.5841000000000001,1.5899000000000001,1.5958000000000001,1.6015999999999999,1.6074999999999999,1.6134999999999999,1.6194,1.6254,1.6314,1.6374,1.6434,1.6495,1.6556,1.6617,1.6678999999999999,1.6740999999999999,1.6800999999999999,1.7113,72]
[73,1.5630999999999999,1.5690999999999999,1.5750999999999999,1.5810999999999999,1.5871999999999999,1.5931999999999999,1.5992999999999999,1.6054999999999999,1.6115999999999999,1.6177999999999999,1.6240000000000001,1.6302000000000001,1.6364000000000001,1.6427,1.6489,1.6553,1.6616,1.6678999999999999,1.6742999999999999,1.6807000000000001,1.6872,1.6936,1.7001999999999999,1.7067000000000001,1.7131000000000001,1.7461,73]
[74,1.5882000000000001,1.5945,1.6008,1.6072,1.6134999999999999,1.6198999999999999,1.6263000000000001,1.6328,1.6392,1.6456999999999999,1.6523000000000001,1.6588000000000001,1.6654,1.6719999999999999,1.6786000000000001,1.6852,1.6919,1.6986000000000001,1.7054,1.7121,1.7189000000000001,1.7257,1.7326999999999999,1.7396,1.7463,1.7811999999999999,74]
[75,1.6133,1.62,1.6266,1.6333,1.6398999999999999,1.6467000000000001,1.6534,1.6601999999999999,1.667,1.6738,1.6807000000000001,1.6876,1.6944999999999999,1.7014,1.7083999999999999,1.7154,1.7223999999999999,1.7295,1.7364999999999999,1.7437,1.7507999999999999,1.758,1.7653000000000001,1.7726,1.7797000000000001,1.8164,75]
[76,1.6385000000000001,1.6455,1.6524000000000001,1.6594,1.6664000000000001,1.6735,1.6806000000000001,1.6877,1.6948000000000001,1.702,1.7092000000000001,1.7163999999999999,1.7237,1.7310000000000001,1.7383,1.7456,1.7529999999999999,1.7604,1.7679,1.7753000000000001,1.7828999999999999,1.7904,1.7981,1.8057000000000001,1.8131999999999999,1.8519000000000001,76]
[77,1.6637999999999999,1.671,1.6782999999999999,1.6857,1.6930000000000001,1.7003999999999999,1.7078,1.7153,1.7226999999999999,1.7302,1.7378,1.7454000000000001,1.7529999999999999,1.7605999999999999,1.7683,1.776,1.7838000000000001,1.7915000000000001,1.7992999999999999,1.8071999999999999,1.8150999999999999,1.823,1.8310999999999999,1.8391,1.8469,1.8875999999999999,77]
[78,1.6891,1.6967000000000001,1.7042999999999999,1.712,1.7196,1.7274,1.7351000000000001,1.7428999999999999,1.7506999999999999,1.7585999999999999,1.7665,1.7744,1.7824,1.7904,1.7984,1.8065,1.8146,1.8228,1.831,1.8391999999999999,1.8473999999999999,1.8556999999999999,1.8642000000000001,1.8726,1.8809,1.9235,78]
[79,1.7144999999999999,1.7223999999999999,1.7302999999999999,1.7383,1.7464,1.7544,1.7625,1.7706999999999999,1.7787999999999999,1.7870999999999999,1.7952999999999999,1.8036000000000001,1.8119000000000001,1.8203,1.8287,1.8371999999999999,1.8455999999999999,1.8542000000000001,1.8627,1.8713,1.88,1.8887,1.8975,1.9063000000000001,1.9149,1.9596,79]
[80,1.7399,1.7481,1.7564,1.7647999999999999,1.7730999999999999,1.7816000000000001,1.79,1.7985,1.8069999999999999,1.8156000000000001,1.8242,1.8329,1.8415999999999999,1.8503000000000001,1.8591,1.8678999999999999,1.8768,1.8856999999999999,1.8946000000000001,1.9036,1.9126000000000001,1.9217,1.931,1.9401999999999999,1.9492,1.9959,80]
[1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23,24,25,26,27,28]