{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Feuil1","Feuil2","Feuil3"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":1},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Feuil1","index":0,"n_rows":10,"n_cols":10,"rows_kept":10,"cut":false,"hidden":false,"merged":[]}
["Date","Time","Phase","kVA",null,"Somme de kVA","Étiquettes de colonnes"]
["2023-01-12","16:00:01",1,43.13,null,"Étiquettes de lignes",1,2,3,"Total général"]
["2023-01-12","16:00:01",2,37.61,null,"2023-01-12",129.86000000000001,113.31,90.33,333.5]
["2023-01-12","16:00:01",3,29.95,null,"16:00:01",43.13,37.61,29.95,110.69000000000001]
["2023-01-12","17:00:01",1,42.89,null,"17:00:01",42.89,37.61,29.95,110.45]
["2023-01-12","17:00:01",2,37.61,null,"18:00:01",43.84,38.090000000000003,30.43,112.36000000000001]
["2023-01-12","17:00:01",3,29.95,null,"Total général",129.86000000000001,113.31,90.33,333.5]
["2023-01-12","18:00:01",1,43.84]
["2023-01-12","18:00:01",2,38.090000000000003]
["2023-01-12","18:00:01",3,30.43]

{"sheet":"Feuil2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Feuil3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}