{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Feuil1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Feuil1","index":0,"n_rows":32,"n_cols":10,"rows_kept":32,"cut":false,"hidden":false,"merged":[]}
["Raison soc. Four.","Code Article","Désignation article","N° Article","Qté Arrêtée","Qté comptée","Qté recomptés","Colonne1","Prix revient réel","Colonne2"]
["ABB FRANCE",364119,"INTER. E200I 4P NO 63A 415V E204I/63GR",52565,4,0,null,-4,43.26,-173.04]
["ABB FRANCE",359861,"BARRE DE PONTAGE TETRA PS4/12/16",52889,7,0,null,-7,15.05,-105.35]
["ABB FRANCE",470233,"DISJ. PH+N SN2014.5KA  6A",54040,11,0,null,-11,9.5,-104.5]
["ACTA COMMERCE",872092,"UNITÉ EXTÉRIEURE MURAL AOYG 12 KPC.UE  INV 3400W R32",174482,1,0,null,-1,318.83999999999997,-318.83999999999997]
["ACTA COMMERCE",897426,"PACK SANS FIL PRINCIPAL",159707,2,1,null,-1,271.41000000000003,-271.41000000000003]
["ACTA COMMERCE",412295,"KIT PILES HYGROCOSY FLEX VMC HYGRO PLAT 4 SANITAIRES 3 BOUCHES",162844,1,0,null,-1,209.07,-209.07]
["ACTA COMMERCE",873847,"UNITÉ INTÉRIEURE MURAL  ASYG 12 KPCE.UI   INV 3400W R32",196532,1,0,null,-1,183.46,-183.46]
["ACTA COMMERCE",876138,"UTY-RLRY - TELECOMMANDE FILAIRE",163819,3,1,null,-2,68.31,-136.62]
["ACTA COMMERCE",524744,"GAINE  ISOLE LAINE DE VERRE DIAMETRE 200 MM PACK DE 10 ML",40585,3,0,null,-3,38.799999999999997,-116.4]
["ACTA COMMERCE",423050,"GAINE VMC ISOLEE INT.PVC DIAMETRE 80 MM PACK DE 6 ML - ISOLANT 25MM",64570,9,0,null,-9,11.37,-102.33]
["ACTARIS ELEC",82460,"DISJ DIFF TYPE S 500MA TETRAP 30/60A",48880,1,0,null,-1,104.98,-104.98]
["AFIMO","5010DOM","STATION DE FILTRATION DUPLEX ANTI-CALCAIRE DOMAO",176826,12,4,null,-8,46.65,-373.2]
["ALDES",11043042,"CLAPET COUPE FEU ISONE ALDES - AP CIRCULAIRE - DN 160",41480,1,0,null,-1,220.15,-220.15]
["ANDRETY",69313,"PLAQUE CÉLIANE MATIÈRES 3 POSTES - FINITION VERRE KAOLIN",200424,2,1,null,-1,100.38,-100.38]
["ANQUIER","ENS7040","ENSEMBLE MODULE D'ENCASTREMENT DOUCHE SMART U EP 70 LARG 400",202090,2,0,null,-2,70.5,-141]
["APPROVISIONNEMENT ELECTRIQUE",7400400531,"GOULOTTE METALIQUE 1/2 RONDE 90X90",75048,5,1,null,-4,48.18,-192.72]
["APTAPRO",7255,"DEBOUCHEUR CANALISATION 30 METRES KARCHER",108505,1,0,null,-1,148.13,-148.13]
["AQUARINE","6038AB208","MEUBLE SOUS EVIER DEPLIANT 2 PORTES 80 CM",25027,5,3,null,-2,80.64,-161.28]
["AQUARINE",199228,"BAIGNOIRE ACRYLIQUE FORIA 2 170 X 70 BLANC NF AQUARINE",65818,3,2,null,-1,109.7,-109.7]
["ARIC",50838,"TWISTER 3  LED 100W/4000K",162777,7,5,null,-2,92.33,-184.66]
["ARIC",11060,"EDOS CCT 2700-3-4000K BLC",205258,68,58,null,-10,11.2,-112]
["ARISTON THERMO GROUP",3000656,"CHAUFFE-EAU VERTICAL MURAL DIAM 560 200 L BLINDE",166015,14,11,null,-3,188.93,-566.79]
["ARISTON THERMO GROUP",3000571,"CHAUFFE-EAU VERTICAL MURAL DIAM 505 200 L BLINDE",123354,2,0,null,-2,188.93,-377.86]
["ARISTON THERMO GROUP",3000450,"CHAUFFE-EAU VERTICAL MURAL DIAM 505 100 L STEATITE",181651,3,1,null,-2,168.83,-337.66]
["ARISTON THERMO GROUP",3000593,"CHAUFFE-EAU STABLE MONO DIAM 570 300 L STEATITE",124262,2,1,null,-1,326.47000000000003,-326.47000000000003]
["ARISTON THERMO GROUP",3010895,"CHAUFFE-EAU HORIZONTAL DIAM 570 150 L BLINDE RAC SUR LE COTE",161223,1,0,null,-1,316.92,-316.92]
["ARISTON THERMO GROUP",3201408,"CHAUFFE-EAU HORIZONTAL DIAM 505 75 L BLINDE RAC SUR LE COTE",162525,1,0,null,-1,250.51,-250.51]
["ARISTON THERMO GROUP",3000334,"CHAUFFE-EAU VERTICAL MURAL DIAM 560 200 L STEATITE",110847,5,4,null,-1,202.28,-202.28]
["ARISTON THERMO GROUP",3000333,"CHAUFFE-EAU VERTICAL MURAL DIAM 560 150 L STEATITE",110846,7,6,null,-1,176.9,-176.9]
["ARISTON THERMO GROUP",3000570,"CHAUFFE-EAU VERTICAL MURAL DIAM 505 150 L BLINDE",123353,4,3,null,-1,167.4,-167.4]
["ARISTON THERMO GROUP",3000569,"CHAUFFE-EAU VERTICAL MURAL DIAM 505 100 L BLINDE",123352,5,4,null,-1,154.38999999999999,-154.38999999999999]